Online Resource 1 for "International Interlaboratory Compilation of Trace Element Concentrations in the CUP-2 Uranium Ore Concentrate Standard". Denton et al. J. Radioanal. Nucl. Chem. Corresponding author J. S. Denton, Los Alamos National Laboratory, jdenton@lanl.gov

This document contains the full data set for each element summarized in the manuscript. A table and a figure are included for each element, numbered sequentially. Figs. OR1-66 also contain the various averages computed in this study (see 'Statistical treatment of data' section for details).

Table OR1 All data reported for CUP-2 Li concentration. Data precision as laboratory reported

| Lab # | Sample # | [Li] (µg/gU) | Lab # | Sample # | [Li] (µg/gU) | Lab # | Sample # | [Li] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 12 | 4 | 34 | 1.365 | 7 | 7 |  |
| 1 | 2 | 14 | 4 | 35 | 1.273 | 7 | 8 |  |
| 1 | 3 | 7 | 4 | 36 | 1.299 | 7 | 9 |  |
| 3 | 1 | 1.0 | 4 | 37 | 1.329 | 8 | 1 |  |
| 3 | 2 | 0.6 | 4 | 38 | 1.318 | 8 | 2 |  |
| 3 | 3 | 0.8 | 4 | 39 | 1.281 | 8 | 3 |  |
| 3 | 4 | 1.3 | 4 | 40 | 1.297 | 8 | 4 |  |
| 3 | 5 | 1.0 | 4 | 41 | 1.316 | 8 | 5 |  |
| 3 | 6 | 1.0 | 4 | 42 | 1.337 | 8 | 6 |  |
| 3 | 7 | 1.1 | 4 | 43 | 1.367 | 8 | 7 |  |
| 3 | 8 | 0.7 | 4 | 44 | 1.375 | 8 | 8 |  |
| 3 | 9 | 1.1 | 4 | 45 | 1.353 | 8 | 9 |  |
| 3 | 10 | 1.2 | 4 | 46 | 1.394 | 9 | 1 | 2.515 |
| 3 | 11 | 0.8 | 4 | 47 | 1.358 | 9 | 2 | 2.100 |
| 4 | 1 | 1.156 | 4 | 48 | 1.296 | 9 | 3 | 2.334 |
| 4 | 2 | 1.226 | 4 | 49 | 1.365 | 9 | 4 | 2.530 |
| 4 | 3 | 1.222 | 4 | 50 | 1.353 | 9 | 5 | 2.731 |
| 4 | 4 | 1.324 | 4 | 51 | 1.940 | 9 | 6 | 2.822 |
| 4 | 5 | 1.140 | 4 | 52 | 1.335 | 9 | 7 | 3.072 |
| 4 | 6 | 1.208 | 4 | 53 | 1.336 | 9 | 8 | 3.380 |
| 4 | 7 | 1.222 | 4 | 54 | 1.356 | 9 | 9 | 2.673 |
| 4 | 8 | 1.185 | 5 | 1 |  | 10 | 1 | 1.39 |
| 4 | 9 | 1.226 | 5 | 2 |  | 10 | 2 | 1.42 |
| 4 | 10 | 1.256 | 5 | 3 |  | 10 | 3 | 1.47 |
| 4 | 11 | 1.260 | 5 | 4 |  | 10 | 4 | 1.47 |
| 4 | 12 | 1.259 | 5 | 5 |  | 10 | 5 | 1.14 |
| 4 | 13 | 1.282 | 5 | 6 |  | 10 | 6 | 1.16 |
| 4 | 14 | 1.302 | 5 | 7 |  | 10 | 7 | 1.32 |
| 4 | 15 | 1.259 | 5 | 8 |  | 10 | 8 | 1.25 |
| 4 | 16 | 1.286 | 5 | 9 |  | 10 | 9 | 1.27 |
| 4 | 17 | 1.323 | 5 | 10 |  | 11 | 1 | 1.14 |
| 4 | 18 | 1.414 | 5 | 11 |  | 11 | 2 | 1.24 |
| 4 | 19 | 1.339 | 5 | 12 |  | 11 | 3 | 1.21 |
| 4 | 20 | 1.297 | 5 | 13 |  | 11 | 4 | 1.21 |
| 4 | 21 | 1.332 | 5 | 14 |  | 11 | 5 | 1.24 |
| 4 | 22 | 1.339 | 5 | 15 |  | 11 | 6 | 1.21 |
| 4 | 23 | 1.274 | 5 | 16 |  | 11 | 7 | 1.26 |
| 4 | 24 | 1.308 | 5 | 17 |  | 11 | 8 | 1.24 |
| 4 | 25 | 1.347 | 5 | 18 |  | 11 | 9 | 1.29 |
| 4 | 26 | 1.296 | 6 | 1 |  | 11 | 10 | 1.25 |
| 4 | 27 | 1.302 | 6 | 2 | 1.623750 | 11 | 11 | 1.17 |
| 4 | 28 | 1.304 | 7 | 1 |  | 11 | 12 | 1.13 |
| 4 | 29 | 1.326 | 7 | 2 |  | 12 | 1 |  |
| 4 | 30 | 1.340 | 7 | 3 |  | 12 | 2 |  |
| 4 | 31 | 1.366 | 7 | 4 |  | 12 | 3 |  |
| 4 | 32 | 1.299 | 7 | 5 |  | 12 | 4 |  |
| 4 | 33 | 1.342 | 7 | 6 |  |  |  |  |

Fig. OR1. All Li concentration data (a) reported for CUP-2 and (b) with the y axis set from -3 to 6. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR2 All data reported for CUP-2 Be concentration. Data precision as laboratory reported

| Lab # | Sample # | [Be] (µg/gU) | Lab # | Sample # | [Be] (µg/gU) | Lab # | Sample # | [Be] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 14 | 4 | 34 | 0.368 | 7 | 8 | 0.3121 |
| 1 | 2 | 0.2 | 4 | 35 | 0.394 | 7 | 9 | 0.2728 |
| 1 | 3 | 1 | 4 | 36 | 0.389 | 8 | 1 |  |
| 3 | 1 | 0.3 | 4 | 37 | 0.374 | 8 | 2 |  |
| 3 | 2 | 0.2 | 4 | 38 | 0.353 | 8 | 3 |  |
| 3 | 3 | 0.3 | 4 | 39 | 0.398 | 8 | 4 |  |
| 3 | 4 | 0.4 | 4 | 40 | 0.375 | 8 | 5 |  |
| 3 | 5 | 0.3 | 4 | 41 | 0.351 | 8 | 6 |  |
| 3 | 6 | 0.3 | 4 | 42 | 0.366 | 8 | 7 |  |
| 3 | 7 | 0.4 | 4 | 43 | 0.365 | 8 | 8 |  |
| 3 | 8 | 0.3 | 4 | 44 | 0.378 | 8 | 9 |  |
| 3 | 9 | 0.4 | 4 | 45 | 0.380 | 9 | 1 | 0.286 |
| 3 | 10 | 0.4 | 4 | 46 | 0.388 | 9 | 2 | 0.283 |
| 3 | 11 | 0.3 | 4 | 47 | 0.406 | 9 | 3 | 0.250 |
| 4 | 1 | 0.371 | 4 | 48 | 0.395 | 9 | 4 | 0.223 |
| 4 | 2 | 0.376 | 4 | 49 | 0.368 | 9 | 5 | 0.240 |
| 4 | 3 | 0.370 | 4 | 50 | 0.380 | 9 | 6 | 0.223 |
| 4 | 4 | 0.413 | 4 | 51 | 0.356 | 9 | 7 |  |
| 4 | 5 | 0.414 | 4 | 52 | 0.376 | 9 | 8 | 0.218 |
| 4 | 6 | 0.360 | 4 | 53 | 0.375 | 9 | 9 | 0.289 |
| 4 | 7 | 0.374 | 4 | 54 | 0.373 | 10 | 1 | 0.40 |
| 4 | 8 | 0.313 | 5 | 1 |  | 10 | 2 | 0.39 |
| 4 | 9 | 0.355 | 5 | 2 |  | 10 | 3 | 0.43 |
| 4 | 10 | 0.365 | 5 | 3 | 0.36 | 10 | 4 | 0.42 |
| 4 | 11 | 0.380 | 5 | 4 | 0.40 | 10 | 5 | 0.34 |
| 4 | 12 | 0.340 | 5 | 5 | 0.30 | 10 | 6 | 0.25 |
| 4 | 13 | 0.285 | 5 | 6 | 0.30 | 10 | 7 | 0.43 |
| 4 | 14 | 0.317 | 5 | 7 | 0.35 | 10 | 8 | 0.44 |
| 4 | 15 | 0.348 | 5 | 8 | 0.28 | 10 | 9 | 0.44 |
| 4 | 16 | 0.354 | 5 | 9 | 0.28 | 11 | 1 |  |
| 4 | 17 | 0.359 | 5 | 10 | 0.31 | 11 | 2 |  |
| 4 | 18 | 0.367 | 5 | 11 | 0.30 | 11 | 3 |  |
| 4 | 19 | 0.379 | 5 | 12 | 0.31 | 11 | 4 |  |
| 4 | 20 | 0.354 | 5 | 13 | 0.28 | 11 | 5 |  |
| 4 | 21 | 0.367 | 5 | 14 | 0.26 | 11 | 6 |  |
| 4 | 22 | 0.368 | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 | 0.372 | 5 | 16 | 0.30 | 11 | 8 |  |
| 4 | 24 | 0.403 | 5 | 17 | 0.29 | 11 | 9 |  |
| 4 | 25 | 0.376 | 6 | 1 |  | 11 | 10 |  |
| 4 | 26 | 0.378 | 6 | 2 |  | 11 | 11 |  |
| 4 | 27 | 0.359 | 7 | 1 | 0.3255 | 11 | 12 |  |
| 4 | 28 | 0.387 | 7 | 2 | 0.3430 | 12 | 1 |  |
| 4 | 29 | 0.367 | 7 | 3 | 0.3908 | 12 | 2 |  |
| 4 | 30 | 0.361 | 7 | 4 | 0.3592 | 12 | 3 |  |
| 4 | 31 | 0.376 | 7 | 5 | 0.3565 | 12 | 4 |  |
| 4 | 32 | 0.379 | 7 | 6 | 0.2625 |  |  |  |
| 4 | 33 | 0.372 | 7 | 7 |  |  |  |  |

Fig. OR2 All Be concentration data (a) reported for CUP-2 and (b) with the y axis set from -3 to 4. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR3 All data reported for CUP-2 B concentration. Data precision as laboratory reported

| Lab # | Sample # | [B] (µg/gU) | Lab # | Sample # | [B] (µg/gU) | Lab # | Sample # | [B] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 65 | 4 | 34 | 76.505 | 7 | 8 |  |
| 1 | 2 | 65 | 4 | 35 | 81.316 | 7 | 9 |  |
| 1 | 3 | 60 | 4 | 36 | 89.549 | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 | 88.545 | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 | 96.644 | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 | 83.790 | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 | 88.141 | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 | 90.977 | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 | 68.000 | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 | 63.244 | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 | 55.675 | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 | 82.279 | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 | 79.794 | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 77.972 | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 | 86.130 | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 | 85.863 | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 | 91.346 | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 | 89.802 | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 | 92.287 | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 | 95.144 | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 | 98.891 | 10 | 1 | 72.05 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 68.89 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 70.60 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 69.30 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 68.43 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 66.03 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 69.09 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 67.94 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 | 68.12 |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 | 69.18 |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 | 72.64 |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 | 73.14 |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 | 71.45 |
| 4 | 20 | 86.778 | 5 | 13 |  | 11 | 5 | 71.49 |
| 4 | 21 | 90.800 | 5 | 14 |  | 11 | 6 | 67.77 |
| 4 | 22 | 86.053 | 5 | 15 |  | 11 | 7 | 68.19 |
| 4 | 23 | 87.254 | 5 | 16 |  | 11 | 8 | 66.25 |
| 4 | 24 | 87.180 | 5 | 17 |  | 11 | 9 | 66.91 |
| 4 | 25 | 90.109 | 6 | 1 | 82.49652 | 11 | 10 | 67.80 |
| 4 | 26 | 86.185 | 6 | 2 | 85.75792 | 11 | 11 | 66.43 |
| 4 | 27 | 91.045 | 7 | 1 |  | 11 | 12 | 64.80 |
| 4 | 28 | 96.110 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 71.287 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 63.493 | 7 | 4 |  | 12 | 3 | 73.0 |
| 4 | 31 | 56.245 | 7 | 5 |  | 12 | 4 | 68.5 |
| 4 | 32 | 81.059 | 7 | 6 |  |  |  |  |
| 4 | 33 | 78.387 | 7 | 7 |  |  |  |  |

Fig. OR3. All B concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR4 All data reported for CUP-2 Na concentration. Data precision as laboratory reported

| Lab # | Sample # | [Na] (µg/gU) | Lab # | Sample # | [Na] (µg/gU) | Lab # | Sample # | [Na] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 5500 | 4 | 34 | 5852.541 | 7 | 8 | 6553.0037 |
| 1 | 2 | 4500 | 4 | 35 | 5724.320 | 7 | 9 | 6313.1543 |
| 1 | 3 | 4000 | 4 | 36 | 5684.431 | 8 | 1 | 6640 |
| 3 | 1 | 5617.1 | 4 | 37 | 5786.039 | 8 | 2 | 6790 |
| 3 | 2 | 5165.1 | 4 | 38 | 5769.202 | 8 | 3 | 6530 |
| 3 | 3 | 5317.1 | 4 | 39 | 5757.941 | 8 | 4 | 7290 |
| 3 | 4 | 6380.0 | 4 | 40 | 5784.192 | 8 | 5 | 6700 |
| 3 | 5 | 5279.4 | 4 | 41 | 5794.056 | 8 | 6 | 7080 |
| 3 | 6 | 5632.3 | 4 | 42 | 6239.239 | 8 | 7 | 6500 |
| 3 | 7 | 6250.5 | 4 | 43 | 6539.053 | 8 | 8 | 7310 |
| 3 | 8 |  | 4 | 44 | 6788.855 | 8 | 9 | 7080 |
| 3 | 9 | 5331.4 | 4 | 45 | 5775.171 | 9 | 1 |  |
| 3 | 10 | 5336.5 | 4 | 46 | 5765.704 | 9 | 2 |  |
| 3 | 11 | 5529.0 | 4 | 47 | 5840.060 | 9 | 3 |  |
| 4 | 1 | 6140.534 | 4 | 48 | 5712.957 | 9 | 4 |  |
| 4 | 2 | 6309.646 | 4 | 49 | 5730.675 | 9 | 5 |  |
| 4 | 3 | 6273.804 | 4 | 50 | 5732.863 | 9 | 6 |  |
| 4 | 4 | 6321.607 | 4 | 51 | 5873.808 | 9 | 7 |  |
| 4 | 5 | 6233.688 | 4 | 52 | 5661.470 | 9 | 8 |  |
| 4 | 6 | 6028.567 | 4 | 53 | 5831.436 | 9 | 9 |  |
| 4 | 7 | 5978.222 | 4 | 54 | 5899.560 | 10 | 1 | 5921.18 |
| 4 | 8 | 6042.250 | 5 | 1 | 5400 | 10 | 2 | 6028.29 |
| 4 | 9 | 6041.815 | 5 | 2 | 5400 | 10 | 3 | 6287.72 |
| 4 | 10 | 6050.015 | 5 | 3 | 5400 | 10 | 4 | 5138.85 |
| 4 | 11 | 6193.544 | 5 | 4 | 5100 | 10 | 5 | 5960.49 |
| 4 | 12 | 6127.823 | 5 | 5 | 6200 | 10 | 6 | 6045.70 |
| 4 | 13 | 6162.359 | 5 | 6 | 5900 | 10 | 7 | 6036.15 |
| 4 | 14 | 6212.241 | 5 | 7 | 6000 | 10 | 8 | 6023.53 |
| 4 | 15 | 6263.145 | 5 | 8 | 6500 | 10 | 9 | 6134.56 |
| 4 | 16 | 6010.706 | 5 | 9 | 6500 | 11 | 1 | 6185.28 |
| 4 | 17 | 6278.233 | 5 | 10 | 6700 | 11 | 2 | 6248.17 |
| 4 | 18 | 6675.329 | 5 | 11 | 6600 | 11 | 3 | 6127.16 |
| 4 | 19 | 6857.333 | 5 | 12 | 6800 | 11 | 4 | 6246.64 |
| 4 | 20 | 5684.903 | 5 | 13 | 6000 | 11 | 5 | 6163.31 |
| 4 | 21 | 5770.965 | 5 | 14 | 6300 | 11 | 6 | 6142.67 |
| 4 | 22 | 5730.530 | 5 | 15 | 6100 | 11 | 7 | 6234.39 |
| 4 | 23 | 5759.335 | 5 | 16 | 7000 | 11 | 8 | 6003.49 |
| 4 | 24 | 5711.944 | 5 | 17 | 6000 | 11 | 9 | 6090.10 |
| 4 | 25 | 5728.930 | 6 | 1 | 5701.390 | 11 | 10 | 6740.42 |
| 4 | 26 | 5675.588 | 6 | 2 | 5776.315 | 11 | 11 | 6851.85 |
| 4 | 27 | 5665.837 | 7 | 1 | 6219.2402 | 11 | 12 | 6694.35 |
| 4 | 28 | 5709.219 | 7 | 2 | 6694.4407 | 12 | 1 | 6210 |
| 4 | 29 | 6215.766 | 7 | 3 | 6502.6759 | 12 | 2 | 6130 |
| 4 | 30 | 6449.910 | 7 | 4 | 6519.9599 | 12 | 3 |  |
| 4 | 31 | 6700.660 | 7 | 5 | 6543.1996 | 12 | 4 |  |
| 4 | 32 | 5759.261 | 7 | 6 | 6338.9334 |  |  |  |
| 4 | 33 | 5821.995 | 7 | 7 | 6407.2550 |  |  |  |

Fig. OR4 All Na concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR5 All data reported for CUP-2 Mg concentration. Data precision as laboratory reported

| Lab # | Sample # | [Mg] (µg/gU) | Lab # | Sample # | [Mg] (µg/gU) | Lab # | Sample # | [Mg] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 3000 | 4 | 34 | 3275.914 | 7 | 8 | 3543.1403 |
| 1 | 2 | 2500 | 4 | 35 | 3233.463 | 7 | 9 | 3621.4339 |
| 1 | 3 | 2000 | 4 | 36 | 3047.593 | 8 | 1 | 3430 |
| 3 | 1 | 3039.1 | 4 | 37 | 3183.969 | 8 | 2 | 3420 |
| 3 | 2 | 2669.3 | 4 | 38 | 3161.222 | 8 | 3 | 3430 |
| 3 | 3 | 2777.3 | 4 | 39 | 3256.051 | 8 | 4 | 3760 |
| 3 | 4 | 3415.2 | 4 | 40 | 3174.530 | 8 | 5 | 3450 |
| 3 | 5 | 2785.2 | 4 | 41 | 3206.766 | 8 | 6 | 3510 |
| 3 | 6 | 3059.3 | 4 | 42 | 3114.139 | 8 | 7 | 3340 |
| 3 | 7 | 3275.1 | 4 | 43 | 3018.893 | 8 | 8 | 3740 |
| 3 | 8 |  | 4 | 44 | 3147.358 | 8 | 9 | 3680 |
| 3 | 9 | 2814.9 | 4 | 45 | 3075.183 | 9 | 1 | 2701.978 |
| 3 | 10 | 2811.7 | 4 | 46 | 3214.963 | 9 | 2 | 2742.350 |
| 3 | 11 | 2906.3 | 4 | 47 | 3203.476 | 9 | 3 | 2880.613 |
| 4 | 1 | 3268.723 | 4 | 48 | 3230.868 | 9 | 4 | 2833.743 |
| 4 | 2 | 3221.109 | 4 | 49 | 3125.640 | 9 | 5 | 2830.462 |
| 4 | 3 | 3267.338 | 4 | 50 | 3026.457 | 9 | 6 | 2834.768 |
| 4 | 4 | 3205.494 | 4 | 51 | 3459.878 | 9 | 7 | 3065.273 |
| 4 | 5 | 3371.027 | 4 | 52 | 3117.326 | 9 | 8 | 2883.276 |
| 4 | 6 | 5937.413 | 4 | 53 | 3224.315 | 9 | 9 | 2130.522 |
| 4 | 7 | 4258.560 | 4 | 54 | 3167.792 | 10 | 1 | 3158.91 |
| 4 | 8 | 5597.598 | 5 | 1 | 2800 | 10 | 2 | 3251.80 |
| 4 | 9 | 4364.891 | 5 | 2 | 2900 | 10 | 3 | 3323.24 |
| 4 | 10 | 3765.943 | 5 | 3 | 2800 | 10 | 4 | 3308.52 |
| 4 | 11 | 3005.692 | 5 | 4 | 2630 | 10 | 5 | 3417.79 |
| 4 | 12 | 3077.042 | 5 | 5 | 3200 | 10 | 6 | 3285.68 |
| 4 | 13 | 3243.686 | 5 | 6 | 3000 | 10 | 7 | 3336.00 |
| 4 | 14 | 3231.165 | 5 | 7 | 3100 | 10 | 8 | 3301.68 |
| 4 | 15 | 3218.031 | 5 | 8 | 3400 | 10 | 9 | 3375.84 |
| 4 | 16 | 3001.742 | 5 | 9 | 3400 | 11 | 1 | 3369.96 |
| 4 | 17 | 3107.921 | 5 | 10 | 3400 | 11 | 2 | 3325.33 |
| 4 | 18 | 3163.773 | 5 | 11 | 3400 | 11 | 3 | 3376.79 |
| 4 | 19 | 2931.654 | 5 | 12 | 3450 | 11 | 4 | 3359.23 |
| 4 | 20 | 2980.111 | 5 | 13 | 3060 | 11 | 5 | 3286.02 |
| 4 | 21 | 3104.760 | 5 | 14 | 3200 | 11 | 6 | 3264.79 |
| 4 | 22 | 3120.236 | 5 | 15 | 3100 | 11 | 7 | 3114.81 |
| 4 | 23 | 3296.809 | 5 | 16 | 3600 | 11 | 8 | 3123.49 |
| 4 | 24 | 3179.906 | 5 | 17 | 3200 | 11 | 9 | 3022.16 |
| 4 | 25 | 3200.460 | 6 | 1 | 3087.194 | 11 | 10 | 3304.79 |
| 4 | 26 | 3267.509 | 6 | 2 | 3026.579 | 11 | 11 | 3525.94 |
| 4 | 27 | 3205.936 | 7 | 1 | 3475.8794 | 11 | 12 | 3253.27 |
| 4 | 28 | 3108.947 | 7 | 2 | 3645.5593 | 12 | 1 | 2950 |
| 4 | 29 | 3153.861 | 7 | 3 | 3640.5570 | 12 | 2 | 2960 |
| 4 | 30 | 2992.321 | 7 | 4 | 3581.6597 | 12 | 3 |  |
| 4 | 31 | 3111.265 | 7 | 5 | 3680.5881 | 12 | 4 |  |
| 4 | 32 | 3039.535 | 7 | 6 | 3498.7416 |  |  |  |
| 4 | 33 | 3275.054 | 7 | 7 | 3408.0448 |  |  |  |

Fig. OR5 All Mg concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR6 All data reported for CUP-2 Al concentration. Data precision as laboratory reported

| Lab # | Sample # | [Al] (µg/gU) | Lab # | Sample # | [Al] (µg/gU) | Lab # | Sample # | [Al] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 2500 | 4 | 34 | 3469.586 | 7 | 8 | 3675.6285 |
| 1 | 2 | 2500 | 4 | 35 | 3450.704 | 7 | 9 | 3583.4302 |
| 1 | 3 | 2500 | 4 | 36 | 3280.437 | 8 | 1 | 3490 |
| 3 | 1 | 3128.5 | 4 | 37 | 3422.271 | 8 | 2 | 3500 |
| 3 | 2 | 2750.9 | 4 | 38 | 3397.277 | 8 | 3 | 3450 |
| 3 | 3 | 3065.6 | 4 | 39 | 3449.978 | 8 | 4 | 3840 |
| 3 | 4 | 3367.6 | 4 | 40 | 3382.992 | 8 | 5 | 3530 |
| 3 | 5 | 2971.5 | 4 | 41 | 3434.994 | 8 | 6 | 3740 |
| 3 | 6 | 3090.7 | 4 | 42 | 3429.803 | 8 | 7 | 3390 |
| 3 | 7 | 3324.2 | 4 | 43 | 3363.021 | 8 | 8 | 3870 |
| 3 | 8 | 2599.8 | 4 | 44 | 3449.017 | 8 | 9 | 3690 |
| 3 | 9 | 2777.0 | 4 | 45 | 3355.477 | 9 | 1 | 2784.356 |
| 3 | 10 | 2802.7 | 4 | 46 | 3442.042 | 9 | 2 | 2463.557 |
| 3 | 11 | 2746.0 | 4 | 47 | 3432.775 | 9 | 3 | 2756.628 |
| 4 | 1 | 3343.869 | 4 | 48 | 3427.078 | 9 | 4 | 2694.307 |
| 4 | 2 | 3296.447 | 4 | 49 | 3344.155 | 9 | 5 | 2790.601 |
| 4 | 3 | 3377.765 | 4 | 50 | 3279.268 | 9 | 6 | 2754.005 |
| 4 | 4 | 3392.655 | 4 | 51 | 3620.553 | 9 | 7 | 2894.494 |
| 4 | 5 | 3317.583 | 4 | 52 | 3385.738 | 9 | 8 | 2709.793 |
| 4 | 6 |  | 4 | 53 | 3453.647 | 9 | 9 | 2825.634 |
| 4 | 7 |  | 4 | 54 | 3450.010 | 10 | 1 | 2942.84 |
| 4 | 8 |  | 5 | 1 | 2600 | 10 | 2 | 2938.24 |
| 4 | 9 |  | 5 | 2 | 2600 | 10 | 3 | 3192.32 |
| 4 | 10 |  | 5 | 3 | 2990 | 10 | 4 | 3076.57 |
| 4 | 11 | 3290.017 | 5 | 4 | 2890 | 10 | 5 | 3156.73 |
| 4 | 12 | 3279.797 | 5 | 5 | 3200 | 10 | 6 | 3237.49 |
| 4 | 13 | 3381.606 | 5 | 6 | 3100 | 10 | 7 | 3235.01 |
| 4 | 14 | 3354.902 | 5 | 7 | 3200 | 10 | 8 | 3272.22 |
| 4 | 15 | 3412.956 | 5 | 8 | 3400 | 10 | 9 | 3329.02 |
| 4 | 16 | 3156.600 | 5 | 9 | 3200 | 11 | 1 | 3228.07 |
| 4 | 17 | 3324.520 | 5 | 10 | 3300 | 11 | 2 | 3263.09 |
| 4 | 18 | 3432.249 | 5 | 11 | 3400 | 11 | 3 | 3242.01 |
| 4 | 19 | 3302.142 | 5 | 12 | 3400 | 11 | 4 | 3301.25 |
| 4 | 20 | 3204.255 | 5 | 13 | 3000 | 11 | 5 | 3535.38 |
| 4 | 21 | 3287.182 | 5 | 14 | 3400 | 11 | 6 | 3279.04 |
| 4 | 22 | 3347.381 | 5 | 15 | 3400 | 11 | 7 | 3505.44 |
| 4 | 23 | 3514.604 | 5 | 16 | 4100 | 11 | 8 | 3404.61 |
| 4 | 24 | 3401.757 | 5 | 17 | 3600 | 11 | 9 | 3402.14 |
| 4 | 25 | 3406.416 | 6 | 1 | 3209.467 | 11 | 10 | 3694.89 |
| 4 | 26 | 3410.771 | 6 | 2 | 3104.536 | 11 | 11 | 3794.81 |
| 4 | 27 | 3412.286 | 7 | 1 | 3506.2614 | 11 | 12 | 3696.81 |
| 4 | 28 | 3332.545 | 7 | 2 | 3675.9204 | 12 | 1 | 2940 |
| 4 | 29 | 3419.310 | 7 | 3 | 3525.5404 | 12 | 2 | 2970 |
| 4 | 30 | 3358.222 | 7 | 4 | 3586.7131 | 12 | 3 |  |
| 4 | 31 | 3456.249 | 7 | 5 | 3633.0256 | 12 | 4 |  |
| 4 | 32 | 3247.642 | 7 | 6 | 3485.1555 |  |  |  |
| 4 | 33 | 3485.008 | 7 | 7 | 3585.7797 |  |  |  |

Fig. OR6 All Al concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR7 All data reported for CUP-2 Si concentration. Data precision as laboratory reported

| Lab # | Sample # | [Si] (µg/gU) | Lab # | Sample # | [Si] (µg/gU) | Lab # | Sample # | [Si] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 2620.158 | 7 | 8 | 1759.3402 |
| 1 | 2 |  | 4 | 35 | 2472.306 | 7 | 9 | 2546.6429 |
| 1 | 3 |  | 4 | 36 | 2506.795 | 8 | 1 | 2740 |
| 3 | 1 |  | 4 | 37 | 2580.799 | 8 | 2 | 1680 |
| 3 | 2 |  | 4 | 38 | 2569.267 | 8 | 3 | 1920 |
| 3 | 3 |  | 4 | 39 | 2536.837 | 8 | 4 | 1710 |
| 3 | 4 |  | 4 | 40 | 2565.117 | 8 | 5 | 2500 |
| 3 | 5 |  | 4 | 41 | 2654.185 | 8 | 6 | 3950 |
| 3 | 6 |  | 4 | 42 | 2892.929 | 8 | 7 | 2850 |
| 3 | 7 |  | 4 | 43 | 2836.113 | 8 | 8 | 2670 |
| 3 | 8 |  | 4 | 44 | 2955.889 | 8 | 9 | 4710 |
| 3 | 9 |  | 4 | 45 | 2572.762 | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 | 2696.519 | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 2673.972 | 9 | 3 |  |
| 4 | 1 | 2243.748 | 4 | 48 | 2623.695 | 9 | 4 |  |
| 4 | 2 | 2179.369 | 4 | 49 | 2518.257 | 9 | 5 |  |
| 4 | 3 | 2231.860 | 4 | 50 | 2494.681 | 9 | 6 |  |
| 4 | 4 | 2236.038 | 4 | 51 | 2980.979 | 9 | 7 |  |
| 4 | 5 | 2239.870 | 4 | 52 | 2668.729 | 9 | 8 |  |
| 4 | 6 | 2670.846 | 4 | 53 | 2768.376 | 9 | 9 |  |
| 4 | 7 | 2193.666 | 4 | 54 | 2682.611 | 10 | 1 | 188.76 |
| 4 | 8 | 2668.547 | 5 | 1 |  | 10 | 2 | 230.77 |
| 4 | 9 | 2132.550 | 5 | 2 |  | 10 | 3 | 457.56 |
| 4 | 10 | 2206.995 | 5 | 3 |  | 10 | 4 | 1493.87 |
| 4 | 11 | 2018.640 | 5 | 4 |  | 10 | 5 | 90.36 |
| 4 | 12 | 1998.840 | 5 | 5 |  | 10 | 6 | 36.75 |
| 4 | 13 | 2088.478 | 5 | 6 |  | 10 | 7 | 102.08 |
| 4 | 14 | 2088.342 | 5 | 7 |  | 10 | 8 | 225.09 |
| 4 | 15 | 2073.759 | 5 | 8 |  | 10 | 9 | 72.01 |
| 4 | 16 | 2540.009 | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 | 2760.274 | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 | 2929.824 | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 | 2790.132 | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 | 2275.359 | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 | 2509.935 | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 | 2563.623 | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 | 2394.091 | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 | 2458.757 | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 | 2495.959 | 6 | 1 | 378.2335 | 11 | 10 |  |
| 4 | 26 | 2395.276 | 6 | 2 | 369.3248 | 11 | 11 |  |
| 4 | 27 | 2537.343 | 7 | 1 | 1863.6549 | 11 | 12 |  |
| 4 | 28 | 2546.373 | 7 | 2 | 1755.3475 | 12 | 1 |  |
| 4 | 29 | 2704.139 | 7 | 3 | 1839.7847 | 12 | 2 |  |
| 4 | 30 | 2772.632 | 7 | 4 | 2502.9191 | 12 | 3 |  |
| 4 | 31 | 2756.080 | 7 | 5 | 2519.7144 | 12 | 4 |  |
| 4 | 32 | 2451.977 | 7 | 6 | 1775.2945 |  |  |  |
| 4 | 33 | 2767.056 | 7 | 7 | 1735.0377 |  |  |  |

Fig. OR7. All Si concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR8 All data reported for CUP-2 P concentration. Data precision as laboratory reported

| Lab # | Sample # | [P] (µg/gU) | Lab # | Sample # | [P] (µg/gU) | Lab # | Sample # | [P] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 320 | 4 | 34 |  | 7 | 8 | 389.7649 |
| 1 | 2 | 280 | 4 | 35 |  | 7 | 9 | 382.2462 |
| 1 | 3 | 260 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 | 365.3 | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 | 389.4 | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 | 376.7 | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 | 367.0 | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 | 392.3 | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 | 366.0 | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 | 334.8 | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 | 324.8 | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 | 345.9 | 4 | 45 |  | 9 | 1 | 295.494 |
| 3 | 10 | 310.4 | 4 | 46 |  | 9 | 2 | 275.937 |
| 3 | 11 | 294.6 | 4 | 47 |  | 9 | 3 | 256.010 |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 | 207.610 |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 | 218.833 |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 | 206.335 |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 | 215.800 |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 | 194.648 |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 | 281.778 |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 432.71 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 432.23 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 450.76 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 403.56 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 382.16 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 373.49 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 393.29 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 403.18 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 | 400.57 |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 355.3467 | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 | 399.8886 | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 | 406.8192 | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 | 398.2957 | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 | 411.7143 | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 | 391.1340 | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 | 395.2592 | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 | 414.6454 |  |  |  |
| 4 | 33 |  | 7 | 7 | 418.3398 |  |  |  |

Fig. OR8 All P concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR9 All data reported for CUP-2 S concentration. Data precision as laboratory reported

| Lab # | Sample # | [S] (µg/gU) | Lab # | Sample # | [S] (µg/gU) | Lab # | Sample # | [S] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 9000 | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 | 8500 | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 | 8000 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 | 12327.9 | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 | 10270.2 | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 | 11237.8 | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 | 8897.2 | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 | 12524.4 | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 | 9373.1 | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 | 10377.1 | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 | 10602.8 | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 | 9815.2 | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 12145.71 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 11118.74 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 11418.82 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 10612.91 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 11179.00 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 10872.80 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 11149.82 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 11214.43 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 | 11629.41 |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 10406.23 | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 | 10734.94 | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR9 All S concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR10 All data reported for CUP-2 K concentration. Data precision as laboratory reported

| Lab # | Sample # | [K] (µg/gU) | Lab # | Sample # | [K] (µg/gU) | Lab # | Sample # | [K] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1300 | 4 | 34 | 1447.039 | 7 | 8 | 1344.4905 |
| 1 | 2 | 1200 | 4 | 35 | 1541.969 | 7 | 9 | 1312.6852 |
| 1 | 3 | 1100 | 4 | 36 | 1438.453 | 8 | 1 | 1620 |
| 3 | 1 | 1347.1 | 4 | 37 | 1537.075 | 8 | 2 | 1580 |
| 3 | 2 | 1754.8 | 4 | 38 | 1445.551 | 8 | 3 | 1520 |
| 3 | 3 |  | 4 | 39 | 1500.730 | 8 | 4 | 1790 |
| 3 | 4 | 1791.3 | 4 | 40 | 1462.961 | 8 | 5 | 1610 |
| 3 | 5 | 1639.8 | 4 | 41 | 1494.523 | 8 | 6 | 1750 |
| 3 | 6 | 1387.6 | 4 | 42 | 1504.018 | 8 | 7 | 1520 |
| 3 | 7 | 1488.3 | 4 | 43 | 1437.396 | 8 | 8 | 2060 |
| 3 | 8 | 1387.1 | 4 | 44 | 1557.107 | 8 | 9 | 1770 |
| 3 | 9 | 1455.3 | 4 | 45 | 1450.408 | 9 | 1 |  |
| 3 | 10 | 1421.5 | 4 | 46 | 1457.829 | 9 | 2 |  |
| 3 | 11 | 1767.5 | 4 | 47 | 1499.894 | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 | 1513.522 | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 | 1512.335 | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 | 1501.562 | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 | 1786.845 | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 | 1474.282 | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 | 1503.002 | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 | 1449.548 | 10 | 1 | 1667.63 |
| 4 | 8 |  | 5 | 1 | 1200 | 10 | 2 | 1749.11 |
| 4 | 9 |  | 5 | 2 | 1210 | 10 | 3 | 1790.42 |
| 4 | 10 |  | 5 | 3 | 1380 | 10 | 4 | 1519.03 |
| 4 | 11 |  | 5 | 4 | 1310 | 10 | 5 | 1544.87 |
| 4 | 12 |  | 5 | 5 | 1370 | 10 | 6 | 1392.07 |
| 4 | 13 |  | 5 | 6 | 1310 | 10 | 7 | 1534.21 |
| 4 | 14 |  | 5 | 7 | 1320 | 10 | 8 | 1527.46 |
| 4 | 15 |  | 5 | 8 | 1490 | 10 | 9 | 1480.32 |
| 4 | 16 | 1383.465 | 5 | 9 | 1440 | 11 | 1 | 1767.71 |
| 4 | 17 | 1430.244 | 5 | 10 | 1480 | 11 | 2 | 1701.31 |
| 4 | 18 | 1564.519 | 5 | 11 | 1460 | 11 | 3 | 1686.44 |
| 4 | 19 | 1387.920 | 5 | 12 | 1600 | 11 | 4 | 1834.96 |
| 4 | 20 | 1400.455 | 5 | 13 | 900 | 11 | 5 | 1788.60 |
| 4 | 21 | 1378.391 | 5 | 14 |  | 11 | 6 | 1731.60 |
| 4 | 22 | 1435.727 | 5 | 15 |  | 11 | 7 | 1493.11 |
| 4 | 23 | 1561.564 | 5 | 16 | 1720 | 11 | 8 | 1505.10 |
| 4 | 24 | 1463.217 | 5 | 17 | 1520 | 11 | 9 | 1421.49 |
| 4 | 25 | 1498.983 | 6 | 1 | 2260.204 | 11 | 10 | 1554.19 |
| 4 | 26 | 1438.844 | 6 | 2 | 1689.768 | 11 | 11 | 1528.14 |
| 4 | 27 | 1436.665 | 7 | 1 | 1137.2006 | 11 | 12 | 1521.12 |
| 4 | 28 | 1491.242 | 7 | 2 | 1373.1444 | 12 | 1 | 1360 |
| 4 | 29 | 1480.511 | 7 | 3 | 1374.2527 | 12 | 2 | 1380 |
| 4 | 30 | 1415.923 | 7 | 4 | 1389.2880 | 12 | 3 |  |
| 4 | 31 | 1434.700 | 7 | 5 | 1408.2497 | 12 | 4 |  |
| 4 | 32 | 1457.599 | 7 | 6 | 1162.4701 |  |  |  |
| 4 | 33 | 1499.898 | 7 | 7 | 1185.4999 |  |  |  |

Fig. OR10 All K concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR11 All data reported for CUP-2 Ca concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ca] (µg/gU) | Lab # | Sample # | [Ca] (µg/gU) | Lab # | Sample # | [Ca] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 5500 | 4 | 34 | 8170.718 | 7 | 8 | 8548.3700 |
| 1 | 2 | 3000 | 4 | 35 | 9073.629 | 7 | 9 | 8606.3592 |
| 1 | 3 | 3000 | 4 | 36 | 8123.367 | 8 | 1 | 5590 |
| 3 | 1 | 8953.7 | 4 | 37 | 8202.051 | 8 | 2 | 5430 |
| 3 | 2 | 5806.4 | 4 | 38 | 7813.544 | 8 | 3 | 5430 |
| 3 | 3 | 6529.2 | 4 | 39 | 8763.600 | 8 | 4 | 6210 |
| 3 | 4 | 7042.0 | 4 | 40 | 8348.308 | 8 | 5 | 5810 |
| 3 | 5 | 6091.2 | 4 | 41 | 8280.683 | 8 | 6 | 6140 |
| 3 | 6 | 5974.3 | 4 | 42 | 8515.815 | 8 | 7 | 5300 |
| 3 | 7 | 8649.2 | 4 | 43 | 8404.154 | 8 | 8 | 5680 |
| 3 | 8 | 7475.1 | 4 | 44 | 8680.109 | 8 | 9 | 5850 |
| 3 | 9 | 7531.6 | 4 | 45 | 7744.614 | 9 | 1 |  |
| 3 | 10 | 7686.2 | 4 | 46 | 8277.065 | 9 | 2 |  |
| 3 | 11 | 6768.2 | 4 | 47 | 8158.198 | 9 | 3 |  |
| 4 | 1 | 8306.016 | 4 | 48 | 9042.781 | 9 | 4 |  |
| 4 | 2 | 8121.627 | 4 | 49 | 8332.026 | 9 | 5 |  |
| 4 | 3 | 8151.842 | 4 | 50 | 7787.500 | 9 | 6 |  |
| 4 | 4 | 7999.601 | 4 | 51 | 20874.464 | 9 | 7 |  |
| 4 | 5 | 10045.672 | 4 | 52 | 8321.513 | 9 | 8 |  |
| 4 | 6 | 8709.315 | 4 | 53 | 8340.591 | 9 | 9 |  |
| 4 | 7 | 7855.732 | 4 | 54 | 8291.221 | 10 | 1 | 8342.90 |
| 4 | 8 | 8857.804 | 5 | 1 | 8200 | 10 | 2 | 9042.96 |
| 4 | 9 | 8092.075 | 5 | 2 | 8000 | 10 | 3 | 8510.55 |
| 4 | 10 | 7954.829 | 5 | 3 | 4100 | 10 | 4 | 8838.62 |
| 4 | 11 | 7898.237 | 5 | 4 | 4500 | 10 | 5 | 8885.72 |
| 4 | 12 | 8098.135 | 5 | 5 | 8000 | 10 | 6 | 8845.75 |
| 4 | 13 | 7983.244 | 5 | 6 | 8700 | 10 | 7 | 8944.34 |
| 4 | 14 | 8326.609 | 5 | 7 | 7800 | 10 | 8 | 9221.33 |
| 4 | 15 | 7658.197 | 5 | 8 | 8600 | 10 | 9 | 9182.58 |
| 4 | 16 | 9244.493 | 5 | 9 | 8700 | 11 | 1 | 9870.38 |
| 4 | 17 |  | 5 | 10 | 8200 | 11 | 2 | 9621.43 |
| 4 | 18 | 9626.610 | 5 | 11 | 8700 | 11 | 3 | 9645.29 |
| 4 | 19 | 8138.307 | 5 | 12 | 9000 | 11 | 4 | 9627.85 |
| 4 | 20 | 7718.039 | 5 | 13 | 7400 | 11 | 5 | 9824.95 |
| 4 | 21 | 7850.714 | 5 | 14 | 8200 | 11 | 6 | 9670.37 |
| 4 | 22 | 7982.650 | 5 | 15 | 9000 | 11 | 7 | 8802.33 |
| 4 | 23 | 9622.024 | 5 | 16 | 10100 | 11 | 8 | 9043.25 |
| 4 | 24 | 8928.369 | 5 | 17 | 8400 | 11 | 9 | 8691.87 |
| 4 | 25 | 8540.688 | 6 | 1 | 8602.801 | 11 | 10 | 9278.41 |
| 4 | 26 | 9015.179 | 6 | 2 | 8861.971 | 11 | 11 | 9602.04 |
| 4 | 27 | 8731.879 | 7 | 1 | 8624.4289 | 11 | 12 | 9198.80 |
| 4 | 28 | 8263.945 | 7 | 2 | 8787.8656 | 12 | 1 | 8880 |
| 4 | 29 | 8369.652 | 7 | 3 | 8594.9315 | 12 | 2 | 8960 |
| 4 | 30 | 8085.427 | 7 | 4 | 8766.0288 | 12 | 3 |  |
| 4 | 31 | 8321.017 | 7 | 5 | 8995.4147 | 12 | 4 |  |
| 4 | 32 | 7508.464 | 7 | 6 | 8343.2982 |  |  |  |
| 4 | 33 | 9100.545 | 7 | 7 | 8428.1036 |  |  |  |

Fig. OR11 All Ca concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR12 All data reported for CUP-2 Sc concentration. Data precision as laboratory reported

| Lab # | Sample # | [Sc] (µg/gU) | Lab # | Sample # | [Sc] (µg/gU) | Lab # | Sample # | [Sc] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 14 | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 | 7 | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 | 7 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 | 5.8 | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 | 6.2 | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 | 6.6 | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 | 6.7 | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 | 6.3 | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 | 6.7 | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 | 6.800 |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 | 5.989 |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 | 6.470 |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 | 6.837 |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 | 6.843 |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 | 6.910 |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 | 6.876 |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 | 6.622 |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 | 6.800 |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 6.23 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 6.06 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 6.51 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 6.12 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 6.19 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 6.27 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 6.85 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 6.52 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 | 6.69 |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 6.700044 | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 | 6.894286 | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR12 All Sc concentration data (a) reported for CUP-2 and (b) with the y axis set between 0 and 10. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR13 All data reported for CUP-2 Ti concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ti] (µg/gU) | Lab # | Sample # | [Ti] (µg/gU) | Lab # | Sample # | [Ti] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 190 | 4 | 34 | 226.320 | 7 | 8 | 258.0598 |
| 1 | 2 | 180 | 4 | 35 | 227.972 | 7 | 9 | 254.2976 |
| 1 | 3 | 170 | 4 | 36 | 215.617 | 8 | 1 | 226 |
| 3 | 1 | 236.9 | 4 | 37 | 225.829 | 8 | 2 | 237 |
| 3 | 2 | 250.0 | 4 | 38 | 226.266 | 8 | 3 | 230 |
| 3 | 3 | 259.8 | 4 | 39 | 228.304 | 8 | 4 | 236 |
| 3 | 4 | 259.0 | 4 | 40 | 219.896 | 8 | 5 | 235 |
| 3 | 5 | 261.0 | 4 | 41 | 223.334 | 8 | 6 | 238 |
| 3 | 6 | 252.8 | 4 | 42 | 229.890 | 8 | 7 | 228 |
| 3 | 7 | 247.1 | 4 | 43 | 222.943 | 8 | 8 | 226 |
| 3 | 8 | 231.8 | 4 | 44 | 230.799 | 8 | 9 | 240 |
| 3 | 9 | 232.4 | 4 | 45 | 221.626 | 9 | 1 | 267.695 |
| 3 | 10 | 227.3 | 4 | 46 | 226.678 | 9 | 2 | 199.252 |
| 3 | 11 | 232.7 | 4 | 47 | 226.016 | 9 | 3 | 198.528 |
| 4 | 1 | 223.543 | 4 | 48 | 225.661 | 9 | 4 | 187.963 |
| 4 | 2 | 220.354 | 4 | 49 | 220.436 | 9 | 5 | 221.491 |
| 4 | 3 | 224.782 | 4 | 50 | 218.852 | 9 | 6 | 208.669 |
| 4 | 4 | 220.941 | 4 | 51 | 232.938 | 9 | 7 | 211.787 |
| 4 | 5 | 225.338 | 4 | 52 | 225.024 | 9 | 8 | 203.759 |
| 4 | 6 | 243.523 | 4 | 53 | 224.754 | 9 | 9 | 235.360 |
| 4 | 7 | 209.831 | 4 | 54 | 223.717 | 10 | 1 | 220.86 |
| 4 | 8 | 254.828 | 5 | 1 | 179 | 10 | 2 | 214.94 |
| 4 | 9 | 225.386 | 5 | 2 | 182 | 10 | 3 | 231.87 |
| 4 | 10 | 214.782 | 5 | 3 | 192 | 10 | 4 | 225.26 |
| 4 | 11 | 221.463 | 5 | 4 | 183 | 10 | 5 | 218.88 |
| 4 | 12 | 219.113 | 5 | 5 | 210 | 10 | 6 | 213.63 |
| 4 | 13 | 224.839 | 5 | 6 | 210 | 10 | 7 | 226.17 |
| 4 | 14 | 226.240 | 5 | 7 | 210 | 10 | 8 | 222.62 |
| 4 | 15 | 229.492 | 5 | 8 | 220 | 10 | 9 | 227.44 |
| 4 | 16 | 207.596 | 5 | 9 | 220 | 11 | 1 | 222.50 |
| 4 | 17 | 222.700 | 5 | 10 | 210 | 11 | 2 | 225.46 |
| 4 | 18 | 225.768 | 5 | 11 | 220 | 11 | 3 | 219.87 |
| 4 | 19 | 222.674 | 5 | 12 | 223 | 11 | 4 | 222.80 |
| 4 | 20 | 212.573 | 5 | 13 | 199 | 11 | 5 | 233.60 |
| 4 | 21 | 216.120 | 5 | 14 | 222 | 11 | 6 | 222.65 |
| 4 | 22 | 218.123 | 5 | 15 | 220 | 11 | 7 | 230.77 |
| 4 | 23 | 229.022 | 5 | 16 | 255 | 11 | 8 | 222.13 |
| 4 | 24 | 223.164 | 5 | 17 | 211 | 11 | 9 | 216.52 |
| 4 | 25 | 226.008 | 6 | 1 | 225.0298 | 11 | 10 | 234.41 |
| 4 | 26 | 219.996 | 6 | 2 | 231.3291 | 11 | 11 | 236.25 |
| 4 | 27 | 223.166 | 7 | 1 | 248.5814 | 11 | 12 | 233.44 |
| 4 | 28 | 217.721 | 7 | 2 | 250.5525 | 12 | 1 |  |
| 4 | 29 | 223.500 | 7 | 3 | 259.4668 | 12 | 2 |  |
| 4 | 30 | 222.892 | 7 | 4 | 255.3817 | 12 | 3 | 251 |
| 4 | 31 | 227.418 | 7 | 5 | 254.4119 | 12 | 4 | 260 |
| 4 | 32 | 213.089 | 7 | 6 | 246.9951 |  |  |  |
| 4 | 33 | 224.790 | 7 | 7 | 250.7695 |  |  |  |

Fig. OR13. All Ti concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR14 All data reported for CUP-2 V concentration. Data precision as laboratory reported

| Lab # | Sample # | [V] (µg/gU) | Lab # | Sample # | [V] (µg/gU) | Lab # | Sample # | [V] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 800 | 4 | 34 | 910.992 | 7 | 8 | 858.1245 |
| 1 | 2 | 800 | 4 | 35 | 892.905 | 7 | 9 | 864.6586 |
| 1 | 3 | 800 | 4 | 36 | 844.978 | 8 | 1 | 942 |
| 3 | 1 | 885.1 | 4 | 37 | 894.285 | 8 | 2 | 971 |
| 3 | 2 | 999.9 | 4 | 38 | 887.050 | 8 | 3 | 926 |
| 3 | 3 | 952.5 | 4 | 39 | 898.759 | 8 | 4 | 1020 |
| 3 | 4 | 982.1 | 4 | 40 | 866.632 | 8 | 5 | 946 |
| 3 | 5 | 976.8 | 4 | 41 | 887.338 | 8 | 6 | 987 |
| 3 | 6 | 928.9 | 4 | 42 | 925.928 | 8 | 7 | 918 |
| 3 | 7 | 909.7 | 4 | 43 | 906.939 | 8 | 8 | 1030 |
| 3 | 8 | 875.5 | 4 | 44 | 931.427 | 8 | 9 | 990 |
| 3 | 9 | 876.2 | 4 | 45 | 888.859 | 9 | 1 | 888.381 |
| 3 | 10 | 867.5 | 4 | 46 | 917.243 | 9 | 2 | 759.530 |
| 3 | 11 | 892.2 | 4 | 47 | 913.374 | 9 | 3 | 866.427 |
| 4 | 1 | 912.407 | 4 | 48 | 903.134 | 9 | 4 | 853.834 |
| 4 | 2 | 898.230 | 4 | 49 | 893.114 | 9 | 5 | 852.574 |
| 4 | 3 | 906.196 | 4 | 50 | 880.022 | 9 | 6 | 851.096 |
| 4 | 4 | 890.251 | 4 | 51 | 917.328 | 9 | 7 | 890.569 |
| 4 | 5 | 921.101 | 4 | 52 | 888.422 | 9 | 8 | 889.271 |
| 4 | 6 | 915.399 | 4 | 53 | 905.395 | 9 | 9 | 885.269 |
| 4 | 7 | 905.223 | 4 | 54 | 898.531 | 10 | 1 | 914.30 |
| 4 | 8 | 926.071 | 5 | 1 | 760 | 10 | 2 | 941.01 |
| 4 | 9 | 876.198 | 5 | 2 | 740 | 10 | 3 | 928.72 |
| 4 | 10 | 917.280 | 5 | 3 | 740 | 10 | 4 | 940.54 |
| 4 | 11 | 858.453 | 5 | 4 | 750 | 10 | 5 | 957.98 |
| 4 | 12 | 867.942 | 5 | 5 | 840 | 10 | 6 | 948.64 |
| 4 | 13 | 909.156 | 5 | 6 | 830 | 10 | 7 | 972.60 |
| 4 | 14 | 908.902 | 5 | 7 | 820 | 10 | 8 | 960.21 |
| 4 | 15 | 904.197 | 5 | 8 | 830 | 10 | 9 | 979.07 |
| 4 | 16 | 866.210 | 5 | 9 | 840 | 11 | 1 | 868.34 |
| 4 | 17 | 908.377 | 5 | 10 | 820 | 11 | 2 | 905.45 |
| 4 | 18 | 916.496 | 5 | 11 | 840 | 11 | 3 | 890.90 |
| 4 | 19 | 882.039 | 5 | 12 | 860 | 11 | 4 | 864.04 |
| 4 | 20 | 857.995 | 5 | 13 | 710 | 11 | 5 | 890.36 |
| 4 | 21 | 880.114 | 5 | 14 | 840 | 11 | 6 | 860.60 |
| 4 | 22 | 886.197 | 5 | 15 | 860 | 11 | 7 | 892.35 |
| 4 | 23 | 928.859 | 5 | 16 | 960 | 11 | 8 | 892.67 |
| 4 | 24 | 902.388 | 5 | 17 | 810 | 11 | 9 | 899.63 |
| 4 | 25 | 907.542 | 6 | 1 | 889.2421 | 11 | 10 | 870.43 |
| 4 | 26 | 915.634 | 6 | 2 | 912.3446 | 11 | 11 | 860.32 |
| 4 | 27 | 908.393 | 7 | 1 | 856.2210 | 11 | 12 | 803.30 |
| 4 | 28 | 880.750 | 7 | 2 | 830.3393 | 12 | 1 | 834 |
| 4 | 29 | 904.030 | 7 | 3 | 822.3324 | 12 | 2 | 836 |
| 4 | 30 | 884.372 | 7 | 4 | 835.7571 | 12 | 3 |  |
| 4 | 31 | 912.121 | 7 | 5 | 860.9361 | 12 | 4 |  |
| 4 | 32 | 851.985 | 7 | 6 | 826.3094 |  |  |  |
| 4 | 33 | 902.317 | 7 | 7 | 836.9067 |  |  |  |

Fig. OR14 All V concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR15 All data reported for CUP-2 Mn concentration. Data precision as laboratory reported

| Lab # | Sample # | [Mn] (µg/gU) | Lab # | Sample # | [Mn] (µg/gU) | Lab # | Sample # | [Mn] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 120 | 4 | 34 | 130.887 | 7 | 8 | 151.5180 |
| 1 | 2 | 120 | 4 | 35 | 134.555 | 7 | 9 | 151.6414 |
| 1 | 3 | 110 | 4 | 36 | 128.318 | 8 | 1 | 149 |
| 3 | 1 | 136.9 | 4 | 37 | 132.715 | 8 | 2 | 155 |
| 3 | 2 | 147.3 | 4 | 38 | 132.727 | 8 | 3 | 114 |
| 3 | 3 | 143.7 | 4 | 39 | 134.343 | 8 | 4 | 115 |
| 3 | 4 | 147.3 | 4 | 40 | 131.651 | 8 | 5 | 111 |
| 3 | 5 | 145.6 | 4 | 41 | 132.823 | 8 | 6 | 110 |
| 3 | 6 | 144.2 | 4 | 42 | 136.126 | 8 | 7 | 98.3 |
| 3 | 7 | 138.3 | 4 | 43 | 133.908 | 8 | 8 | 164 |
| 3 | 8 | 134.5 | 4 | 44 | 140.355 | 8 | 9 | 101 |
| 3 | 9 | 132.8 | 4 | 45 | 128.821 | 9 | 1 | 131.184 |
| 3 | 10 | 132.3 | 4 | 46 | 130.837 | 9 | 2 | 115.714 |
| 3 | 11 | 133.8 | 4 | 47 | 132.051 | 9 | 3 | 130.531 |
| 4 | 1 | 137.545 | 4 | 48 | 133.506 | 9 | 4 | 125.691 |
| 4 | 2 | 134.018 | 4 | 49 | 130.915 | 9 | 5 | 126.132 |
| 4 | 3 | 137.911 | 4 | 50 | 128.676 | 9 | 6 | 127.069 |
| 4 | 4 | 132.161 | 4 | 51 | 140.004 | 9 | 7 | 126.175 |
| 4 | 5 | 136.232 | 4 | 52 | 132.069 | 9 | 8 | 123.451 |
| 4 | 6 | 147.918 | 4 | 53 | 134.941 | 9 | 9 | 131.315 |
| 4 | 7 | 137.374 | 4 | 54 | 132.385 | 10 | 1 | 134.18 |
| 4 | 8 | 153.599 | 5 | 1 | 115 | 10 | 2 | 133.69 |
| 4 | 9 | 142.892 | 5 | 2 | 116 | 10 | 3 | 137.99 |
| 4 | 10 | 141.152 | 5 | 3 | 122 | 10 | 4 | 137.48 |
| 4 | 11 | 137.520 | 5 | 4 | 114 | 10 | 5 | 140.71 |
| 4 | 12 | 136.742 | 5 | 5 | 124 | 10 | 6 | 140.28 |
| 4 | 13 | 142.196 | 5 | 6 | 122 | 10 | 7 | 143.76 |
| 4 | 14 | 137.650 | 5 | 7 | 122 | 10 | 8 | 140.82 |
| 4 | 15 | 140.479 | 5 | 8 | 132 | 10 | 9 | 143.03 |
| 4 | 16 | 122.866 | 5 | 9 | 131 | 11 | 1 | 140.27 |
| 4 | 17 | 133.137 | 5 | 10 | 130 | 11 | 2 | 146.55 |
| 4 | 18 | 138.019 | 5 | 11 | 130 | 11 | 3 | 146.64 |
| 4 | 19 | 135.980 | 5 | 12 | 134 | 11 | 4 | 143.23 |
| 4 | 20 | 124.297 | 5 | 13 | 108 | 11 | 5 | 143.07 |
| 4 | 21 | 125.076 | 5 | 14 | 139 | 11 | 6 | 139.32 |
| 4 | 22 | 126.688 | 5 | 15 | 138 | 11 | 7 | 140.13 |
| 4 | 23 | 136.088 | 5 | 16 | 158 | 11 | 8 | 137.79 |
| 4 | 24 | 133.078 | 5 | 17 | 132 | 11 | 9 | 137.30 |
| 4 | 25 | 131.796 | 6 | 1 | 138.0733 | 11 | 10 | 140.29 |
| 4 | 26 | 131.043 | 6 | 2 | 140.0621 | 11 | 11 | 139.51 |
| 4 | 27 | 132.865 | 7 | 1 | 152.2188 | 11 | 12 | 130.05 |
| 4 | 28 | 130.024 | 7 | 2 | 154.3532 | 12 | 1 | 124 |
| 4 | 29 | 135.806 | 7 | 3 | 154.1547 | 12 | 2 | 124 |
| 4 | 30 | 133.140 | 7 | 4 | 152.2717 | 12 | 3 | 139.6 |
| 4 | 31 | 138.788 | 7 | 5 | 154.9984 | 12 | 4 | 142.4 |
| 4 | 32 | 123.547 | 7 | 6 | 151.6609 |  |  |  |
| 4 | 33 | 132.103 | 7 | 7 | 148.5437 |  |  |  |

Fig. OR15 All Mn concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR16 All data reported for CUP-2 Cr concentration. Data precision as laboratory reported

| Lab # | Sample # | [Cr] (µg/gU) | Lab # | Sample # | [Cr] (µg/gU) | Lab # | Sample # | [Cr] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 16 | 4 | 34 | 19.400 | 7 | 8 | 18.6967 |
| 1 | 2 | 14 | 4 | 35 | 19.681 | 7 | 9 | 17.0757 |
| 1 | 3 | 15 | 4 | 36 | 18.810 | 8 | 1 | 26.6 |
| 3 | 1 | 20.5 | 4 | 37 | 19.595 | 8 | 2 | 34.6 |
| 3 | 2 | 21.6 | 4 | 38 | 19.621 | 8 | 3 | 21.2 |
| 3 | 3 | 21.6 | 4 | 39 | 19.617 | 8 | 4 | 16.0 |
| 3 | 4 | 26.5 | 4 | 40 | 19.208 | 8 | 5 | 18.5 |
| 3 | 5 | 20.7 | 4 | 41 | 19.520 | 8 | 6 | 21.2 |
| 3 | 6 | 21.7 | 4 | 42 | 20.746 | 8 | 7 | 19.3 |
| 3 | 7 | 21.2 | 4 | 43 | 20.307 | 8 | 8 | 25.5 |
| 3 | 8 | 20.9 | 4 | 44 | 21.273 | 8 | 9 | 15.1 |
| 3 | 9 | 19.3 | 4 | 45 | 19.344 | 9 | 1 | 19.443 |
| 3 | 10 | 19.1 | 4 | 46 | 19.864 | 9 | 2 | 17.376 |
| 3 | 11 | 20.0 | 4 | 47 | 19.755 | 9 | 3 | 18.907 |
| 4 | 1 | 20.306 | 4 | 48 | 19.839 | 9 | 4 | 19.148 |
| 4 | 2 | 19.739 | 4 | 49 | 19.917 | 9 | 5 | 18.845 |
| 4 | 3 | 20.314 | 4 | 50 | 19.433 | 9 | 6 | 19.068 |
| 4 | 4 | 19.978 | 4 | 51 | 20.432 | 9 | 7 | 19.968 |
| 4 | 5 | 20.386 | 4 | 52 | 19.895 | 9 | 8 | 19.079 |
| 4 | 6 | 20.619 | 4 | 53 | 20.202 | 9 | 9 | 20.500 |
| 4 | 7 | 20.015 | 4 | 54 | 20.055 | 10 | 1 | 17.51 |
| 4 | 8 | 20.944 | 5 | 1 | 15.1 | 10 | 2 | 17.98 |
| 4 | 9 | 19.839 | 5 | 2 | 15.2 | 10 | 3 | 20.60 |
| 4 | 10 | 20.788 | 5 | 3 | 16.3 | 10 | 4 | 20.05 |
| 4 | 11 | 20.318 | 5 | 4 | 15.8 | 10 | 5 | 19.83 |
| 4 | 12 | 19.851 | 5 | 5 | 18.1 | 10 | 6 | 21.76 |
| 4 | 13 | 20.767 | 5 | 6 | 22.0 | 10 | 7 | 21.05 |
| 4 | 14 | 20.223 | 5 | 7 | 18.1 | 10 | 8 | 20.76 |
| 4 | 15 | 20.652 | 5 | 8 | 25.0 | 10 | 9 | 21.29 |
| 4 | 16 | 18.177 | 5 | 9 | 19.2 | 11 | 1 | 22.00 |
| 4 | 17 | 19.528 | 5 | 10 | 18.8 | 11 | 2 | 20.82 |
| 4 | 18 | 20.441 | 5 | 11 | 19.1 | 11 | 3 | 19.96 |
| 4 | 19 | 20.006 | 5 | 12 | 21.0 | 11 | 4 | 20.29 |
| 4 | 20 | 18.083 | 5 | 13 | 16.7 | 11 | 5 | 20.88 |
| 4 | 21 | 18.267 | 5 | 14 | 18.2 | 11 | 6 | 20.18 |
| 4 | 22 | 18.594 | 5 | 15 | 19.4 | 11 | 7 | 19.45 |
| 4 | 23 | 19.703 | 5 | 16 | 22.7 | 11 | 8 | 20.23 |
| 4 | 24 | 19.521 | 5 | 17 | 18.5 | 11 | 9 | 19.52 |
| 4 | 25 | 19.378 | 6 | 1 | 19.87691 | 11 | 10 | 20.34 |
| 4 | 26 | 18.908 | 6 | 2 | 20.06996 | 11 | 11 | 20.64 |
| 4 | 27 | 19.487 | 7 | 1 | 15.7620 | 11 | 12 | 20.16 |
| 4 | 28 | 19.106 | 7 | 2 | 15.8160 | 12 | 1 |  |
| 4 | 29 | 20.173 | 7 | 3 | 15.8965 | 12 | 2 |  |
| 4 | 30 | 19.745 | 7 | 4 | 16.0819 | 12 | 3 | 20.70 |
| 4 | 31 | 20.723 | 7 | 5 | 18.0771 | 12 | 4 | 21.02 |
| 4 | 32 | 18.238 | 7 | 6 | 66.7549 |  |  |  |
| 4 | 33 | 19.589 | 7 | 7 | 15.9598 |  |  |  |

Fig. OR16 All Cr concentration data (a) reported for CUP-2 and (b) with the y axis set between 0 and 40. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR17 All data reported for CUP-2 Fe concentration. Data precision as laboratory reported

| Lab # | Sample # | [Fe] (µg/gU) | Lab # | Sample # | [Fe] (µg/gU) | Lab # | Sample # | [Fe] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 3500 | 4 | 34 | 4387.788 | 7 | 8 | 5234.7399 |
| 1 | 2 | 3500 | 4 | 35 | 4445.457 | 7 | 9 | 5132.1216 |
| 1 | 3 | 3500 | 4 | 36 | 4268.958 | 8 | 1 | 4900 |
| 3 | 1 | 4953.2 | 4 | 37 | 4411.472 | 8 | 2 | 5220 |
| 3 | 2 | 4767.0 | 4 | 38 | 4351.866 | 8 | 3 | 5600 |
| 3 | 3 | 4076.8 | 4 | 39 | 4452.628 | 8 | 4 | 5010 |
| 3 | 4 | 4666.0 | 4 | 40 | 4379.672 | 8 | 5 | 4870 |
| 3 | 5 | 4456.4 | 4 | 41 | 4402.937 | 8 | 6 | 5060 |
| 3 | 6 | 3933.3 | 4 | 42 | 4504.457 | 8 | 7 | 4590 |
| 3 | 7 | 4579.2 | 4 | 43 | 4426.846 | 8 | 8 | 4910 |
| 3 | 8 | 4433.2 | 4 | 44 | 4589.283 | 8 | 9 | 4650 |
| 3 | 9 | 4168.4 | 4 | 45 | 4269.129 | 9 | 1 | 4133.488 |
| 3 | 10 | 4038.8 | 4 | 46 | 4360.990 | 9 | 2 | 3684.670 |
| 3 | 11 | 3915.6 | 4 | 47 | 4342.792 | 9 | 3 | 4128.284 |
| 4 | 1 | 4648.374 | 4 | 48 | 4430.179 | 9 | 4 | 4011.125 |
| 4 | 2 | 4592.923 | 4 | 49 | 4288.776 | 9 | 5 | 3997.965 |
| 4 | 3 | 4623.918 | 4 | 50 | 4332.897 | 9 | 6 | 4005.870 |
| 4 | 4 | 4512.534 | 4 | 51 | 4557.406 | 9 | 7 | 3989.242 |
| 4 | 5 | 4638.943 | 4 | 52 | 4434.474 | 9 | 8 | 3983.597 |
| 4 | 6 | 4507.435 | 4 | 53 | 4473.431 | 9 | 9 | 4108.543 |
| 4 | 7 | 3967.259 | 4 | 54 | 4444.456 | 10 | 1 | 4060.66 |
| 4 | 8 | 4594.536 | 5 | 1 | 3700 | 10 | 2 | 4097.92 |
| 4 | 9 | 4174.680 | 5 | 2 | 3700 | 10 | 3 | 4426.79 |
| 4 | 10 | 4156.947 | 5 | 3 | 4000 | 10 | 4 | 4318.38 |
| 4 | 11 | 4688.557 | 5 | 4 | 3900 | 10 | 5 | 4436.10 |
| 4 | 12 | 4660.536 | 5 | 5 | 3900 | 10 | 6 | 4370.40 |
| 4 | 13 | 4917.233 | 5 | 6 | 3900 | 10 | 7 | 4533.62 |
| 4 | 14 | 4812.647 | 5 | 7 | 3900 | 10 | 8 | 4477.25 |
| 4 | 15 | 4909.657 | 5 | 8 | 4100 | 10 | 9 | 4607.74 |
| 4 | 16 | 4106.707 | 5 | 9 | 4200 | 11 | 1 | 4385.43 |
| 4 | 17 | 4342.640 | 5 | 10 | 4100 | 11 | 2 | 4394.81 |
| 4 | 18 | 4537.358 | 5 | 11 | 4200 | 11 | 3 | 4302.99 |
| 4 | 19 | 4445.370 | 5 | 12 | 4300 | 11 | 4 | 4382.41 |
| 4 | 20 | 4134.549 | 5 | 13 | 3540 | 11 | 5 | 4488.80 |
| 4 | 21 | 4163.876 | 5 | 14 | 4400 | 11 | 6 | 4409.00 |
| 4 | 22 | 4236.722 | 5 | 15 | 4500 | 11 | 7 | 4416.75 |
| 4 | 23 | 4499.952 | 5 | 16 | 5000 | 11 | 8 | 4337.57 |
| 4 | 24 | 4380.348 | 5 | 17 | 4300 | 11 | 9 | 4377.94 |
| 4 | 25 | 4346.071 | 6 | 1 | 4351.534 | 11 | 10 | 4493.19 |
| 4 | 26 | 4420.209 | 6 | 2 | 4433.250 | 11 | 11 | 4602.10 |
| 4 | 27 | 4408.229 | 7 | 1 | 5454.1892 | 11 | 12 | 4551.89 |
| 4 | 28 | 4316.184 | 7 | 2 | 5110.4733 | 12 | 1 | 4280 |
| 4 | 29 | 4495.660 | 7 | 3 | 5034.1880 | 12 | 2 | 4070 |
| 4 | 30 | 4409.290 | 7 | 4 | 5222.8141 | 12 | 3 |  |
| 4 | 31 | 4565.737 | 7 | 5 | 5090.0287 | 12 | 4 |  |
| 4 | 32 | 4100.917 | 7 | 6 | 5324.4311 |  |  |  |
| 4 | 33 | 4379.583 | 7 | 7 | 5054.3030 |  |  |  |

Fig. OR17 All Fe concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR18 All data reported for CUP-2 Co concentration. Data precision as laboratory reported

| Lab # | Sample # | [Co] (µg/gU) | Lab # | Sample # | [Co] (µg/gU) | Lab # | Sample # | [Co] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 4 | 34 | 3.045 | 7 | 8 | 3.4648 |
| 1 | 2 | 3 | 4 | 35 | 3.072 | 7 | 9 | 3.4731 |
| 1 | 3 | 3 | 4 | 36 | 2.898 | 8 | 1 | 4.85 |
| 3 | 1 | 3.1 | 4 | 37 | 3.055 | 8 | 2 | 4.94 |
| 3 | 2 | 3.5 | 4 | 38 | 3.043 | 8 | 3 | 3.39 |
| 3 | 3 | 3.6 | 4 | 39 | 3.038 | 8 | 4 | 3.25 |
| 3 | 4 | 3.2 | 4 | 40 | 2.971 | 8 | 5 | 3.27 |
| 3 | 5 | 3.4 | 4 | 41 | 3.039 | 8 | 6 | 3.60 |
| 3 | 6 | 3.3 | 4 | 42 | 3.161 | 8 | 7 | 2.91 |
| 3 | 7 | 3.1 | 4 | 43 | 3.122 | 8 | 8 | 4.69 |
| 3 | 8 | 3.3 | 4 | 44 | 3.245 | 8 | 9 | 2.59 |
| 3 | 9 | 3.2 | 4 | 45 | 2.975 | 9 | 1 | 3.098 |
| 3 | 10 | 3.1 | 4 | 46 | 3.045 | 9 | 2 | 2.778 |
| 3 | 11 | 3.2 | 4 | 47 | 3.039 | 9 | 3 | 3.109 |
| 4 | 1 | 3.185 | 4 | 48 | 3.063 | 9 | 4 | 2.967 |
| 4 | 2 | 3.140 | 4 | 49 | 2.954 | 9 | 5 | 3.117 |
| 4 | 3 | 3.123 | 4 | 50 | 2.927 | 9 | 6 | 3.050 |
| 4 | 4 | 3.033 | 4 | 51 | 3.078 | 9 | 7 | 3.206 |
| 4 | 5 | 3.176 | 4 | 52 | 3.002 | 9 | 8 | 3.121 |
| 4 | 6 | 3.244 | 4 | 53 | 3.059 | 9 | 9 | 3.107 |
| 4 | 7 | 2.956 | 4 | 54 | 3.031 | 10 | 1 | 3.04 |
| 4 | 8 | 3.234 | 5 | 1 | 2.30 | 10 | 2 | 3.11 |
| 4 | 9 | 3.065 | 5 | 2 | 2.30 | 10 | 3 | 3.22 |
| 4 | 10 | 3.025 | 5 | 3 | 2.58 | 10 | 4 | 3.15 |
| 4 | 11 | 3.080 | 5 | 4 | 2.62 | 10 | 5 | 3.27 |
| 4 | 12 | 3.068 | 5 | 5 | 2.70 | 10 | 6 | 3.18 |
| 4 | 13 | 3.201 | 5 | 6 | 2.70 | 10 | 7 | 3.35 |
| 4 | 14 | 3.250 | 5 | 7 | 2.70 | 10 | 8 | 3.30 |
| 4 | 15 | 3.159 | 5 | 8 | 2.70 | 10 | 9 | 3.47 |
| 4 | 16 | 2.972 | 5 | 9 | 2.70 | 11 | 1 | 2.69 |
| 4 | 17 | 3.073 | 5 | 10 | 2.80 | 11 | 2 | 2.77 |
| 4 | 18 | 3.241 | 5 | 11 | 2.90 | 11 | 3 | 2.73 |
| 4 | 19 | 3.084 | 5 | 12 | 2.90 | 11 | 4 | 2.75 |
| 4 | 20 | 2.887 | 5 | 13 | 2.40 | 11 | 5 | 2.89 |
| 4 | 21 | 2.928 | 5 | 14 | 2.60 | 11 | 6 | 2.72 |
| 4 | 22 | 2.946 | 5 | 15 | 2.90 | 11 | 7 | 3.07 |
| 4 | 23 | 3.157 | 5 | 16 | 3.30 | 11 | 8 | 2.91 |
| 4 | 24 | 3.016 | 5 | 17 | 2.80 | 11 | 9 | 2.97 |
| 4 | 25 | 3.032 | 6 | 1 | 3.039973 | 11 | 10 | 2.92 |
| 4 | 26 | 3.038 | 6 | 2 | 3.150607 | 11 | 11 | 2.93 |
| 4 | 27 | 3.040 | 7 | 1 | 3.5265 | 11 | 12 | 2.80 |
| 4 | 28 | 2.999 | 7 | 2 | 3.4223 | 12 | 1 |  |
| 4 | 29 | 3.190 | 7 | 3 | 3.4373 | 12 | 2 |  |
| 4 | 30 | 3.091 | 7 | 4 | 3.5019 | 12 | 3 | 3.16 |
| 4 | 31 | 3.200 | 7 | 5 | 3.5534 | 12 | 4 | 3.02 |
| 4 | 32 | 2.931 | 7 | 6 | 3.5434 |  |  |  |
| 4 | 33 | 3.059 | 7 | 7 | 3.5011 |  |  |  |

Fig. OR18 All Co concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR19 All data reported for CUP-2 Ni concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ni] (µg/gU) | Lab # | Sample # | [Ni] (µg/gU) | Lab # | Sample # | [Ni] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 22 | 4 | 34 | 33.962 | 7 | 8 | 37.7082 |
| 1 | 2 | 26 | 4 | 35 | 34.384 | 7 | 9 | 37.9410 |
| 1 | 3 | 26 | 4 | 36 | 33.270 | 8 | 1 | 35.1 |
| 3 | 1 | 33.0 | 4 | 37 | 34.286 | 8 | 2 | 39.5 |
| 3 | 2 | 35.6 | 4 | 38 | 34.615 | 8 | 3 | 41.0 |
| 3 | 3 | 37.9 | 4 | 39 | 34.253 | 8 | 4 | 41.7 |
| 3 | 4 | 34.1 | 4 | 40 | 33.213 | 8 | 5 | 32.0 |
| 3 | 5 | 39.4 | 4 | 41 | 34.040 | 8 | 6 | 47.2 |
| 3 | 6 | 33.9 | 4 | 42 | 35.702 | 8 | 7 | 37.8 |
| 3 | 7 | 35.1 | 4 | 43 | 34.873 | 8 | 8 | 42.3 |
| 3 | 8 | 35.2 | 4 | 44 | 35.922 | 8 | 9 | 51.0 |
| 3 | 9 | 33.5 | 4 | 45 | 34.898 | 9 | 1 | 51.491 |
| 3 | 10 | 31.3 | 4 | 46 | 35.166 | 9 | 2 | 47.767 |
| 3 | 11 | 34.4 | 4 | 47 | 34.657 | 9 | 3 | 50.811 |
| 4 | 1 | 34.891 | 4 | 48 | 35.166 | 9 | 4 | 50.157 |
| 4 | 2 | 34.502 | 4 | 49 | 34.606 | 9 | 5 | 53.851 |
| 4 | 3 | 35.222 | 4 | 50 | 34.134 | 9 | 6 | 51.125 |
| 4 | 4 | 34.411 | 4 | 51 | 52.029 | 9 | 7 | 53.325 |
| 4 | 5 | 35.215 | 4 | 52 | 34.756 | 9 | 8 | 49.586 |
| 4 | 6 | 36.369 | 4 | 53 | 35.173 | 9 | 9 | 49.347 |
| 4 | 7 | 32.588 | 4 | 54 | 35.126 | 10 | 1 | 30.67 |
| 4 | 8 | 37.100 | 5 | 1 | 25.0 | 10 | 2 | 30.80 |
| 4 | 9 | 34.081 | 5 | 2 | 22.0 | 10 | 3 | 34.15 |
| 4 | 10 | 34.841 | 5 | 3 | 31.1 | 10 | 4 | 37.40 |
| 4 | 11 | 33.810 | 5 | 4 | 29.9 | 10 | 5 | 32.53 |
| 4 | 12 | 33.182 | 5 | 5 | 30.0 | 10 | 6 | 35.63 |
| 4 | 13 | 34.996 | 5 | 6 | 33.0 | 10 | 7 | 35.20 |
| 4 | 14 | 34.733 | 5 | 7 | 29.0 | 10 | 8 | 34.73 |
| 4 | 15 | 35.228 | 5 | 8 | 30.0 | 10 | 9 | 36.91 |
| 4 | 16 | 32.305 | 5 | 9 | 30.0 | 11 | 1 | 29.62 |
| 4 | 17 | 33.557 | 5 | 10 | 29.0 | 11 | 2 | 30.93 |
| 4 | 18 | 52.319 | 5 | 11 | 30.0 | 11 | 3 | 29.14 |
| 4 | 19 | 34.590 | 5 | 12 | 32.0 | 11 | 4 | 30.53 |
| 4 | 20 | 32.878 | 5 | 13 | 28.0 | 11 | 5 | 30.91 |
| 4 | 21 | 33.135 | 5 | 14 | 21.7 | 11 | 6 | 30.58 |
| 4 | 22 | 33.711 | 5 | 15 | 31.1 | 11 | 7 | 31.59 |
| 4 | 23 | 35.575 | 5 | 16 | 35.0 | 11 | 8 | 30.78 |
| 4 | 24 | 34.713 | 5 | 17 | 28.4 | 11 | 9 | 32.75 |
| 4 | 25 | 34.748 | 6 | 1 | 34.11190 | 11 | 10 | 33.15 |
| 4 | 26 | 33.850 | 6 | 2 | 34.75613 | 11 | 11 | 33.48 |
| 4 | 27 | 34.315 | 7 | 1 | 37.6648 | 11 | 12 | 29.73 |
| 4 | 28 | 33.591 | 7 | 2 | 35.4215 | 12 | 1 |  |
| 4 | 29 | 34.689 | 7 | 3 | 34.9764 | 12 | 2 |  |
| 4 | 30 | 34.199 | 7 | 4 | 37.3059 | 12 | 3 | 31.9 |
| 4 | 31 | 34.672 | 7 | 5 | 39.8328 | 12 | 4 | 32.1 |
| 4 | 32 | 32.916 | 7 | 6 | 81.3978 |  |  |  |
| 4 | 33 | 34.772 | 7 | 7 | 36.2427 |  |  |  |

Fig. OR19 All Ni concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR20 All data reported for CUP-2 Cu concentration. Data precision as laboratory reported

| Lab # | Sample # | [Cu] (µg/gU) | Lab # | Sample # | [Cu] (µg/gU) | Lab # | Sample # | [Cu] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 32 | 4 | 34 | 31.583 | 7 | 8 | 31.8055 |
| 1 | 2 | 32 | 4 | 35 | 31.196 | 7 | 9 | 30.7032 |
| 1 | 3 | 34 | 4 | 36 | 30.667 | 8 | 1 | 51.5 |
| 3 | 1 | 28.3 | 4 | 37 | 31.695 | 8 | 2 | 43.0 |
| 3 | 2 | 31.1 | 4 | 38 | 30.629 | 8 | 3 | 58.8 |
| 3 | 3 | 32.8 | 4 | 39 | 32.974 | 8 | 4 | 63.0 |
| 3 | 4 | 33.5 | 4 | 40 | 29.394 | 8 | 5 | 56.7 |
| 3 | 5 | 37.3 | 4 | 41 | 30.458 | 8 | 6 | 54.5 |
| 3 | 6 | 29.7 | 4 | 42 | 32.925 | 8 | 7 | 45.5 |
| 3 | 7 | 29.6 | 4 | 43 | 33.103 | 8 | 8 | 50.2 |
| 3 | 8 | 32.3 | 4 | 44 | 33.342 | 8 | 9 | 42.6 |
| 3 | 9 | 30.5 | 4 | 45 | 31.165 | 9 | 1 | 27.762 |
| 3 | 10 | 30.0 | 4 | 46 | 31.479 | 9 | 2 | 25.420 |
| 3 | 11 | 29.1 | 4 | 47 | 32.313 | 9 | 3 | 26.158 |
| 4 | 1 | 35.258 | 4 | 48 | 31.591 | 9 | 4 | 27.122 |
| 4 | 2 | 33.844 | 4 | 49 | 29.112 | 9 | 5 | 27.479 |
| 4 | 3 | 36.331 | 4 | 50 | 29.008 | 9 | 6 | 26.695 |
| 4 | 4 | 35.140 | 4 | 51 | 43.942 | 9 | 7 | 27.344 |
| 4 | 5 | 35.330 | 4 | 52 | 31.962 | 9 | 8 | 25.588 |
| 4 | 6 | 33.064 | 4 | 53 | 31.582 | 9 | 9 | 27.236 |
| 4 | 7 | 25.634 | 4 | 54 | 31.943 | 10 | 1 | 29.27 |
| 4 | 8 | 34.245 | 5 | 1 | 21.0 | 10 | 2 | 29.29 |
| 4 | 9 | 30.375 | 5 | 2 | 19.6 | 10 | 3 | 30.56 |
| 4 | 10 | 32.793 | 5 | 3 | 22.6 | 10 | 4 | 29.53 |
| 4 | 11 | 33.441 | 5 | 4 | 46.0 | 10 | 5 | 31.46 |
| 4 | 12 | 34.600 | 5 | 5 | 23.0 | 10 | 6 | 29.66 |
| 4 | 13 | 37.677 | 5 | 6 | 24.0 | 10 | 7 | 31.33 |
| 4 | 14 | 35.003 | 5 | 7 | 24.0 | 10 | 8 | 30.29 |
| 4 | 15 | 37.115 | 5 | 8 | 24.0 | 10 | 9 | 30.60 |
| 4 | 16 | 30.304 | 5 | 9 | 24.0 | 11 | 1 | 31.86 |
| 4 | 17 | 32.612 | 5 | 10 | 26.0 | 11 | 2 | 31.83 |
| 4 | 18 | 35.308 | 5 | 11 | 27.0 | 11 | 3 | 33.63 |
| 4 | 19 | 34.635 | 5 | 12 | 26.0 | 11 | 4 | 32.58 |
| 4 | 20 | 29.998 | 5 | 13 | 22.1 | 11 | 5 | 34.15 |
| 4 | 21 | 32.001 | 5 | 14 | 24.4 | 11 | 6 | 35.81 |
| 4 | 22 | 32.465 | 5 | 15 | 24.6 | 11 | 7 | 31.68 |
| 4 | 23 | 33.121 | 5 | 16 | 30.0 | 11 | 8 | 31.17 |
| 4 | 24 | 32.959 | 5 | 17 | 23.1 | 11 | 9 | 30.26 |
| 4 | 25 | 32.886 | 6 | 1 | 29.10216 | 11 | 10 | 32.91 |
| 4 | 26 | 32.484 | 6 | 2 | 30.50268 | 11 | 11 | 38.06 |
| 4 | 27 | 31.944 | 7 | 1 | 32.4130 | 11 | 12 | 33.61 |
| 4 | 28 | 31.997 | 7 | 2 | 31.5951 | 12 | 1 |  |
| 4 | 29 | 32.867 | 7 | 3 | 30.9680 | 12 | 2 |  |
| 4 | 30 | 31.044 | 7 | 4 | 31.1970 | 12 | 3 | 30.50 |
| 4 | 31 | 32.114 | 7 | 5 | 32.4286 | 12 | 4 | 30.52 |
| 4 | 32 | 29.588 | 7 | 6 | 30.7000 |  |  |  |
| 4 | 33 | 30.585 | 7 | 7 | 31.2979 |  |  |  |

Fig. OR20 All Cu concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR21 All data reported for CUP-2 Zn concentration. Data precision as laboratory reported

| Lab # | Sample # | [Zn] (µg/gU) | Lab # | Sample # | [Zn] (µg/gU) | Lab # | Sample # | [Zn] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 38 | 4 | 34 | 54.029 | 7 | 8 | 48.5536 |
| 1 | 2 | 50 | 4 | 35 | 53.208 | 7 | 9 | 46.8230 |
| 1 | 3 | 32 | 4 | 36 | 47.580 | 8 | 1 | 52.7 |
| 3 | 1 | 44.7 | 4 | 37 | 48.655 | 8 | 2 | 47.9 |
| 3 | 2 | 42.6 | 4 | 38 | 46.630 | 8 | 3 | 51.0 |
| 3 | 3 | 46.4 | 4 | 39 | 55.085 | 8 | 4 | 84.6 |
| 3 | 4 | 45.1 | 4 | 40 | 51.873 | 8 | 5 | 62.7 |
| 3 | 5 | 46.6 | 4 | 41 | 54.134 | 8 | 6 | 66.1 |
| 3 | 6 | 42.9 | 4 | 42 |  | 8 | 7 | 50.4 |
| 3 | 7 | 29.9 | 4 | 43 |  | 8 | 8 | 50.0 |
| 3 | 8 | 39.7 | 4 | 44 |  | 8 | 9 | 60.0 |
| 3 | 9 | 34.9 | 4 | 45 | 48.093 | 9 | 1 | 39.919 |
| 3 | 10 | 41.5 | 4 | 46 | 62.267 | 9 | 2 | 41.083 |
| 3 | 11 | 37.3 | 4 | 47 | 48.914 | 9 | 3 | 39.915 |
| 4 | 1 |  | 4 | 48 | 50.968 | 9 | 4 | 38.666 |
| 4 | 2 | 53.852 | 4 | 49 | 62.857 | 9 | 5 | 43.768 |
| 4 | 3 | 51.578 | 4 | 50 | 55.578 | 9 | 6 | 40.506 |
| 4 | 4 | 55.885 | 4 | 51 |  | 9 | 7 | 44.301 |
| 4 | 5 |  | 4 | 52 | 48.139 | 9 | 8 | 35.175 |
| 4 | 6 | 44.578 | 4 | 53 | 49.327 | 9 | 9 | 38.065 |
| 4 | 7 | 45.852 | 4 | 54 | 54.677 | 10 | 1 | 43.46 |
| 4 | 8 | 43.651 | 5 | 1 | 32 | 10 | 2 | 42.15 |
| 4 | 9 | 44.125 | 5 | 2 | 32 | 10 | 3 | 46.27 |
| 4 | 10 | 48.182 | 5 | 3 | 37 | 10 | 4 | 40.42 |
| 4 | 11 | 41.737 | 5 | 4 | 50 | 10 | 5 | 37.18 |
| 4 | 12 | 74.061 | 5 | 5 | 34 | 10 | 6 | 44.96 |
| 4 | 13 | 42.622 | 5 | 6 | 39 | 10 | 7 | 49.25 |
| 4 | 14 | 83.352 | 5 | 7 | 39 | 10 | 8 | 45.43 |
| 4 | 15 | 41.868 | 5 | 8 | 35 | 10 | 9 | 47.66 |
| 4 | 16 |  | 5 | 9 | 35 | 11 | 1 | 43.04 |
| 4 | 17 |  | 5 | 10 | 31 | 11 | 2 | 43.14 |
| 4 | 18 |  | 5 | 11 | 36 | 11 | 3 | 42.36 |
| 4 | 19 |  | 5 | 12 | 40 | 11 | 4 | 42.51 |
| 4 | 20 |  | 5 | 13 | 37 | 11 | 5 | 42.58 |
| 4 | 21 | 49.914 | 5 | 14 | 37 | 11 | 6 | 36.76 |
| 4 | 22 | 50.448 | 5 | 15 | 41 | 11 | 7 | 41.34 |
| 4 | 23 | 52.018 | 5 | 16 | 44 | 11 | 8 | 40.05 |
| 4 | 24 |  | 5 | 17 | 37 | 11 | 9 | 39.41 |
| 4 | 25 | 48.834 | 6 | 1 | 40.55334 | 11 | 10 | 40.36 |
| 4 | 26 | 54.314 | 6 | 2 | 42.47984 | 11 | 11 | 42.93 |
| 4 | 27 | 50.584 | 7 | 1 | 45.5561 | 11 | 12 | 40.13 |
| 4 | 28 | 50.374 | 7 | 2 | 48.6451 | 12 | 1 | 46.2 |
| 4 | 29 |  | 7 | 3 | 47.3378 | 12 | 2 | 38.8 |
| 4 | 30 |  | 7 | 4 | 49.9979 | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 | 48.9046 | 12 | 4 |  |
| 4 | 32 | 49.013 | 7 | 6 | 46.6101 |  |  |  |
| 4 | 33 |  | 7 | 7 | 52.0275 |  |  |  |

Fig. OR21 All Zn concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR22 All data reported for CUP-2 Ga concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ga] (µg/gU) | Lab # | Sample # | [Ga] (µg/gU) | Lab # | Sample # | [Ga] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1 | 4 | 34 | 0.525 | 7 | 8 | 0.5307 |
| 1 | 2 | 4 | 4 | 35 | 0.500 | 7 | 9 | 0.4896 |
| 1 | 3 | 4 | 4 | 36 | 0.460 | 8 | 1 | 0.740 |
| 3 | 1 | 0.5 | 4 | 37 | 0.491 | 8 | 2 | 0.784 |
| 3 | 2 | 0.6 | 4 | 38 | 0.486 | 8 | 3 | 0.821 |
| 3 | 3 | 0.6 | 4 | 39 | 0.490 | 8 | 4 | 0.809 |
| 3 | 4 | 0.7 | 4 | 40 | 0.493 | 8 | 5 | 0.821 |
| 3 | 5 | 0.6 | 4 | 41 | 0.514 | 8 | 6 | 0.716 |
| 3 | 6 | 0.6 | 4 | 42 | 0.505 | 8 | 7 | 0.674 |
| 3 | 7 |  | 4 | 43 | 0.505 | 8 | 8 | 0.928 |
| 3 | 8 |  | 4 | 44 | 0.524 | 8 | 9 | 0.750 |
| 3 | 9 |  | 4 | 45 | 0.493 | 9 | 1 | 0.476 |
| 3 | 10 |  | 4 | 46 | 0.514 | 9 | 2 | 0.435 |
| 3 | 11 |  | 4 | 47 | 0.505 | 9 | 3 | 0.478 |
| 4 | 1 | 0.502 | 4 | 48 | 0.507 | 9 | 4 | 0.473 |
| 4 | 2 | 0.521 | 4 | 49 | 0.486 | 9 | 5 | 0.472 |
| 4 | 3 | 0.509 | 4 | 50 | 0.473 | 9 | 6 | 0.486 |
| 4 | 4 | 0.497 | 4 | 51 | 0.530 | 9 | 7 | 0.490 |
| 4 | 5 | 0.501 | 4 | 52 | 0.484 | 9 | 8 | 0.484 |
| 4 | 6 | 0.499 | 4 | 53 | 0.497 | 9 | 9 | 0.486 |
| 4 | 7 | 0.521 | 4 | 54 | 0.489 | 10 | 1 | 0.43 |
| 4 | 8 | 0.495 | 5 | 1 | 0.66 | 10 | 2 | 0.42 |
| 4 | 9 | 0.500 | 5 | 2 | 0.65 | 10 | 3 | 0.48 |
| 4 | 10 | 0.546 | 5 | 3 | 0.71 | 10 | 4 | 0.49 |
| 4 | 11 | 0.544 | 5 | 4 | 0.70 | 10 | 5 | 0.49 |
| 4 | 12 | 0.506 | 5 | 5 | 0.98 | 10 | 6 | 0.47 |
| 4 | 13 | 0.538 | 5 | 6 | 0.94 | 10 | 7 | 0.47 |
| 4 | 14 | 0.519 | 5 | 7 | 0.99 | 10 | 8 | 0.46 |
| 4 | 15 | 0.539 | 5 | 8 | 1.05 | 10 | 9 | 0.51 |
| 4 | 16 | 0.479 | 5 | 9 | 1.08 | 11 | 1 | 0.43 |
| 4 | 17 | 0.510 | 5 | 10 | 1.16 | 11 | 2 | 0.43 |
| 4 | 18 | 0.507 | 5 | 11 | 1.11 | 11 | 3 | 0.41 |
| 4 | 19 | 0.482 | 5 | 12 | 0.90 | 11 | 4 | 0.41 |
| 4 | 20 | 0.464 | 5 | 13 | 0.63 | 11 | 5 | 0.43 |
| 4 | 21 | 0.493 | 5 | 14 | 0.85 | 11 | 6 | 0.44 |
| 4 | 22 | 0.497 | 5 | 15 | 0.87 | 11 | 7 | 0.44 |
| 4 | 23 | 0.508 | 5 | 16 | 0.88 | 11 | 8 | 0.45 |
| 4 | 24 | 0.498 | 5 | 17 | 0.85 | 11 | 9 | 0.43 |
| 4 | 25 | 0.493 | 6 | 1 | 0.511565 | 11 | 10 | 0.47 |
| 4 | 26 | 0.501 | 6 | 2 | 0.533484 | 11 | 11 | 0.50 |
| 4 | 27 | 0.497 | 7 | 1 | 0.5237 | 11 | 12 | 0.45 |
| 4 | 28 | 0.481 | 7 | 2 | 0.4935 | 12 | 1 |  |
| 4 | 29 | 0.514 | 7 | 3 | 0.4754 | 12 | 2 |  |
| 4 | 30 | 0.501 | 7 | 4 | 0.4908 | 12 | 3 |  |
| 4 | 31 | 0.510 | 7 | 5 | 0.4996 | 12 | 4 |  |
| 4 | 32 | 0.466 | 7 | 6 | 0.4923 |  |  |  |
| 4 | 33 | 0.501 | 7 | 7 | 0.4984 |  |  |  |

Fig. OR22 All Ga concentration data (a) reported for CUP-2 and (b) with the y axis set from -0.5 to 2.0. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR23 All data reported for CUP-2 Ge concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ge] (µg/gU) | Lab # | Sample # | [Ge] (µg/gU) | Lab # | Sample # | [Ge] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1 | 4 | 34 |  | 7 | 8 | 0.8833 |
| 1 | 2 | 1 | 4 | 35 |  | 7 | 9 | 0.8683 |
| 1 | 3 | 1 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 | 0.655 |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 |  |
| 4 | 8 |  | 5 | 1 | 0.50 | 10 | 2 |  |
| 4 | 9 |  | 5 | 2 | 0.49 | 10 | 3 |  |
| 4 | 10 |  | 5 | 3 | 0.45 | 10 | 4 |  |
| 4 | 11 |  | 5 | 4 | 0.38 | 10 | 5 |  |
| 4 | 12 |  | 5 | 5 | 0.96 | 10 | 6 |  |
| 4 | 13 |  | 5 | 6 | 0.78 | 10 | 7 |  |
| 4 | 14 |  | 5 | 7 | 0.90 | 10 | 8 |  |
| 4 | 15 |  | 5 | 8 | 0.89 | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 | 0.81 | 11 | 1 | 0.06 |
| 4 | 17 |  | 5 | 10 | 1.08 | 11 | 2 | 0.07 |
| 4 | 18 |  | 5 | 11 | 0.97 | 11 | 3 | 0.10 |
| 4 | 19 |  | 5 | 12 | 0.70 | 11 | 4 | 0.04 |
| 4 | 20 |  | 5 | 13 | 0.46 | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 | 0.59 | 11 | 6 | 0.08 |
| 4 | 22 |  | 5 | 15 | 0.52 | 11 | 7 | 0.08 |
| 4 | 23 |  | 5 | 16 | 0.50 | 11 | 8 | 0.07 |
| 4 | 24 |  | 5 | 17 | 0.47 | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 1.833621 | 11 | 10 | 0.16 |
| 4 | 26 |  | 6 | 2 | 1.805027 | 11 | 11 | 0.12 |
| 4 | 27 |  | 7 | 1 | 0.8634 | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 | 0.8875 | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 | 0.8959 | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 | 0.8609 | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 | 0.8247 | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 | 0.9119 |  |  |  |
| 4 | 33 |  | 7 | 7 | 0.8875 |  |  |  |

Fig. OR23 All Ge concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR24 All data reported for CUP-2 As concentration. Data precision as laboratory reported

| Lab # | Sample # | [As] (µg/gU) | Lab # | Sample # | [As] (µg/gU) | Lab # | Sample # | [As] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 400 | 4 | 34 | 430.811 | 7 | 8 | 430.1630 |
| 1 | 2 | 400 | 4 | 35 | 462.409 | 7 | 9 | 432.4009 |
| 1 | 3 | 400 | 4 | 36 | 434.036 | 8 | 1 | 460 |
| 3 | 1 | 450.5 | 4 | 37 | 452.959 | 8 | 2 | 466 |
| 3 | 2 | 497.8 | 4 | 38 | 450.733 | 8 | 3 | 447 |
| 3 | 3 | 476.9 | 4 | 39 | 446.930 | 8 | 4 | 512 |
| 3 | 4 | 481.4 | 4 | 40 | 427.636 | 8 | 5 | 478 |
| 3 | 5 | 472.6 | 4 | 41 | 458.662 | 8 | 6 | 484 |
| 3 | 6 | 451.7 | 4 | 42 | 476.062 | 8 | 7 | 447 |
| 3 | 7 | 440.2 | 4 | 43 | 470.666 | 8 | 8 | 511 |
| 3 | 8 | 445.0 | 4 | 44 | 490.451 | 8 | 9 | 476 |
| 3 | 9 | 450.6 | 4 | 45 | 462.041 | 9 | 1 |  |
| 3 | 10 | 444.2 | 4 | 46 | 456.395 | 9 | 2 |  |
| 3 | 11 | 449.2 | 4 | 47 | 459.334 | 9 | 3 |  |
| 4 | 1 | 429.788 | 4 | 48 | 465.500 | 9 | 4 |  |
| 4 | 2 | 412.448 | 4 | 49 | 478.145 | 9 | 5 |  |
| 4 | 3 | 444.399 | 4 | 50 | 467.415 | 9 | 6 |  |
| 4 | 4 | 431.744 | 4 | 51 | 449.958 | 9 | 7 |  |
| 4 | 5 | 439.169 | 4 | 52 | 450.098 | 9 | 8 |  |
| 4 | 6 | 448.506 | 4 | 53 | 465.465 | 9 | 9 |  |
| 4 | 7 | 431.083 | 4 | 54 | 457.735 | 10 | 1 | 460.28 |
| 4 | 8 | 460.592 | 5 | 1 | 340 | 10 | 2 | 464.42 |
| 4 | 9 | 429.504 | 5 | 2 | 320 | 10 | 3 | 459.11 |
| 4 | 10 | 414.145 | 5 | 3 | 360 | 10 | 4 | 454.29 |
| 4 | 11 | 468.059 | 5 | 4 | 390 | 10 | 5 | 488.59 |
| 4 | 12 | 450.777 | 5 | 5 | 380 | 10 | 6 | 473.97 |
| 4 | 13 | 469.036 | 5 | 6 | 380 | 10 | 7 | 487.01 |
| 4 | 14 | 461.903 | 5 | 7 | 360 | 10 | 8 | 489.54 |
| 4 | 15 | 492.233 | 5 | 8 | 370 | 10 | 9 | 498.21 |
| 4 | 16 | 439.423 | 5 | 9 | 400 | 11 | 1 | 509.53 |
| 4 | 17 | 465.980 | 5 | 10 | 360 | 11 | 2 | 499.48 |
| 4 | 18 | 477.217 | 5 | 11 | 380 | 11 | 3 | 455.90 |
| 4 | 19 | 451.895 | 5 | 12 | 395 | 11 | 4 | 475.29 |
| 4 | 20 | 428.698 | 5 | 13 | 350 | 11 | 5 | 494.67 |
| 4 | 21 | 428.657 | 5 | 14 | 380 | 11 | 6 | 430.29 |
| 4 | 22 | 437.591 | 5 | 15 | 400 | 11 | 7 | 513.93 |
| 4 | 23 | 465.415 | 5 | 16 | 430 | 11 | 8 | 503.69 |
| 4 | 24 | 451.151 | 5 | 17 | 360 | 11 | 9 | 519.74 |
| 4 | 25 | 454.835 | 6 | 1 | 353.8274 | 11 | 10 | 484.22 |
| 4 | 26 | 440.676 | 6 | 2 | 371.3313 | 11 | 11 | 506.58 |
| 4 | 27 | 448.074 | 7 | 1 | 430.6500 | 11 | 12 | 452.75 |
| 4 | 28 | 451.979 | 7 | 2 | 404.9488 | 12 | 1 |  |
| 4 | 29 | 462.441 | 7 | 3 | 394.8463 | 12 | 2 |  |
| 4 | 30 | 456.844 | 7 | 4 | 411.9039 | 12 | 3 |  |
| 4 | 31 | 463.458 | 7 | 5 | 446.0332 | 12 | 4 |  |
| 4 | 32 | 414.076 | 7 | 6 | 420.4762 |  |  |  |
| 4 | 33 | 433.676 | 7 | 7 | 430.6212 |  |  |  |

Fig. OR24 All As concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR25 All data reported for CUP-2 Se concentration. Data precision as laboratory reported

| Lab # | Sample # | [Se] (µg/gU) | Lab # | Sample # | [Se] (µg/gU) | Lab # | Sample # | [Se] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 |  | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 | 0.9 | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 | 0.9 | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 | 0.8 | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 | 0.9 | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 | 1.0 | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 | 1.0 | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 | 0.8 | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 | 0.8 | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 | 1.0 | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 | 1.0 | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 | 0.9 | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 | 2.052 |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 | 1.928 |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 | 1.459 |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 | 1.715 |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 | 2.257 |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 | 1.778 |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 |  |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 |  |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 |  |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 |  |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 |  |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 |  |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 |  | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 |  | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR25 All Se concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR26 All data reported for CUP-2 Rb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Rb] (µg/gU) | Lab # | Sample # | [Rb] (µg/gU) | Lab # | Sample # | [Rb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 11 | 4 | 34 | 9.863 | 7 | 8 | 7.9466 |
| 1 | 2 | 15 | 4 | 35 | 9.693 | 7 | 9 | 7.6040 |
| 1 | 3 | 10 | 4 | 36 | 9.623 | 8 | 1 | 10.7 |
| 3 | 1 | 10.2 | 4 | 37 | 9.648 | 8 | 2 | 11.1 |
| 3 | 2 | 10.9 | 4 | 38 | 9.554 | 8 | 3 | 10.7 |
| 3 | 3 | 11.6 | 4 | 39 | 9.797 | 8 | 4 | 12.2 |
| 3 | 4 | 11.6 | 4 | 40 | 9.674 | 8 | 5 | 11.1 |
| 3 | 5 | 11.1 | 4 | 41 | 9.668 | 8 | 6 | 11.6 |
| 3 | 6 | 10.5 | 4 | 42 | 10.071 | 8 | 7 | 10.8 |
| 3 | 7 | 10.5 | 4 | 43 | 10.387 | 8 | 8 | 12.7 |
| 3 | 8 | 10.8 | 4 | 44 | 10.597 | 8 | 9 | 12.2 |
| 3 | 9 | 10.4 | 4 | 45 | 9.738 | 9 | 1 | 11.374 |
| 3 | 10 | 10.5 | 4 | 46 | 9.671 | 9 | 2 | 9.638 |
| 3 | 11 | 12.9 | 4 | 47 | 9.603 | 9 | 3 | 11.062 |
| 4 | 1 | 10.113 | 4 | 48 | 9.548 | 9 | 4 | 11.216 |
| 4 | 2 | 10.240 | 4 | 49 | 9.538 | 9 | 5 | 11.187 |
| 4 | 3 | 10.257 | 4 | 50 | 9.527 | 9 | 6 | 11.253 |
| 4 | 4 | 10.187 | 4 | 51 | 9.902 | 9 | 7 | 11.736 |
| 4 | 5 | 10.214 | 4 | 52 | 9.580 | 9 | 8 | 11.437 |
| 4 | 6 | 10.111 | 4 | 53 | 9.666 | 9 | 9 | 11.482 |
| 4 | 7 | 10.009 | 4 | 54 | 9.735 | 10 | 1 | 9.93 |
| 4 | 8 | 10.076 | 5 | 1 | 8.7 | 10 | 2 | 10.06 |
| 4 | 9 | 10.043 | 5 | 2 | 8.8 | 10 | 3 | 10.60 |
| 4 | 10 | 10.160 | 5 | 3 | 10.2 | 10 | 4 | 9.95 |
| 4 | 11 | 10.189 | 5 | 4 | 9.9 | 10 | 5 | 10.16 |
| 4 | 12 | 10.068 | 5 | 5 | 10.9 | 10 | 6 | 10.19 |
| 4 | 13 | 10.182 | 5 | 6 | 10.4 | 10 | 7 | 10.52 |
| 4 | 14 | 10.192 | 5 | 7 | 10.7 | 10 | 8 | 10.25 |
| 4 | 15 | 10.310 | 5 | 8 | 11.0 | 10 | 9 | 10.45 |
| 4 | 16 | 9.731 | 5 | 9 | 10.6 | 11 | 1 | 10.45 |
| 4 | 17 | 9.984 | 5 | 10 | 11.2 | 11 | 2 | 10.44 |
| 4 | 18 | 10.339 | 5 | 11 | 11.1 | 11 | 3 | 10.12 |
| 4 | 19 | 10.478 | 5 | 12 | 10.7 | 11 | 4 | 10.47 |
| 4 | 20 | 9.576 | 5 | 13 | 8.6 | 11 | 5 | 11.07 |
| 4 | 21 | 9.760 | 5 | 14 | 9.9 | 11 | 6 | 10.28 |
| 4 | 22 | 9.557 | 5 | 15 | 9.6 | 11 | 7 | 10.08 |
| 4 | 23 | 9.619 | 5 | 16 | 11.3 | 11 | 8 | 9.91 |
| 4 | 24 | 9.457 | 5 | 17 | 9.6 | 11 | 9 | 9.79 |
| 4 | 25 | 9.558 | 6 | 1 | 10.22782 | 11 | 10 | 10.78 |
| 4 | 26 | 9.464 | 6 | 2 | 10.23703 | 11 | 11 | 10.90 |
| 4 | 27 | 9.437 | 7 | 1 | 7.6879 | 11 | 12 | 10.65 |
| 4 | 28 | 9.428 | 7 | 2 | 7.8826 | 12 | 1 |  |
| 4 | 29 | 10.117 | 7 | 3 | 7.8541 | 12 | 2 |  |
| 4 | 30 | 10.146 | 7 | 4 | 7.7896 | 12 | 3 |  |
| 4 | 31 | 10.493 | 7 | 5 | 7.7234 | 12 | 4 |  |
| 4 | 32 | 9.653 | 7 | 6 | 7.8948 |  |  |  |
| 4 | 33 | 9.809 | 7 | 7 | 7.7250 |  |  |  |

Fig. OR26 All Rb concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR27 All data reported for CUP-2 Sr concentration. Data precision as laboratory reported

| Lab # | Sample # | [Sr] (µg/gU) | Lab # | Sample # | [Sr] (µg/gU) | Lab # | Sample # | [Sr] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 70 | 4 | 34 | 70.536 | 7 | 8 | 63.5320 |
| 1 | 2 | 70 | 4 | 35 | 69.316 | 7 | 9 | 60.8377 |
| 1 | 3 | 65 | 4 | 36 | 69.824 | 8 | 1 | 74.2 |
| 3 | 1 | 71.6 | 4 | 37 | 70.908 | 8 | 2 | 76.8 |
| 3 | 2 | 76.8 | 4 | 38 | 69.439 | 8 | 3 | 74.0 |
| 3 | 3 | 74.2 | 4 | 39 | 70.561 | 8 | 4 | 84.0 |
| 3 | 4 | 75.5 | 4 | 40 | 69.525 | 8 | 5 | 77.1 |
| 3 | 5 | 72.4 | 4 | 41 | 68.790 | 8 | 6 | 80.1 |
| 3 | 6 | 74.0 | 4 | 42 | 67.963 | 8 | 7 | 71.8 |
| 3 | 7 | 70.9 | 4 | 43 | 68.942 | 8 | 8 | 84.7 |
| 3 | 8 | 70.6 | 4 | 44 | 68.664 | 8 | 9 | 80.7 |
| 3 | 9 | 69.9 | 4 | 45 | 70.173 | 9 | 1 | 76.386 |
| 3 | 10 | 69.7 | 4 | 46 | 70.778 | 9 | 2 | 66.352 |
| 3 | 11 | 69.0 | 4 | 47 | 69.572 | 9 | 3 | 75.080 |
| 4 | 1 | 72.218 | 4 | 48 | 69.761 | 9 | 4 | 75.054 |
| 4 | 2 | 73.283 | 4 | 49 | 69.004 | 9 | 5 | 73.340 |
| 4 | 3 | 73.557 | 4 | 50 | 69.288 | 9 | 6 | 76.691 |
| 4 | 4 | 73.562 | 4 | 51 | 73.908 | 9 | 7 | 76.608 |
| 4 | 5 | 74.547 | 4 | 52 | 67.777 | 9 | 8 | 75.225 |
| 4 | 6 | 73.718 | 4 | 53 | 69.338 | 9 | 9 | 76.509 |
| 4 | 7 | 73.234 | 4 | 54 | 68.257 | 10 | 1 | 70.72 |
| 4 | 8 | 73.464 | 5 | 1 | 60 | 10 | 2 | 71.85 |
| 4 | 9 | 73.135 | 5 | 2 | 60 | 10 | 3 | 72.08 |
| 4 | 10 | 73.152 | 5 | 3 | 73 | 10 | 4 | 70.98 |
| 4 | 11 | 69.771 | 5 | 4 | 70 | 10 | 5 | 72.51 |
| 4 | 12 | 70.296 | 5 | 5 | 71 | 10 | 6 | 71.61 |
| 4 | 13 | 70.560 | 5 | 6 | 70 | 10 | 7 | 75.10 |
| 4 | 14 | 71.675 | 5 | 7 | 70 | 10 | 8 | 73.14 |
| 4 | 15 | 72.039 | 5 | 8 | 75 | 10 | 9 | 73.07 |
| 4 | 16 | 67.849 | 5 | 9 | 74 | 11 | 1 | 67.45 |
| 4 | 17 | 67.916 | 5 | 10 | 74 | 11 | 2 | 69.16 |
| 4 | 18 | 68.459 | 5 | 11 | 75 | 11 | 3 | 69.46 |
| 4 | 19 | 69.289 | 5 | 12 | 74 | 11 | 4 | 67.30 |
| 4 | 20 | 70.353 | 5 | 13 | 63 | 11 | 5 | 67.87 |
| 4 | 21 | 69.941 | 5 | 14 | 76 | 11 | 6 | 65.08 |
| 4 | 22 | 69.887 | 5 | 15 | 76 | 11 | 7 | 69.24 |
| 4 | 23 | 70.238 | 5 | 16 | 85 | 11 | 8 | 67.84 |
| 4 | 24 | 69.708 | 5 | 17 | 72 | 11 | 9 | 67.39 |
| 4 | 25 | 68.550 | 6 | 1 | 71.45564 | 11 | 10 | 67.79 |
| 4 | 26 | 69.151 | 6 | 2 | 72.11393 | 11 | 11 | 69.17 |
| 4 | 27 | 68.503 | 7 | 1 | 60.1734 | 11 | 12 | 67.22 |
| 4 | 28 | 68.458 | 7 | 2 | 62.5162 | 12 | 1 |  |
| 4 | 29 | 69.139 | 7 | 3 | 62.0587 | 12 | 2 |  |
| 4 | 30 | 67.997 | 7 | 4 | 61.5386 | 12 | 3 |  |
| 4 | 31 | 69.195 | 7 | 5 | 61.7034 | 12 | 4 |  |
| 4 | 32 | 70.483 | 7 | 6 | 60.7369 |  |  |  |
| 4 | 33 | 71.104 | 7 | 7 | 62.3329 |  |  |  |

Fig. OR27 All Sr concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR28 All data reported for CUP-2 Y concentration. Data precision as laboratory reported

| Lab # | Sample # | [Y] (µg/gU) | Lab # | Sample # | [Y] (µg/gU) | Lab # | Sample # | [Y] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 100 | 4 | 34 | 99.773 | 7 | 8 |  |
| 1 | 2 | 100 | 4 | 35 | 97.233 | 7 | 9 |  |
| 1 | 3 | 95 | 4 | 36 | 97.350 | 8 | 1 |  |
| 3 | 1 | 100.6 | 4 | 37 | 97.479 | 8 | 2 |  |
| 3 | 2 | 105.4 | 4 | 38 | 96.877 | 8 | 3 |  |
| 3 | 3 | 108.2 | 4 | 39 | 99.710 | 8 | 4 |  |
| 3 | 4 | 108.3 | 4 | 40 | 97.505 | 8 | 5 |  |
| 3 | 5 | 104.0 | 4 | 41 | 97.154 | 8 | 6 |  |
| 3 | 6 | 102.7 | 4 | 42 | 96.673 | 8 | 7 |  |
| 3 | 7 | 100.0 | 4 | 43 | 97.385 | 8 | 8 |  |
| 3 | 8 | 102.3 | 4 | 44 | 99.027 | 8 | 9 |  |
| 3 | 9 | 100.9 | 4 | 45 | 98.769 | 9 | 1 | 111.463 |
| 3 | 10 | 99.4 | 4 | 46 | 98.893 | 9 | 2 | 95.730 |
| 3 | 11 | 102.3 | 4 | 47 | 97.210 | 9 | 3 | 108.214 |
| 4 | 1 | 99.648 | 4 | 48 | 95.834 | 9 | 4 | 103.223 |
| 4 | 2 | 101.124 | 4 | 49 | 95.504 | 9 | 5 | 105.736 |
| 4 | 3 | 101.364 | 4 | 50 | 96.161 | 9 | 6 | 107.219 |
| 4 | 4 | 101.661 | 4 | 51 | 97.238 | 9 | 7 | 106.415 |
| 4 | 5 | 102.137 | 4 | 52 | 96.021 | 9 | 8 | 103.810 |
| 4 | 6 | 101.974 | 4 | 53 | 96.399 | 9 | 9 | 107.875 |
| 4 | 7 | 100.469 | 4 | 54 | 96.916 | 10 | 1 | 102.22 |
| 4 | 8 | 100.483 | 5 | 1 | 85 | 10 | 2 | 99.31 |
| 4 | 9 | 100.066 | 5 | 2 | 85 | 10 | 3 | 102.16 |
| 4 | 10 | 100.382 | 5 | 3 | 97 | 10 | 4 | 94.23 |
| 4 | 11 | 98.068 | 5 | 4 | 95 | 10 | 5 | 105.54 |
| 4 | 12 | 98.008 | 5 | 5 | 94 | 10 | 6 | 101.27 |
| 4 | 13 | 98.380 | 5 | 6 | 93 | 10 | 7 | 110.44 |
| 4 | 14 | 99.720 | 5 | 7 | 99 | 10 | 8 | 105.58 |
| 4 | 15 | 100.595 | 5 | 8 | 96 | 10 | 9 | 108.27 |
| 4 | 16 | 94.516 | 5 | 9 | 95 | 11 | 1 |  |
| 4 | 17 | 95.649 | 5 | 10 | 99 | 11 | 2 |  |
| 4 | 18 | 98.706 | 5 | 11 | 101 | 11 | 3 |  |
| 4 | 19 | 97.191 | 5 | 12 | 94 | 11 | 4 |  |
| 4 | 20 | 98.137 | 5 | 13 | 81 | 11 | 5 |  |
| 4 | 21 | 99.333 | 5 | 14 | 103 | 11 | 6 |  |
| 4 | 22 | 97.719 | 5 | 15 | 102 | 11 | 7 |  |
| 4 | 23 | 96.456 | 5 | 16 | 113 | 11 | 8 |  |
| 4 | 24 | 95.809 | 5 | 17 | 95 | 11 | 9 |  |
| 4 | 25 | 94.542 | 6 | 1 | 99.69092 | 11 | 10 |  |
| 4 | 26 | 97.768 | 6 | 2 | 100.2576 | 11 | 11 |  |
| 4 | 27 | 96.119 | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 | 96.538 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 97.451 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 97.139 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 99.899 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 99.221 | 7 | 6 |  |  |  |  |
| 4 | 33 | 98.543 | 7 | 7 |  |  |  |  |

Fig. OR28 All Y concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR29 All data reported for CUP-2 Zr concentration. Data precision as laboratory reported

| Lab # | Sample # | [Zr] (µg/gU) | Lab # | Sample # | [Zr] (µg/gU) | Lab # | Sample # | [Zr] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 500 | 4 | 34 | 568.181 | 7 | 8 | 475.5019 |
| 1 | 2 | 550 | 4 | 35 | 563.219 | 7 | 9 | 454.4799 |
| 1 | 3 | 500 | 4 | 36 | 561.781 | 8 | 1 | 600 |
| 3 | 1 | 578.6 | 4 | 37 | 561.837 | 8 | 2 | 616 |
| 3 | 2 | 623.8 | 4 | 38 | 560.187 | 8 | 3 | 587 |
| 3 | 3 | 613.3 | 4 | 39 | 574.166 | 8 | 4 | 655 |
| 3 | 4 | 630.3 | 4 | 40 | 560.853 | 8 | 5 | 609 |
| 3 | 5 | 603.0 | 4 | 41 | 555.240 | 8 | 6 | 643 |
| 3 | 6 | 612.0 | 4 | 42 | 554.155 | 8 | 7 | 574 |
| 3 | 7 | 591.5 | 4 | 43 | 559.577 | 8 | 8 | 660 |
| 3 | 8 | 579.3 | 4 | 44 | 562.118 | 8 | 9 | 654 |
| 3 | 9 | 585.8 | 4 | 45 | 570.407 | 9 | 1 |  |
| 3 | 10 | 586.2 | 4 | 46 | 566.595 | 9 | 2 |  |
| 3 | 11 | 588.0 | 4 | 47 | 556.496 | 9 | 3 |  |
| 4 | 1 | 608.961 | 4 | 48 | 560.464 | 9 | 4 |  |
| 4 | 2 | 610.773 | 4 | 49 | 559.390 | 9 | 5 |  |
| 4 | 3 | 620.742 | 4 | 50 | 556.437 | 9 | 6 |  |
| 4 | 4 | 612.874 | 4 | 51 | 562.435 | 9 | 7 |  |
| 4 | 5 | 616.300 | 4 | 52 | 556.491 | 9 | 8 |  |
| 4 | 6 | 607.244 | 4 | 53 | 560.216 | 9 | 9 |  |
| 4 | 7 | 599.551 | 4 | 54 | 555.910 | 10 | 1 | 570.54 |
| 4 | 8 | 600.874 | 5 | 1 | 470 | 10 | 2 | 549.57 |
| 4 | 9 | 597.673 | 5 | 2 | 470 | 10 | 3 | 562.43 |
| 4 | 10 | 599.554 | 5 | 3 | 550 | 10 | 4 | 555.39 |
| 4 | 11 | 593.296 | 5 | 4 | 530 | 10 | 5 | 549.24 |
| 4 | 12 | 595.598 | 5 | 5 | 540 | 10 | 6 | 540.27 |
| 4 | 13 | 599.527 | 5 | 6 | 520 | 10 | 7 | 569.12 |
| 4 | 14 | 608.033 | 5 | 7 | 530 | 10 | 8 | 557.76 |
| 4 | 15 | 612.667 | 5 | 8 | 550 | 10 | 9 | 555.44 |
| 4 | 16 | 541.101 | 5 | 9 | 560 | 11 | 1 | 528.53 |
| 4 | 17 | 551.686 | 5 | 10 | 560 | 11 | 2 | 549.78 |
| 4 | 18 | 563.739 | 5 | 11 | 550 | 11 | 3 | 537.72 |
| 4 | 19 | 552.259 | 5 | 12 | 550 | 11 | 4 | 531.10 |
| 4 | 20 | 563.264 | 5 | 13 | 498 | 11 | 5 | 520.17 |
| 4 | 21 | 561.823 | 5 | 14 | 570 | 11 | 6 | 508.40 |
| 4 | 22 | 563.724 | 5 | 15 | 560 | 11 | 7 | 525.61 |
| 4 | 23 | 564.701 | 5 | 16 | 620 | 11 | 8 | 510.36 |
| 4 | 24 | 561.478 | 5 | 17 | 520 | 11 | 9 | 518.52 |
| 4 | 25 | 555.650 | 6 | 1 | 548.4385 | 11 | 10 | 529.61 |
| 4 | 26 | 561.856 | 6 | 2 | 548.9046 | 11 | 11 | 538.17 |
| 4 | 27 | 561.597 | 7 | 1 | 439.5557 | 11 | 12 | 501.30 |
| 4 | 28 | 551.329 | 7 | 2 | 468.2028 | 12 | 1 | 534 |
| 4 | 29 | 564.895 | 7 | 3 | 464.5091 | 12 | 2 | 554 |
| 4 | 30 | 553.749 | 7 | 4 | 477.0333 | 12 | 3 |  |
| 4 | 31 | 560.513 | 7 | 5 | 460.4626 | 12 | 4 |  |
| 4 | 32 | 569.576 | 7 | 6 | 466.7216 |  |  |  |
| 4 | 33 | 570.225 | 7 | 7 | 480.0421 |  |  |  |

Fig. OR29 All Zr concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR30 All data reported for CUP-2 Nb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Nb] (µg/gU) | Lab # | Sample # | [Nb] (µg/gU) | Lab # | Sample # | [Nb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 0.851 | 7 | 8 | 0.4295 |
| 1 | 2 |  | 4 | 35 | 0.844 | 7 | 9 | 0.4131 |
| 1 | 3 |  | 4 | 36 | 0.833 | 8 | 1 | 0.514 |
| 3 | 1 | 0.8 | 4 | 37 | 0.846 | 8 | 2 | 0.562 |
| 3 | 2 | 0.9 | 4 | 38 | 0.827 | 8 | 3 | 0.540 |
| 3 | 3 | 0.7 | 4 | 39 | 0.868 | 8 | 4 | 0.695 |
| 3 | 4 | 0.8 | 4 | 40 | 0.858 | 8 | 5 | 0.601 |
| 3 | 5 | 1.0 | 4 | 41 | 0.831 | 8 | 6 | 0.648 |
| 3 | 6 | 0.8 | 4 | 42 | 0.709 | 8 | 7 | 0.706 |
| 3 | 7 | 0.8 | 4 | 43 | 0.700 | 8 | 8 | 0.863 |
| 3 | 8 | 0.7 | 4 | 44 | 0.727 | 8 | 9 | 0.760 |
| 3 | 9 | 0.8 | 4 | 45 | 0.714 | 9 | 1 |  |
| 3 | 10 | 0.8 | 4 | 46 | 0.726 | 9 | 2 |  |
| 3 | 11 | 0.8 | 4 | 47 | 0.716 | 9 | 3 |  |
| 4 | 1 | 0.774 | 4 | 48 | 0.713 | 9 | 4 |  |
| 4 | 2 | 0.773 | 4 | 49 | 0.718 | 9 | 5 |  |
| 4 | 3 | 0.780 | 4 | 50 | 0.699 | 9 | 6 |  |
| 4 | 4 | 0.777 | 4 | 51 | 0.743 | 9 | 7 |  |
| 4 | 5 | 0.774 | 4 | 52 | 0.714 | 9 | 8 |  |
| 4 | 6 | 0.771 | 4 | 53 | 0.725 | 9 | 9 |  |
| 4 | 7 | 0.764 | 4 | 54 | 0.719 | 10 | 1 | 0.37 |
| 4 | 8 | 0.773 | 5 | 1 | 0.49 | 10 | 2 | 0.41 |
| 4 | 9 | 0.753 | 5 | 2 | 0.47 | 10 | 3 | 0.46 |
| 4 | 10 | 0.776 | 5 | 3 | 0.75 | 10 | 4 | 0.60 |
| 4 | 11 | 0.742 | 5 | 4 | 0.64 | 10 | 5 | 0.42 |
| 4 | 12 | 0.742 | 5 | 5 | 0.75 | 10 | 6 | 0.40 |
| 4 | 13 | 0.736 | 5 | 6 | 0.52 | 10 | 7 | 0.46 |
| 4 | 14 | 0.754 | 5 | 7 | 0.60 | 10 | 8 | 0.48 |
| 4 | 15 | 0.774 | 5 | 8 | 0.49 | 10 | 9 | 0.51 |
| 4 | 16 | 0.666 | 5 | 9 | 1.75 | 11 | 1 | 0.80 |
| 4 | 17 | 0.664 | 5 | 10 | 0.65 | 11 | 2 | 0.54 |
| 4 | 18 | 0.678 | 5 | 11 | 0.63 | 11 | 3 | 0.51 |
| 4 | 19 | 0.683 | 5 | 12 | 1.00 | 11 | 4 | 0.51 |
| 4 | 20 | 0.708 | 5 | 13 | 0.60 | 11 | 5 | 0.49 |
| 4 | 21 | 0.688 | 5 | 14 | 0.57 | 11 | 6 | 0.46 |
| 4 | 22 | 0.676 | 5 | 15 | 0.69 | 11 | 7 | 0.51 |
| 4 | 23 | 0.688 | 5 | 16 | 0.67 | 11 | 8 | 0.51 |
| 4 | 24 | 0.701 | 5 | 17 | 0.50 | 11 | 9 | 0.51 |
| 4 | 25 | 0.683 | 6 | 1 | 0.858918 | 11 | 10 | 0.51 |
| 4 | 26 | 0.683 | 6 | 2 | 0.762691 | 11 | 11 | 0.52 |
| 4 | 27 | 0.689 | 7 | 1 | 0.4731 | 11 | 12 | 0.47 |
| 4 | 28 | 0.679 | 7 | 2 | 0.4778 | 12 | 1 |  |
| 4 | 29 | 0.835 | 7 | 3 | 0.4607 | 12 | 2 |  |
| 4 | 30 | 0.822 | 7 | 4 | 0.4048 | 12 | 3 |  |
| 4 | 31 | 0.836 | 7 | 5 | 0.4054 | 12 | 4 |  |
| 4 | 32 | 0.849 | 7 | 6 | 0.4359 |  |  |  |
| 4 | 33 | 0.841 | 7 | 7 | 0.5022 |  |  |  |

Fig. OR30 All Nb concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR31 All data reported for CUP-2 Mo concentration. Data precision as laboratory reported

| Lab # | Sample # | [Mo] (µg/gU) | Lab # | Sample # | [Mo] (µg/gU) | Lab # | Sample # | [Mo] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 850 | 4 | 34 | 1056.409 | 7 | 8 | 1071.2785 |
| 1 | 2 | 950 | 4 | 35 | 1036.442 | 7 | 9 | 1052.5033 |
| 1 | 3 | 900 | 4 | 36 | 1037.681 | 8 | 1 | 1050 |
| 3 | 1 | 1047.9 | 4 | 37 | 1048.092 | 8 | 2 | 1080 |
| 3 | 2 | 1147.1 | 4 | 38 | 1030.969 | 8 | 3 | 1020 |
| 3 | 3 | 1104.0 | 4 | 39 | 1065.484 | 8 | 4 | 1150 |
| 3 | 4 | 1108.1 | 4 | 40 | 1044.950 | 8 | 5 | 1080 |
| 3 | 5 | 1090.7 | 4 | 41 | 1048.467 | 8 | 6 | 1130 |
| 3 | 6 | 1129.3 | 4 | 42 | 1047.809 | 8 | 7 | 1020 |
| 3 | 7 | 1049.3 | 4 | 43 | 1056.017 | 8 | 8 | 1190 |
| 3 | 8 | 1059.5 | 4 | 44 | 1067.571 | 8 | 9 | 1130 |
| 3 | 9 | 1058.0 | 4 | 45 | 1047.142 | 9 | 1 | 1222.314 |
| 3 | 10 | 1060.0 | 4 | 46 | 1044.286 | 9 | 2 | 874.996 |
| 3 | 11 | 1068.0 | 4 | 47 | 1042.079 | 9 | 3 | 887.152 |
| 4 | 1 | 1055.418 | 4 | 48 | 1041.603 | 9 | 4 | 861.016 |
| 4 | 2 | 1065.836 | 4 | 49 | 1038.815 | 9 | 5 | 1042.254 |
| 4 | 3 | 1069.714 | 4 | 50 | 1041.821 | 9 | 6 | 948.122 |
| 4 | 4 | 1071.935 | 4 | 51 | 1054.819 | 9 | 7 | 962.731 |
| 4 | 5 | 1078.675 | 4 | 52 | 1040.958 | 9 | 8 | 936.961 |
| 4 | 6 | 1093.317 | 4 | 53 | 1046.240 | 9 | 9 | 1066.212 |
| 4 | 7 | 1085.815 | 4 | 54 | 1051.262 | 10 | 1 | 1032.47 |
| 4 | 8 | 1081.957 | 5 | 1 | 850 | 10 | 2 | 1013.25 |
| 4 | 9 | 1069.354 | 5 | 2 | 840 | 10 | 3 | 1013.35 |
| 4 | 10 | 1077.499 | 5 | 3 | 960 | 10 | 4 | 1009.34 |
| 4 | 11 | 1052.908 | 5 | 4 | 960 | 10 | 5 | 993.99 |
| 4 | 12 | 1048.234 | 5 | 5 | 960 | 10 | 6 | 1004.65 |
| 4 | 13 | 1053.959 | 5 | 6 | 930 | 10 | 7 | 1030.62 |
| 4 | 14 | 1067.753 | 5 | 7 | 940 | 10 | 8 | 1015.02 |
| 4 | 15 | 1071.462 | 5 | 8 | 960 | 10 | 9 | 1013.00 |
| 4 | 16 | 1006.409 | 5 | 9 | 970 | 11 | 1 | 927.35 |
| 4 | 17 | 1030.482 | 5 | 10 | 960 | 11 | 2 | 966.16 |
| 4 | 18 | 1042.686 | 5 | 11 | 960 | 11 | 3 | 954.87 |
| 4 | 19 | 1046.596 | 5 | 12 | 960 | 11 | 4 | 929.14 |
| 4 | 20 | 1061.892 | 5 | 13 | 860 | 11 | 5 | 931.37 |
| 4 | 21 | 1048.567 | 5 | 14 | 1000 | 11 | 6 | 922.75 |
| 4 | 22 | 1038.783 | 5 | 15 | 980 | 11 | 7 | 939.44 |
| 4 | 23 | 1057.108 | 5 | 16 | 1060 | 11 | 8 | 929.69 |
| 4 | 24 | 1041.545 | 5 | 17 | 900 | 11 | 9 | 944.02 |
| 4 | 25 | 1033.765 | 6 | 1 | 976.6703 | 11 | 10 | 944.53 |
| 4 | 26 | 1048.315 | 6 | 2 | 973.7589 | 11 | 11 | 943.91 |
| 4 | 27 | 1033.627 | 7 | 1 | 1025.5486 | 11 | 12 | 887.32 |
| 4 | 28 | 1033.188 | 7 | 2 | 1064.9090 | 12 | 1 | 922 |
| 4 | 29 | 1052.189 | 7 | 3 | 1056.0569 | 12 | 2 | 903 |
| 4 | 30 | 1028.999 | 7 | 4 | 1066.0636 | 12 | 3 | 1023 |
| 4 | 31 | 1045.886 | 7 | 5 | 1068.6465 | 12 | 4 | 1034 |
| 4 | 32 | 1063.122 | 7 | 6 | 1040.4025 |  |  |  |
| 4 | 33 | 1057.432 | 7 | 7 | 1041.6276 |  |  |  |

Fig. OR31 All Mo concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR32 All data reported for CUP-2 Ru concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ru] (µg/gU) | Lab # | Sample # | [Ru] (µg/gU) | Lab # | Sample # | [Ru] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 0.017 | 7 | 8 |  |
| 1 | 2 |  | 4 | 35 | 0.010 | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 | 0.013 | 8 | 1 |  |
| 3 | 1 | 0.003 | 4 | 37 | 0.013 | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 | 0.014 | 8 | 3 |  |
| 3 | 3 | 0.010 | 4 | 39 | 0.012 | 8 | 4 |  |
| 3 | 4 | 0.002 | 4 | 40 | 0.013 | 8 | 5 |  |
| 3 | 5 | 0.002 | 4 | 41 | 0.012 | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 | 0.018 | 8 | 7 |  |
| 3 | 7 | 0.003 | 4 | 43 | 0.017 | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 | 0.018 | 8 | 9 |  |
| 3 | 9 | 0.003 | 4 | 45 | 0.013 | 9 | 1 |  |
| 3 | 10 | 0.003 | 4 | 46 | 0.013 | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 0.018 | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 | 0.014 | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 | 0.012 | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 | 0.012 | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 | 0.009 | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 | 0.014 | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 | 0.016 | 10 | 1 |  |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 |  |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 |  |
| 4 | 10 | 0.011 | 5 | 3 |  | 10 | 4 |  |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 |  |
| 4 | 12 | 0.013 | 5 | 5 |  | 10 | 6 |  |
| 4 | 13 | 0.011 | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 | 0.016 | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 | 0.009 | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 | 0.019 | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 | 0.021 | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 | 0.020 | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 | 0.010 | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 | 0.013 | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 | 0.012 | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 | 0.009 | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 | 0.016 | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 | 0.012 | 6 | 1 |  | 11 | 10 |  |
| 4 | 26 | 0.010 | 6 | 2 |  | 11 | 11 |  |
| 4 | 27 | 0.010 | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 | 0.013 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 0.017 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 0.015 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 0.019 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 0.011 | 7 | 6 |  |  |  |  |
| 4 | 33 | 0.016 | 7 | 7 |  |  |  |  |

Fig. OR32 All Ru concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR33 All data reported for CUP-2 Rh concentration. Data precision as laboratory reported

| Lab # | Sample # | [Rh] (µg/gU) | Lab # | Sample # | [Rh] (µg/gU) | Lab # | Sample # | [Rh] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 |  | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 0.005 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 |  |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 0.005 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 |  |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 |  |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 |  |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 0.004 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 | 0.02 |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 | 0.02 |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 | 0.02 |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 | 0.02 |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 | 0.02 |
| 4 | 21 |  | 5 | 14 | 0.008 | 11 | 6 | 0.02 |
| 4 | 22 |  | 5 | 15 | 0.010 | 11 | 7 | 0.02 |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 | 0.01 |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 | 0.01 |
| 4 | 25 |  | 6 | 1 |  | 11 | 10 | 0.01 |
| 4 | 26 |  | 6 | 2 |  | 11 | 11 | 0.01 |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 | 0.01 |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR33 All Rh concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR34 All data reported for CUP-2 Pd concentration. Data precision as laboratory reported

| Lab # | Sample # | [Pd] (µg/gU) | Lab # | Sample # | [Pd] (µg/gU) | Lab # | Sample # | [Pd] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 5 | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 | 2 | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 | 3 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 | 0.01 | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 | 0.03 | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 | 0.02 | 4 | 45 |  | 9 | 1 | 25.737 |
| 3 | 10 | 0.02 | 4 | 46 |  | 9 | 2 | 21.827 |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 | 20.523 |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 | 23.295 |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 | 21.872 |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 | 21.168 |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 | 20.569 |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 | 25.665 |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 | 25.690 |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 5.00 |
| 4 | 8 |  | 5 | 1 | 1.66 | 10 | 2 | 4.86 |
| 4 | 9 |  | 5 | 2 | 1.66 | 10 | 3 | 4.90 |
| 4 | 10 |  | 5 | 3 | 1.52 | 10 | 4 | 1.88 |
| 4 | 11 |  | 5 | 4 | 1.37 | 10 | 5 | 2.85 |
| 4 | 12 |  | 5 | 5 | 1.93 | 10 | 6 | 2.39 |
| 4 | 13 |  | 5 | 6 | 1.77 | 10 | 7 | 2.77 |
| 4 | 14 |  | 5 | 7 | 2.00 | 10 | 8 | 2.83 |
| 4 | 15 |  | 5 | 8 | 1.75 | 10 | 9 | 2.92 |
| 4 | 16 |  | 5 | 9 | 1.69 | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 | 1.93 | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 | 1.92 | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 | 2.00 | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 | 1.27 | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 | 1.60 | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 | 1.78 | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 | 1.90 | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 | 1.60 | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 3.173085 | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 | 3.120612 | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR34 All Pd concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR35 All data reported for CUP-2 Ag concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ag] (µg/gU) | Lab # | Sample # | [Ag] (µg/gU) | Lab # | Sample # | [Ag] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 1.891 | 7 | 8 |  |
| 1 | 2 | 1 | 4 | 35 | 2.923 | 7 | 9 |  |
| 1 | 3 | 1 | 4 | 36 | 2.868 | 8 | 1 | 2.29 |
| 3 | 1 | 0.4 | 4 | 37 | 2.893 | 8 | 2 | 2.31 |
| 3 | 2 | 0.4 | 4 | 38 | 2.789 | 8 | 3 | 2.22 |
| 3 | 3 | 0.3 | 4 | 39 | 2.862 | 8 | 4 | 2.85 |
| 3 | 4 | 0.3 | 4 | 40 | 3.028 | 8 | 5 | 2.29 |
| 3 | 5 | 0.5 | 4 | 41 | 3.155 | 8 | 6 | 2.79 |
| 3 | 6 | 0.2 | 4 | 42 | 1.791 | 8 | 7 | 2.38 |
| 3 | 7 | 0.03 | 4 | 43 | 1.868 | 8 | 8 | 2.61 |
| 3 | 8 | 0.5 | 4 | 44 | 1.896 | 8 | 9 | 2.63 |
| 3 | 9 | 0.5 | 4 | 45 | 1.819 | 9 | 1 |  |
| 3 | 10 | 0.5 | 4 | 46 | 1.888 | 9 | 2 |  |
| 3 | 11 | 0.3 | 4 | 47 | 1.865 | 9 | 3 |  |
| 4 | 1 | 1.547 | 4 | 48 | 2.921 | 9 | 4 |  |
| 4 | 2 | 1.503 | 4 | 49 | 2.895 | 9 | 5 |  |
| 4 | 3 | 1.514 | 4 | 50 | 2.857 | 9 | 6 |  |
| 4 | 4 | 1.522 | 4 | 51 | 2.963 | 9 | 7 |  |
| 4 | 5 | 1.515 | 4 | 52 | 3.061 | 9 | 8 |  |
| 4 | 6 | 1.250 | 4 | 53 | 3.132 | 9 | 9 |  |
| 4 | 7 | 1.246 | 4 | 54 | 3.061 | 10 | 1 | 0.40 |
| 4 | 8 | 1.235 | 5 | 1 | 0.37 | 10 | 2 | 0.36 |
| 4 | 9 | 1.212 | 5 | 2 | 0.33 | 10 | 3 | 0.41 |
| 4 | 10 | 1.230 | 5 | 3 | 0.36 | 10 | 4 | 0.45 |
| 4 | 11 | 1.300 | 5 | 4 | 0.38 | 10 | 5 | 0.51 |
| 4 | 12 | 1.291 | 5 | 5 | 0.42 | 10 | 6 | 0.39 |
| 4 | 13 | 1.278 | 5 | 6 | 0.44 | 10 | 7 | 0.43 |
| 4 | 14 | 1.276 | 5 | 7 | 0.40 | 10 | 8 | 0.49 |
| 4 | 15 | 1.266 | 5 | 8 | 0.42 | 10 | 9 | 0.48 |
| 4 | 16 | 1.759 | 5 | 9 | 0.43 | 11 | 1 |  |
| 4 | 17 | 1.775 | 5 | 10 | 0.41 | 11 | 2 |  |
| 4 | 18 | 1.812 | 5 | 11 | 0.42 | 11 | 3 |  |
| 4 | 19 | 1.906 | 5 | 12 | 1.50 | 11 | 4 |  |
| 4 | 20 | 1.920 | 5 | 13 | 0.39 | 11 | 5 |  |
| 4 | 21 | 1.903 | 5 | 14 | 0.37 | 11 | 6 |  |
| 4 | 22 | 1.854 | 5 | 15 | 0.53 | 11 | 7 |  |
| 4 | 23 | 2.859 | 5 | 16 | 0.58 | 11 | 8 |  |
| 4 | 24 | 2.942 | 5 | 17 | 0.43 | 11 | 9 |  |
| 4 | 25 | 2.930 | 6 | 1 | 0.565293 | 11 | 10 |  |
| 4 | 26 | 2.840 | 6 | 2 | 0.595186 | 11 | 11 |  |
| 4 | 27 | 3.014 | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 | 3.107 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 1.728 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 1.797 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 1.870 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 1.896 | 7 | 6 |  |  |  |  |
| 4 | 33 | 1.803 | 7 | 7 |  |  |  |  |

Fig. OR35 All Ag concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR36 All data reported for CUP-2 Cd concentration. Data precision as laboratory reported

| Lab # | Sample # | [Cd] (µg/gU) | Lab # | Sample # | [Cd] (µg/gU) | Lab # | Sample # | [Cd] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 1 | 4 | 34 | 0.681 | 7 | 8 | 1.1357 |
| 1 | 2 |  | 4 | 35 | 0.802 | 7 | 9 | 0.8786 |
| 1 | 3 |  | 4 | 36 | 0.765 | 8 | 1 | 2.89 |
| 3 | 1 | 0.4 | 4 | 37 | 0.760 | 8 | 2 | 2.77 |
| 3 | 2 | 0.4 | 4 | 38 | 0.778 | 8 | 3 | 2.61 |
| 3 | 3 | 0.3 | 4 | 39 | 0.838 | 8 | 4 | 3.53 |
| 3 | 4 | 0.3 | 4 | 40 | 0.812 | 8 | 5 | 2.75 |
| 3 | 5 | 0.3 | 4 | 41 | 0.827 | 8 | 6 | 3.16 |
| 3 | 6 | 0.5 | 4 | 42 | 0.575 | 8 | 7 | 2.84 |
| 3 | 7 | 0.3 | 4 | 43 | 0.608 | 8 | 8 | 3.47 |
| 3 | 8 | 0.3 | 4 | 44 | 0.598 | 8 | 9 | 3.00 |
| 3 | 9 | 0.3 | 4 | 45 | 0.692 | 9 | 1 | 3.505 |
| 3 | 10 | 0.4 | 4 | 46 | 0.676 | 9 | 2 | 2.978 |
| 3 | 11 | 0.4 | 4 | 47 | 0.658 | 9 | 3 | 3.419 |
| 4 | 1 | 1.975 | 4 | 48 | 0.760 | 9 | 4 | 3.737 |
| 4 | 2 | 1.984 | 4 | 49 | 0.754 | 9 | 5 | 3.506 |
| 4 | 3 | 1.898 | 4 | 50 | 0.747 | 9 | 6 | 3.592 |
| 4 | 4 | 2.065 | 4 | 51 | 0.879 | 9 | 7 | 4.433 |
| 4 | 5 | 1.937 | 4 | 52 | 0.795 | 9 | 8 | 3.829 |
| 4 | 6 | 0.869 | 4 | 53 | 0.785 | 9 | 9 | 3.820 |
| 4 | 7 | 0.924 | 4 | 54 | 0.798 | 10 | 1 | 0.11 |
| 4 | 8 | 0.882 | 5 | 1 | 1.42 | 10 | 2 |  |
| 4 | 9 | 0.835 | 5 | 2 | 1.45 | 10 | 3 | 0.18 |
| 4 | 10 | 0.771 | 5 | 3 | 1.24 | 10 | 4 | 0.13 |
| 4 | 11 | 0.876 | 5 | 4 | 1.19 | 10 | 5 | 0.31 |
| 4 | 12 | 0.884 | 5 | 5 | 1.90 | 10 | 6 | 0.22 |
| 4 | 13 | 0.883 | 5 | 6 | 1.70 | 10 | 7 | 0.20 |
| 4 | 14 | 0.859 | 5 | 7 | 1.86 | 10 | 8 | 0.20 |
| 4 | 15 | 0.884 | 5 | 8 | 1.36 | 10 | 9 | 0.13 |
| 4 | 16 | 0.576 | 5 | 9 | 1.41 | 11 | 1 | 3.76 |
| 4 | 17 | 0.531 | 5 | 10 | 1.52 | 11 | 2 | 3.77 |
| 4 | 18 | 0.616 | 5 | 11 | 1.56 | 11 | 3 | 3.79 |
| 4 | 19 | 0.623 | 5 | 12 | 1.70 | 11 | 4 | 3.66 |
| 4 | 20 | 0.727 | 5 | 13 | 1.33 | 11 | 5 | 3.72 |
| 4 | 21 | 0.656 | 5 | 14 | 0.38 | 11 | 6 | 3.75 |
| 4 | 22 | 0.678 | 5 | 15 | 0.45 | 11 | 7 | 4.19 |
| 4 | 23 | 0.793 | 5 | 16 | 0.35 | 11 | 8 | 3.85 |
| 4 | 24 | 0.736 | 5 | 17 | 0.21 | 11 | 9 | 3.85 |
| 4 | 25 | 0.753 | 6 | 1 | 2.487912 | 11 | 10 | 4.02 |
| 4 | 26 | 0.798 | 6 | 2 | 2.427057 | 11 | 11 | 3.78 |
| 4 | 27 | 0.804 | 7 | 1 | 0.9034 | 11 | 12 | 3.74 |
| 4 | 28 | 0.791 | 7 | 2 | 0.9718 | 12 | 1 |  |
| 4 | 29 | 0.587 | 7 | 3 | 0.9145 | 12 | 2 |  |
| 4 | 30 | 0.587 | 7 | 4 | 0.9353 | 12 | 3 |  |
| 4 | 31 | 0.618 | 7 | 5 | 0.9167 | 12 | 4 |  |
| 4 | 32 | 0.706 | 7 | 6 | 0.9010 |  |  |  |
| 4 | 33 | 0.688 | 7 | 7 | 1.2123 |  |  |  |

Fig. OR36 All Cd concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR37 All data reported for CUP-2 In concentration. Data precision as laboratory reported

| Lab # | Sample # | [In] (µg/gU) | Lab # | Sample # | [In] (µg/gU) | Lab # | Sample # | [In] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 |  | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 0.03 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 0.04 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 0.04 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 0.04 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 0.03 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 0.04 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 0.04 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 | 0.04 |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 | 0.04 |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 | 0.018484 | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 | 0.020855 | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR37 All In concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR38 All data reported for CUP-2 Sn concentration. Data precision as laboratory reported

| Lab # | Sample # | [Sn] (µg/gU) | Lab # | Sample # | [Sn] (µg/gU) | Lab # | Sample # | [Sn] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 50 | 4 | 34 | 4.553 | 7 | 8 | 4.9709 |
| 1 | 2 | 4 | 4 | 35 | 4.590 | 7 | 9 | 5.1828 |
| 1 | 3 | 5 | 4 | 36 | 4.486 | 8 | 1 | 14.4 |
| 3 | 1 | 4.8 | 4 | 37 | 4.512 | 8 | 2 | 14.0 |
| 3 | 2 | 5.1 | 4 | 38 | 4.552 | 8 | 3 | 13.7 |
| 3 | 3 | 5.1 | 4 | 39 | 4.641 | 8 | 4 | 14.4 |
| 3 | 4 | 5.2 | 4 | 40 | 4.611 | 8 | 5 | 14.6 |
| 3 | 5 | 5.0 | 4 | 41 | 4.585 | 8 | 6 | 15.2 |
| 3 | 6 | 3.9 | 4 | 42 | 4.726 | 8 | 7 | 13.5 |
| 3 | 7 | 4.7 | 4 | 43 | 4.784 | 8 | 8 | 46.7 |
| 3 | 8 | 4.7 | 4 | 44 | 4.722 | 8 | 9 | 13.8 |
| 3 | 9 | 5.0 | 4 | 45 | 4.770 | 9 | 1 | 2.835 |
| 3 | 10 | 4.9 | 4 | 46 | 4.829 | 9 | 2 | 1.506 |
| 3 | 11 | 4.7 | 4 | 47 | 4.768 | 9 | 3 | 1.642 |
| 4 | 1 | 4.732 | 4 | 48 | 4.698 | 9 | 4 | 1.725 |
| 4 | 2 | 4.741 | 4 | 49 | 4.686 | 9 | 5 | 2.353 |
| 4 | 3 | 4.779 | 4 | 50 | 4.736 | 9 | 6 | 2.055 |
| 4 | 4 | 4.774 | 4 | 51 | 8.380 | 9 | 7 | 2.380 |
| 4 | 5 | 4.853 | 4 | 52 | 4.740 | 9 | 8 |  |
| 4 | 6 | 4.944 | 4 | 53 | 4.789 | 9 | 9 | 2.026 |
| 4 | 7 | 4.803 | 4 | 54 | 4.900 | 10 | 1 | 3.72 |
| 4 | 8 | 4.760 | 5 | 1 | 3.60 | 10 | 2 | 4.07 |
| 4 | 9 | 4.765 | 5 | 2 | 3.60 | 10 | 3 | 4.30 |
| 4 | 10 | 4.755 | 5 | 3 | 4.70 | 10 | 4 | 4.86 |
| 4 | 11 | 4.784 | 5 | 4 | 5.20 | 10 | 5 | 4.23 |
| 4 | 12 | 4.868 | 5 | 5 | 4.50 | 10 | 6 | 4.47 |
| 4 | 13 | 4.748 | 5 | 6 | 4.80 | 10 | 7 | 4.66 |
| 4 | 14 | 4.799 | 5 | 7 | 4.50 | 10 | 8 | 4.80 |
| 4 | 15 | 4.770 | 5 | 8 | 4.70 | 10 | 9 | 4.80 |
| 4 | 16 | 4.606 | 5 | 9 | 4.70 | 11 | 1 | 4.22 |
| 4 | 17 | 4.608 | 5 | 10 | 4.20 | 11 | 2 | 4.39 |
| 4 | 18 | 4.718 | 5 | 11 | 4.40 | 11 | 3 | 4.16 |
| 4 | 19 | 4.681 | 5 | 12 | 4.50 | 11 | 4 | 4.12 |
| 4 | 20 | 4.851 | 5 | 13 | 4.30 | 11 | 5 | 4.25 |
| 4 | 21 | 4.742 | 5 | 14 | 4.32 | 11 | 6 | 4.28 |
| 4 | 22 | 4.606 | 5 | 15 | 4.80 | 11 | 7 | 4.61 |
| 4 | 23 | 4.763 | 5 | 16 | 5.10 | 11 | 8 | 4.55 |
| 4 | 24 | 4.792 | 5 | 17 | 4.40 | 11 | 9 | 4.58 |
| 4 | 25 | 4.624 | 6 | 1 | 4.470691 | 11 | 10 | 4.71 |
| 4 | 26 | 4.773 | 6 | 2 | 4.567438 | 11 | 11 | 4.66 |
| 4 | 27 | 4.584 | 7 | 1 | 5.3434 | 11 | 12 | 4.45 |
| 4 | 28 | 4.534 | 7 | 2 | 5.0544 | 12 | 1 |  |
| 4 | 29 | 4.590 | 7 | 3 | 4.8999 | 12 | 2 |  |
| 4 | 30 | 4.581 | 7 | 4 | 4.8878 | 12 | 3 |  |
| 4 | 31 | 4.615 | 7 | 5 | 5.0405 | 12 | 4 |  |
| 4 | 32 | 4.595 | 7 | 6 | 4.7409 |  |  |  |
| 4 | 33 | 4.667 | 7 | 7 | 4.9144 |  |  |  |

Fig. OR38 All Sn concentration data (a) reported for CUP-2 and (b) with the y axis set from -10 to 20. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR39 All data reported for CUP-2 Sb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Sb] (µg/gU) | Lab # | Sample # | [Sb] (µg/gU) | Lab # | Sample # | [Sb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 4 | 4 | 34 | 0.153 | 7 | 8 | 0.1709 |
| 1 | 2 |  | 4 | 35 | 0.170 | 7 | 9 | 0.1819 |
| 1 | 3 | 4 | 4 | 36 | 0.166 | 8 | 1 | 0.370 |
| 3 | 1 | 0.1 | 4 | 37 | 0.170 | 8 | 2 | 0.280 |
| 3 | 2 | 0.3 | 4 | 38 | 0.207 | 8 | 3 | 0.301 |
| 3 | 3 | 0.1 | 4 | 39 | 0.177 | 8 | 4 | 0.591 |
| 3 | 4 | 0.1 | 4 | 40 | 0.166 | 8 | 5 | 0.362 |
| 3 | 5 | 0.1 | 4 | 41 | 0.167 | 8 | 6 | 0.351 |
| 3 | 6 | 0.1 | 4 | 42 | 0.164 | 8 | 7 | 0.557 |
| 3 | 7 | 0.3 | 4 | 43 | 0.149 | 8 | 8 | 0.896 |
| 3 | 8 | 0.2 | 4 | 44 | 0.153 | 8 | 9 | 0.574 |
| 3 | 9 | 0.2 | 4 | 45 | 0.156 | 9 | 1 | 1.091 |
| 3 | 10 | 0.2 | 4 | 46 | 0.155 | 9 | 2 | 0.315 |
| 3 | 11 |  | 4 | 47 | 0.164 | 9 | 3 | 0.286 |
| 4 | 1 | 0.201 | 4 | 48 | 0.164 | 9 | 4 | 0.192 |
| 4 | 2 | 0.194 | 4 | 49 | 0.178 | 9 | 5 | 0.235 |
| 4 | 3 | 0.191 | 4 | 50 | 0.161 | 9 | 6 |  |
| 4 | 4 | 0.186 | 4 | 51 |  | 9 | 7 | 0.279 |
| 4 | 5 | 0.203 | 4 | 52 | 0.166 | 9 | 8 | 0.324 |
| 4 | 6 | 0.199 | 4 | 53 | 0.165 | 9 | 9 | 0.327 |
| 4 | 7 | 0.190 | 4 | 54 | 0.199 | 10 | 1 |  |
| 4 | 8 | 0.192 | 5 | 1 | 0.09 | 10 | 2 |  |
| 4 | 9 | 0.194 | 5 | 2 | 0.08 | 10 | 3 |  |
| 4 | 10 | 0.186 | 5 | 3 | 0.18 | 10 | 4 | 0.14 |
| 4 | 11 | 0.172 | 5 | 4 | 0.20 | 10 | 5 |  |
| 4 | 12 | 0.194 | 5 | 5 | 0.16 | 10 | 6 |  |
| 4 | 13 | 0.177 | 5 | 6 | 0.16 | 10 | 7 |  |
| 4 | 14 | 0.203 | 5 | 7 | 0.11 | 10 | 8 |  |
| 4 | 15 | 0.195 | 5 | 8 | 0.14 | 10 | 9 |  |
| 4 | 16 | 0.208 | 5 | 9 | 0.16 | 11 | 1 | 0.17 |
| 4 | 17 | 0.191 | 5 | 10 | 0.14 | 11 | 2 | 0.17 |
| 4 | 18 | 0.296 | 5 | 11 | 0.13 | 11 | 3 | 0.15 |
| 4 | 19 | 0.200 | 5 | 12 | 0.15 | 11 | 4 | 0.15 |
| 4 | 20 | 0.201 | 5 | 13 | 0.16 | 11 | 5 | 0.16 |
| 4 | 21 | 0.198 | 5 | 14 |  | 11 | 6 | 0.15 |
| 4 | 22 | 0.199 | 5 | 15 | 0.10 | 11 | 7 | 0.16 |
| 4 | 23 | 0.201 | 5 | 16 | 0.24 | 11 | 8 | 0.16 |
| 4 | 24 | 0.230 | 5 | 17 | 0.10 | 11 | 9 | 0.17 |
| 4 | 25 | 0.199 | 6 | 1 | 0.181343 | 11 | 10 | 0.15 |
| 4 | 26 | 0.196 | 6 | 2 | 0.172083 | 11 | 11 | 0.16 |
| 4 | 27 | NAN | 7 | 1 | 0.1860 | 11 | 12 | 0.14 |
| 4 | 28 | 0.191 | 7 | 2 | 0.1795 | 12 | 1 |  |
| 4 | 29 | 0.151 | 7 | 3 | 0.3468 | 12 | 2 |  |
| 4 | 30 | 0.158 | 7 | 4 | 0.1785 | 12 | 3 |  |
| 4 | 31 | 0.159 | 7 | 5 | 0.1724 | 12 | 4 |  |
| 4 | 32 | 0.148 | 7 | 6 | 0.1789 |  |  |  |
| 4 | 33 | 0.172 | 7 | 7 | 0.1752 |  |  |  |

Fig. OR39 All Sb concentration data (a) reported for CUP-2 and (b) with the y axis set from -1 to 2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR40 All data reported for CUP-2 Te concentration. Data precision as laboratory reported

| Lab # | Sample # | [Te] (µg/gU) | Lab # | Sample # | [Te] (µg/gU) | Lab # | Sample # | [Te] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 10 | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 | 6 | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 | 0.2 | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 0.07 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 0.08 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 | 0.08 |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 0.10 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 0.07 |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 | 1.29 |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 | 0.38 |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 |  | 6 | 1 |  | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 |  | 11 | 11 |  |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR40 All Te concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR41 All data reported for CUP-2 Cs concentration. Data precision as laboratory reported

| Lab # | Sample # | [Cs] (µg/gU) | Lab # | Sample # | [Cs] (µg/gU) | Lab # | Sample # | [Cs] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 1.259 | 7 | 8 | 1.0005 |
| 1 | 2 |  | 4 | 35 | 1.281 | 7 | 9 | 0.9592 |
| 1 | 3 |  | 4 | 36 | 1.253 | 8 | 1 | 1.32 |
| 3 | 1 | 1.3 | 4 | 37 | 1.264 | 8 | 2 | 1.33 |
| 3 | 2 | 1.5 | 4 | 38 | 1.246 | 8 | 3 | 1.26 |
| 3 | 3 | 1.5 | 4 | 39 | 1.271 | 8 | 4 | 1.31 |
| 3 | 4 | 1.5 | 4 | 40 | 1.275 | 8 | 5 | 1.25 |
| 3 | 5 | 1.2 | 4 | 41 | 1.272 | 8 | 6 | 1.33 |
| 3 | 6 | 1.3 | 4 | 42 | 1.288 | 8 | 7 | 1.24 |
| 3 | 7 | 1.4 | 4 | 43 | 1.321 | 8 | 8 | 1.57 |
| 3 | 8 | 1.3 | 4 | 44 | 1.347 | 8 | 9 | 1.44 |
| 3 | 9 | 1.4 | 4 | 45 | 1.235 | 9 | 1 | 1.660 |
| 3 | 10 | 1.3 | 4 | 46 | 1.233 | 9 | 2 | 1.439 |
| 3 | 11 |  | 4 | 47 | 1.226 | 9 | 3 | 1.654 |
| 4 | 1 | 1.306 | 4 | 48 | 1.243 | 9 | 4 | 1.721 |
| 4 | 2 | 1.292 | 4 | 49 | 1.255 | 9 | 5 | 1.676 |
| 4 | 3 | 1.299 | 4 | 50 | 1.221 | 9 | 6 | 1.695 |
| 4 | 4 | 1.291 | 4 | 51 | 1.264 | 9 | 7 | 1.845 |
| 4 | 5 | 1.291 | 4 | 52 | 1.234 | 9 | 8 | 1.819 |
| 4 | 6 | 1.302 | 4 | 53 | 1.256 | 9 | 9 | 1.731 |
| 4 | 7 | 1.296 | 4 | 54 | 1.250 | 10 | 1 | 1.30 |
| 4 | 8 | 1.318 | 5 | 1 | 0.78 | 10 | 2 | 1.34 |
| 4 | 9 | 1.303 | 5 | 2 | 0.81 | 10 | 3 | 1.29 |
| 4 | 10 | 1.315 | 5 | 3 | 0.86 | 10 | 4 | 1.32 |
| 4 | 11 | 1.304 | 5 | 4 | 0.81 | 10 | 5 | 1.33 |
| 4 | 12 | 1.317 | 5 | 5 | 1.37 | 10 | 6 | 1.30 |
| 4 | 13 | 1.319 | 5 | 6 | 1.21 | 10 | 7 | 1.30 |
| 4 | 14 | 1.317 | 5 | 7 | 1.32 | 10 | 8 | 1.32 |
| 4 | 15 | 1.335 | 5 | 8 | 1.49 | 10 | 9 | 1.30 |
| 4 | 16 | 1.268 | 5 | 9 | 1.46 | 11 | 1 | 1.25 |
| 4 | 17 | 1.285 | 5 | 10 | 1.81 | 11 | 2 | 1.30 |
| 4 | 18 | 1.320 | 5 | 11 | 1.71 | 11 | 3 | 1.29 |
| 4 | 19 | 1.325 | 5 | 12 | 1.11 | 11 | 4 | 1.29 |
| 4 | 20 | 1.247 | 5 | 13 | 0.41 | 11 | 5 | 1.35 |
| 4 | 21 | 1.239 | 5 | 14 |  | 11 | 6 | 1.22 |
| 4 | 22 | 1.230 | 5 | 15 |  | 11 | 7 | 1.32 |
| 4 | 23 | 1.278 | 5 | 16 | 1.34 | 11 | 8 | 1.28 |
| 4 | 24 | 1.250 | 5 | 17 | 1.07 | 11 | 9 | 1.28 |
| 4 | 25 | 1.245 | 6 | 1 | 1.423103 | 11 | 10 | 1.29 |
| 4 | 26 | 1.248 | 6 | 2 | 1.426777 | 11 | 11 | 1.29 |
| 4 | 27 | 1.238 | 7 | 1 | 0.9409 | 11 | 12 | 1.21 |
| 4 | 28 | 1.246 | 7 | 2 | 1.0056 | 12 | 1 |  |
| 4 | 29 | 1.307 | 7 | 3 | 0.9891 | 12 | 2 |  |
| 4 | 30 | 1.323 | 7 | 4 | 0.9475 | 12 | 3 |  |
| 4 | 31 | 1.350 | 7 | 5 | 0.9519 | 12 | 4 |  |
| 4 | 32 | 1.254 | 7 | 6 | 0.9553 |  |  |  |
| 4 | 33 | 1.248 | 7 | 7 | 1.0544 |  |  |  |

Fig. OR41 All Cs concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR42 All data reported for CUP-2 Ba concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ba] (µg/gU) | Lab # | Sample # | [Ba] (µg/gU) | Lab # | Sample # | [Ba] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 120 | 4 | 34 | 148.839 | 7 | 8 | 119.1609 |
| 1 | 2 | 160 | 4 | 35 | 147.266 | 7 | 9 | 117.0799 |
| 1 | 3 | 160 | 4 | 36 | 145.493 | 8 | 1 | 144 |
| 3 | 1 | 149.7 | 4 | 37 | 146.259 | 8 | 2 | 148 |
| 3 | 2 | 160.4 | 4 | 38 | 144.064 | 8 | 3 | 142 |
| 3 | 3 | 147.2 | 4 | 39 | 149.667 | 8 | 4 | 156 |
| 3 | 4 | 167.2 | 4 | 40 | 147.316 | 8 | 5 | 146 |
| 3 | 5 | 150.2 | 4 | 41 | 146.474 | 8 | 6 | 154 |
| 3 | 6 | 159.5 | 4 | 42 | 143.991 | 8 | 7 | 144 |
| 3 | 7 | 153.2 | 4 | 43 | 143.306 | 8 | 8 | 168 |
| 3 | 8 | 152.2 | 4 | 44 | 146.619 | 8 | 9 | 157 |
| 3 | 9 | 150.4 | 4 | 45 | 150.924 | 9 | 1 | 158.546 |
| 3 | 10 | 149.5 | 4 | 46 | 149.973 | 9 | 2 | 140.424 |
| 3 | 11 | 152.7 | 4 | 47 | 150.095 | 9 | 3 | 161.693 |
| 4 | 1 | 148.193 | 4 | 48 | 146.182 | 9 | 4 | 162.448 |
| 4 | 2 | 147.719 | 4 | 49 | 145.237 | 9 | 5 | 157.236 |
| 4 | 3 | 149.681 | 4 | 50 | 145.152 | 9 | 6 | 163.604 |
| 4 | 4 | 150.322 | 4 | 51 | 149.888 | 9 | 7 | 157.433 |
| 4 | 5 | 149.871 | 4 | 52 | 146.591 | 9 | 8 | 157.514 |
| 4 | 6 | 151.617 | 4 | 53 | 148.136 | 9 | 9 | 160.284 |
| 4 | 7 | 151.347 | 4 | 54 | 146.319 | 10 | 1 | 124.94 |
| 4 | 8 | 151.010 | 5 | 1 | 129 | 10 | 2 | 140.15 |
| 4 | 9 | 149.838 | 5 | 2 | 126 | 10 | 3 | 135.68 |
| 4 | 10 | 150.308 | 5 | 3 | 145 | 10 | 4 | 142.45 |
| 4 | 11 | 145.265 | 5 | 4 | 145 | 10 | 5 | 141.90 |
| 4 | 12 | 144.578 | 5 | 5 | 149 | 10 | 6 | 141.18 |
| 4 | 13 | 145.651 | 5 | 6 | 133 | 10 | 7 | 143.89 |
| 4 | 14 | 147.355 | 5 | 7 | 135 | 10 | 8 | 140.19 |
| 4 | 15 | 149.406 | 5 | 8 | 148 | 10 | 9 | 146.24 |
| 4 | 16 | 141.341 | 5 | 9 | 143 | 11 | 1 | 152.28 |
| 4 | 17 | 143.106 | 5 | 10 | 146 | 11 | 2 | 149.71 |
| 4 | 18 | 148.176 | 5 | 11 | 143 | 11 | 3 | 149.23 |
| 4 | 19 | 146.245 | 5 | 12 | 142 | 11 | 4 | 152.38 |
| 4 | 20 | 150.866 | 5 | 13 | 127 | 11 | 5 | 141.95 |
| 4 | 21 | 152.778 | 5 | 14 | 145 | 11 | 6 | 150.13 |
| 4 | 22 | 147.732 | 5 | 15 | 145 | 11 | 7 | 141.23 |
| 4 | 23 | 147.022 | 5 | 16 | 157 | 11 | 8 | 136.31 |
| 4 | 24 | 145.423 | 5 | 17 | 133 | 11 | 9 | 135.82 |
| 4 | 25 | 146.833 | 6 | 1 | 142.8739 | 11 | 10 | 145.29 |
| 4 | 26 | 148.788 | 6 | 2 | 147.3237 | 11 | 11 | 158.92 |
| 4 | 27 | 147.804 | 7 | 1 | 111.7261 | 11 | 12 | 149.51 |
| 4 | 28 | 145.790 | 7 | 2 | 123.2833 | 12 | 1 | 141 |
| 4 | 29 | 143.446 | 7 | 3 | 116.3071 | 12 | 2 | 138 |
| 4 | 30 | 145.954 | 7 | 4 | 116.8330 | 12 | 3 | 154.7 |
| 4 | 31 | 146.227 | 7 | 5 | 118.7382 | 12 | 4 | 152.8 |
| 4 | 32 | 151.125 | 7 | 6 | 119.7593 |  |  |  |
| 4 | 33 | 150.317 | 7 | 7 | 115.6710 |  |  |  |

Fig. OR42 All Ba concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR43 All data reported for CUP-2 La concentration. Data precision as laboratory reported

| Lab # | Sample # | [La] (µg/gU) | Lab # | Sample # | [La] (µg/gU) | Lab # | Sample # | [La] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 32 | 4 | 34 | 20.055 | 7 | 8 | 31.4332 |
| 1 | 2 | 26 | 4 | 35 | 19.986 | 7 | 9 | 30.5825 |
| 1 | 3 | 26 | 4 | 36 | 19.713 | 8 | 1 | 24.8 |
| 3 | 1 | 25.5 | 4 | 37 | 20.019 | 8 | 2 | 25.2 |
| 3 | 2 | 27.3 | 4 | 38 | 19.697 | 8 | 3 | 24.4 |
| 3 | 3 | 27.4 | 4 | 39 | 20.410 | 8 | 4 | 26.9 |
| 3 | 4 | 26.9 | 4 | 40 | 19.888 | 8 | 5 | 25.0 |
| 3 | 5 | 26.2 | 4 | 41 | 19.665 | 8 | 6 | 26.9 |
| 3 | 6 | 26.9 | 4 | 42 | 22.008 | 8 | 7 | 24.5 |
| 3 | 7 | 26.3 | 4 | 43 | 21.546 | 8 | 8 | 28.0 |
| 3 | 8 | 26.2 | 4 | 44 | 22.665 | 8 | 9 | 26.6 |
| 3 | 9 | 26.7 | 4 | 45 | 19.905 | 9 | 1 | 29.645 |
| 3 | 10 | 25.9 | 4 | 46 | 19.469 | 9 | 2 | 26.116 |
| 3 | 11 | 26.0 | 4 | 47 | 19.790 | 9 | 3 | 29.159 |
| 4 | 1 | 23.813 | 4 | 48 | 19.361 | 9 | 4 | 30.223 |
| 4 | 2 | 23.676 | 4 | 49 | 19.577 | 9 | 5 | 30.848 |
| 4 | 3 | 23.898 | 4 | 50 | 19.421 | 9 | 6 | 30.700 |
| 4 | 4 | 23.816 | 4 | 51 | 19.662 | 9 | 7 | 30.134 |
| 4 | 5 | 23.875 | 4 | 52 | 19.340 | 9 | 8 | 29.216 |
| 4 | 6 | 23.631 | 4 | 53 | 19.656 | 9 | 9 | 28.800 |
| 4 | 7 | 23.366 | 4 | 54 | 20.062 | 10 | 1 | 25.91 |
| 4 | 8 | 23.649 | 5 | 1 | 20.93 | 10 | 2 | 27.10 |
| 4 | 9 | 23.534 | 5 | 2 | 20.93 | 10 | 3 | 26.47 |
| 4 | 10 | 23.752 | 5 | 3 | 25.23 | 10 | 4 | 24.08 |
| 4 | 11 | 23.385 | 5 | 4 | 25.03 | 10 | 5 | 26.38 |
| 4 | 12 | 23.333 | 5 | 5 | 22.93 | 10 | 6 | 25.87 |
| 4 | 13 | 23.394 | 5 | 6 | 22.93 | 10 | 7 | 27.59 |
| 4 | 14 | 23.665 | 5 | 7 | 23.93 | 10 | 8 | 26.64 |
| 4 | 15 | 23.819 | 5 | 8 | 22.93 | 10 | 9 | 27.33 |
| 4 | 16 | 20.933 | 5 | 9 | 22.93 | 11 | 1 | 25.28 |
| 4 | 17 | 21.569 | 5 | 10 | 23.93 | 11 | 2 | 24.97 |
| 4 | 18 | 22.194 | 5 | 11 | 24.93 | 11 | 3 | 24.17 |
| 4 | 19 | 22.141 | 5 | 12 | 23.33 | 11 | 4 | 25.95 |
| 4 | 20 | 20.195 | 5 | 13 | 20.23 | 11 | 5 | 28.80 |
| 4 | 21 | 19.893 | 5 | 14 | 25.40 | 11 | 6 | 24.91 |
| 4 | 22 | 19.664 | 5 | 15 | 24.80 | 11 | 7 | 26.33 |
| 4 | 23 | 19.660 | 5 | 16 | 27.10 | 11 | 8 | 25.62 |
| 4 | 24 | 19.924 | 5 | 17 | 22.60 | 11 | 9 | 25.60 |
| 4 | 25 | 19.632 | 6 | 1 | 25.32468 | 11 | 10 | 24.86 |
| 4 | 26 | 19.866 | 6 | 2 | 25.46780 | 11 | 11 | 25.19 |
| 4 | 27 | 19.450 | 7 | 1 | 31.4909 | 11 | 12 | 25.35 |
| 4 | 28 | 19.514 | 7 | 2 | 30.7466 | 12 | 1 |  |
| 4 | 29 | 22.163 | 7 | 3 | 31.1092 | 12 | 2 |  |
| 4 | 30 | 22.517 | 7 | 4 | 31.2173 | 12 | 3 |  |
| 4 | 31 | 22.567 | 7 | 5 | 30.9111 | 12 | 4 |  |
| 4 | 32 | 20.195 | 7 | 6 | 29.3745 |  |  |  |
| 4 | 33 | 20.552 | 7 | 7 | 31.2742 |  |  |  |

Fig. OR43 All La concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR44 All data reported for CUP-2 Ce concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ce] (µg/gU) | Lab # | Sample # | [Ce] (µg/gU) | Lab # | Sample # | [Ce] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 60 | 4 | 34 | 53.307 | 7 | 8 | 63.7407 |
| 1 | 2 | 55 | 4 | 35 | 53.549 | 7 | 9 | 62.2245 |
| 1 | 3 | 55 | 4 | 36 | 53.936 | 8 | 1 | 51.4 |
| 3 | 1 | 52.0 | 4 | 37 | 53.905 | 8 | 2 | 51.5 |
| 3 | 2 | 55.3 | 4 | 38 | 53.050 | 8 | 3 | 49.9 |
| 3 | 3 | 56.1 | 4 | 39 | 55.229 | 8 | 4 | 55.2 |
| 3 | 4 | 55.7 | 4 | 40 | 54.035 | 8 | 5 | 50.9 |
| 3 | 5 | 53.8 | 4 | 41 | 52.580 | 8 | 6 | 55.4 |
| 3 | 6 | 55.9 | 4 | 42 | 52.060 | 8 | 7 | 49.9 |
| 3 | 7 | 54.5 | 4 | 43 | 51.766 | 8 | 8 | 56.9 |
| 3 | 8 | 55.3 | 4 | 44 | 52.178 | 8 | 9 | 55.3 |
| 3 | 9 | 54.8 | 4 | 45 | 53.725 | 9 | 1 | 58.609 |
| 3 | 10 | 53.8 | 4 | 46 | 53.315 | 9 | 2 | 52.289 |
| 3 | 11 | 55.3 | 4 | 47 | 53.406 | 9 | 3 | 57.149 |
| 4 | 1 | 52.749 | 4 | 48 | 52.270 | 9 | 4 | 58.529 |
| 4 | 2 | 53.039 | 4 | 49 | 52.866 | 9 | 5 | 57.352 |
| 4 | 3 | 53.266 | 4 | 50 | 53.409 | 9 | 6 | 58.941 |
| 4 | 4 | 53.428 | 4 | 51 | 53.074 | 9 | 7 | 56.166 |
| 4 | 5 | 53.494 | 4 | 52 | 52.938 | 9 | 8 | 55.539 |
| 4 | 6 | 54.399 | 4 | 53 | 53.278 | 9 | 9 | 56.549 |
| 4 | 7 | 53.927 | 4 | 54 | 53.538 | 10 | 1 | 52.97 |
| 4 | 8 | 54.123 | 5 | 1 | 43 | 10 | 2 | 55.85 |
| 4 | 9 | 53.971 | 5 | 2 | 43 | 10 | 3 | 52.97 |
| 4 | 10 | 53.816 | 5 | 3 | 51 | 10 | 4 | 49.42 |
| 4 | 11 | 51.823 | 5 | 4 | 51 | 10 | 5 | 54.19 |
| 4 | 12 | 52.014 | 5 | 5 | 47 | 10 | 6 | 52.94 |
| 4 | 13 | 52.407 | 5 | 6 | 47 | 10 | 7 | 57.16 |
| 4 | 14 | 53.121 | 5 | 7 | 49 | 10 | 8 | 54.41 |
| 4 | 15 | 53.701 | 5 | 8 | 48 | 10 | 9 | 56.09 |
| 4 | 16 | 50.883 | 5 | 9 | 48 | 11 | 1 | 47.15 |
| 4 | 17 | 51.085 | 5 | 10 | 49 | 11 | 2 | 48.59 |
| 4 | 18 | 52.080 | 5 | 11 | 51 | 11 | 3 | 47.56 |
| 4 | 19 | 51.051 | 5 | 12 | 48 | 11 | 4 | 48.66 |
| 4 | 20 | 53.788 | 5 | 13 | 41 | 11 | 5 | 54.37 |
| 4 | 21 | 53.094 | 5 | 14 | 51 | 11 | 6 | 46.04 |
| 4 | 22 | 53.241 | 5 | 15 | 50 | 11 | 7 | 55.80 |
| 4 | 23 | 53.552 | 5 | 16 | 54 | 11 | 8 | 53.82 |
| 4 | 24 | 52.943 | 5 | 17 | 45 | 11 | 9 | 53.49 |
| 4 | 25 | 53.102 | 6 | 1 | 51.33125 | 11 | 10 | 52.22 |
| 4 | 26 | 54.065 | 6 | 2 | 51.68401 | 11 | 11 | 52.96 |
| 4 | 27 | 53.179 | 7 | 1 | 63.9752 | 11 | 12 | 53.50 |
| 4 | 28 | 52.990 | 7 | 2 | 62.5134 | 12 | 1 |  |
| 4 | 29 | 53.260 | 7 | 3 | 63.2368 | 12 | 2 |  |
| 4 | 30 | 52.330 | 7 | 4 | 63.6434 | 12 | 3 | 54.8 |
| 4 | 31 | 52.045 | 7 | 5 | 62.8181 | 12 | 4 | 53.5 |
| 4 | 32 | 54.059 | 7 | 6 | 59.5230 |  |  |  |
| 4 | 33 | 54.131 | 7 | 7 | 63.4770 |  |  |  |

Fig. OR44 All Ce concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR45 All data reported for CUP-2 Pr concentration. Data precision as laboratory reported

| Lab # | Sample # | [Pr] (µg/gU) | Lab # | Sample # | [Pr] (µg/gU) | Lab # | Sample # | [Pr] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 14 | 4 | 34 | 6.604 | 7 | 8 | 8.3681 |
| 1 | 2 | 7 | 4 | 35 | 6.450 | 7 | 9 | 8.1862 |
| 1 | 3 | 7 | 4 | 36 | 6.350 | 8 | 1 | 6.19 |
| 3 | 1 | 6.3 | 4 | 37 | 6.384 | 8 | 2 | 6.34 |
| 3 | 2 | 6.9 | 4 | 38 | 6.318 | 8 | 3 | 6.14 |
| 3 | 3 | 7.0 | 4 | 39 | 6.497 | 8 | 4 | 6.80 |
| 3 | 4 | 6.7 | 4 | 40 | 6.393 | 8 | 5 | 6.24 |
| 3 | 5 | 6.5 | 4 | 41 | 6.295 | 8 | 6 | 6.77 |
| 3 | 6 | 6.7 | 4 | 42 | 6.208 | 8 | 7 | 6.32 |
| 3 | 7 | 6.5 | 4 | 43 | 6.223 | 8 | 8 | 7.11 |
| 3 | 8 | 6.8 | 4 | 44 | 6.353 | 8 | 9 | 6.75 |
| 3 | 9 | 6.8 | 4 | 45 | 6.553 | 9 | 1 | 8.292 |
| 3 | 10 | 6.7 | 4 | 46 | 6.468 | 9 | 2 | 7.069 |
| 3 | 11 | 6.9 | 4 | 47 | 6.371 | 9 | 3 | 8.231 |
| 4 | 1 | 6.397 | 4 | 48 | 6.302 | 9 | 4 | 7.817 |
| 4 | 2 | 6.394 | 4 | 49 | 6.337 | 9 | 5 | 7.831 |
| 4 | 3 | 6.436 | 4 | 50 | 6.274 | 9 | 6 | 7.943 |
| 4 | 4 | 6.437 | 4 | 51 | 6.332 | 9 | 7 | 7.836 |
| 4 | 5 | 6.494 | 4 | 52 | 6.219 | 9 | 8 | 7.545 |
| 4 | 6 | 6.584 | 4 | 53 | 6.279 | 9 | 9 | 7.777 |
| 4 | 7 | 6.547 | 4 | 54 | 6.300 | 10 | 1 | 6.55 |
| 4 | 8 | 6.515 | 5 | 1 | 5.4 | 10 | 2 | 6.36 |
| 4 | 9 | 6.494 | 5 | 2 | 5.4 | 10 | 3 | 7.09 |
| 4 | 10 | 6.511 | 5 | 3 | 6.5 | 10 | 4 | 6.08 |
| 4 | 11 | 6.345 | 5 | 4 | 6.5 | 10 | 5 | 6.69 |
| 4 | 12 | 6.309 | 5 | 5 | 5.9 | 10 | 6 | 6.65 |
| 4 | 13 | 6.406 | 5 | 6 | 5.9 | 10 | 7 | 7.00 |
| 4 | 14 | 6.493 | 5 | 7 | 6.1 | 10 | 8 | 6.62 |
| 4 | 15 | 6.567 | 5 | 8 | 6.1 | 10 | 9 | 7.06 |
| 4 | 16 | 6.077 | 5 | 9 | 6.1 | 11 | 1 | 5.73 |
| 4 | 17 | 6.124 | 5 | 10 | 6.2 | 11 | 2 | 5.76 |
| 4 | 18 | 6.229 | 5 | 11 | 6.4 | 11 | 3 | 5.73 |
| 4 | 19 | 6.144 | 5 | 12 | 6.0 | 11 | 4 | 5.94 |
| 4 | 20 | 6.523 | 5 | 13 | 5.3 | 11 | 5 | 6.68 |
| 4 | 21 | 6.464 | 5 | 14 | 6.6 | 11 | 6 | 5.54 |
| 4 | 22 | 6.347 | 5 | 15 | 6.4 | 11 | 7 | 6.58 |
| 4 | 23 | 6.391 | 5 | 16 | 6.9 | 11 | 8 | 6.34 |
| 4 | 24 | 6.384 | 5 | 17 | 5.8 | 11 | 9 | 6.29 |
| 4 | 25 | 6.358 | 6 | 1 | 6.308715 | 11 | 10 | 6.22 |
| 4 | 26 | 6.364 | 6 | 2 | 6.381028 | 11 | 11 | 6.25 |
| 4 | 27 | 6.335 | 7 | 1 | 8.3910 | 11 | 12 | 6.30 |
| 4 | 28 | 6.283 | 7 | 2 | 8.1871 | 12 | 1 |  |
| 4 | 29 | 6.327 | 7 | 3 | 8.3212 | 12 | 2 |  |
| 4 | 30 | 6.192 | 7 | 4 | 8.3490 | 12 | 3 |  |
| 4 | 31 | 6.340 | 7 | 5 | 8.2787 | 12 | 4 |  |
| 4 | 32 | 6.527 | 7 | 6 | 7.7898 |  |  |  |
| 4 | 33 | 6.503 | 7 | 7 | 8.3748 |  |  |  |

Fig. OR45 All Pr concentration data (a) reported for CUP-2 and (b) with the y axis set from 4 to 10. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR46 All data reported for CUP-2 Nd concentration. Data precision as laboratory reported

| Lab # | Sample # | [Nd] (µg/gU) | Lab # | Sample # | [Nd] (µg/gU) | Lab # | Sample # | [Nd] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 32 | 4 | 34 | 26.189 | 7 | 8 | 23.7493 |
| 1 | 2 | 28 | 4 | 35 | 26.334 | 7 | 9 | 22.6715 |
| 1 | 3 | 28 | 4 | 36 | 26.018 | 8 | 1 | 27.3 |
| 3 | 1 | 26.2 | 4 | 37 | 26.505 | 8 | 2 | 27.0 |
| 3 | 2 | 28.4 | 4 | 38 | 25.747 | 8 | 3 | 26.7 |
| 3 | 3 | 27.8 | 4 | 39 | 26.617 | 8 | 4 | 28.6 |
| 3 | 4 | 27.4 | 4 | 40 | 26.320 | 8 | 5 | 26.8 |
| 3 | 5 | 26.1 | 4 | 41 | 26.284 | 8 | 6 | 27.6 |
| 3 | 6 | 27.6 | 4 | 42 | 27.042 | 8 | 7 | 27.5 |
| 3 | 7 | 27.1 | 4 | 43 | 27.172 | 8 | 8 | 29.6 |
| 3 | 8 | 26.8 | 4 | 44 | 28.071 | 8 | 9 | 28.5 |
| 3 | 9 | 27.9 | 4 | 45 | 26.128 | 9 | 1 | 32.623 |
| 3 | 10 | 27.8 | 4 | 46 | 25.833 | 9 | 2 | 28.278 |
| 3 | 11 | 27.7 | 4 | 47 | 25.663 | 9 | 3 | 32.298 |
| 4 | 1 | 26.071 | 4 | 48 | 25.764 | 9 | 4 | 31.002 |
| 4 | 2 | 26.144 | 4 | 49 | 25.596 | 9 | 5 | 32.190 |
| 4 | 3 | 26.300 | 4 | 50 | 25.513 | 9 | 6 | 31.932 |
| 4 | 4 | 26.222 | 4 | 51 | 26.345 | 9 | 7 | 30.292 |
| 4 | 5 | 26.211 | 4 | 52 | 25.689 | 9 | 8 | 30.654 |
| 4 | 6 | 26.435 | 4 | 53 | 25.996 | 9 | 9 | 31.130 |
| 4 | 7 | 26.425 | 4 | 54 | 26.144 | 10 | 1 | 25.77 |
| 4 | 8 | 26.573 | 5 | 1 | 22.0 | 10 | 2 | 25.95 |
| 4 | 9 | 26.492 | 5 | 2 | 22.0 | 10 | 3 | 28.51 |
| 4 | 10 | 26.569 | 5 | 3 | 26.3 | 10 | 4 | 24.71 |
| 4 | 11 | 26.525 | 5 | 4 | 25.9 | 10 | 5 | 27.64 |
| 4 | 12 | 26.350 | 5 | 5 | 24.0 | 10 | 6 | 26.19 |
| 4 | 13 | 26.654 | 5 | 6 | 24.0 | 10 | 7 | 28.63 |
| 4 | 14 | 27.041 | 5 | 7 | 25.0 | 10 | 8 | 27.68 |
| 4 | 15 | 27.044 | 5 | 8 | 25.0 | 10 | 9 | 28.02 |
| 4 | 16 | 26.165 | 5 | 9 | 25.0 | 11 | 1 | 25.52 |
| 4 | 17 | 26.711 | 5 | 10 | 25.0 | 11 | 2 | 25.25 |
| 4 | 18 | 27.083 | 5 | 11 | 26.0 | 11 | 3 | 24.32 |
| 4 | 19 | 27.712 | 5 | 12 | 24.4 | 11 | 4 | 26.21 |
| 4 | 20 | 25.942 | 5 | 13 | 21.3 | 11 | 5 | 28.98 |
| 4 | 21 | 26.024 | 5 | 14 | 26.5 | 11 | 6 | 25.13 |
| 4 | 22 | 25.890 | 5 | 15 | 26.1 | 11 | 7 | 28.02 |
| 4 | 23 | 26.232 | 5 | 16 | 27.7 | 11 | 8 | 26.76 |
| 4 | 24 | 25.853 | 5 | 17 | 23.6 | 11 | 9 | 26.40 |
| 4 | 25 | 25.987 | 6 | 1 | 25.39754 | 11 | 10 | 26.05 |
| 4 | 26 | 26.372 | 6 | 2 | 25.68385 | 11 | 11 | 26.14 |
| 4 | 27 | 26.036 | 7 | 1 | 23.6218 | 11 | 12 | 26.58 |
| 4 | 28 | 25.641 | 7 | 2 | 23.1409 | 12 | 1 |  |
| 4 | 29 | 26.960 | 7 | 3 | 23.0246 | 12 | 2 |  |
| 4 | 30 | 27.246 | 7 | 4 | 23.2628 | 12 | 3 | 26.8 |
| 4 | 31 | 27.525 | 7 | 5 | 22.8360 | 12 | 4 | 25.2 |
| 4 | 32 | 26.196 | 7 | 6 | 21.9709 |  |  |  |
| 4 | 33 | 26.402 | 7 | 7 | 23.5481 |  |  |  |

Fig. OR46 All Nd concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR47 All data reported for CUP-2 Sm concentration. Data precision as laboratory reported

| Lab # | Sample # | [Sm] (µg/gU) | Lab # | Sample # | [Sm] (µg/gU) | Lab # | Sample # | [Sm] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 18 | 4 | 34 | 12.514 | 7 | 8 | 11.3571 |
| 1 | 2 | 14 | 4 | 35 | 12.380 | 7 | 9 | 10.8294 |
| 1 | 3 | 14 | 4 | 36 | 12.352 | 8 | 1 | 12.5 |
| 3 | 1 | 12.4 | 4 | 37 | 12.382 | 8 | 2 | 13.2 |
| 3 | 2 | 12.9 | 4 | 38 | 12.196 | 8 | 3 | 12.2 |
| 3 | 3 | 13.5 | 4 | 39 | 12.352 | 8 | 4 | 13.0 |
| 3 | 4 | 13.2 | 4 | 40 | 12.354 | 8 | 5 | 12.2 |
| 3 | 5 | 12.7 | 4 | 41 | 12.301 | 8 | 6 | 13.3 |
| 3 | 6 | 13.0 | 4 | 42 | 12.657 | 8 | 7 | 12.6 |
| 3 | 7 | 12.1 | 4 | 43 | 12.873 | 8 | 8 | 13.1 |
| 3 | 8 | 13.6 | 4 | 44 | 13.020 | 8 | 9 | 13.5 |
| 3 | 9 | 12.8 | 4 | 45 | 12.583 | 9 | 1 | 15.694 |
| 3 | 10 | 12.7 | 4 | 46 | 12.154 | 9 | 2 | 13.590 |
| 3 | 11 | 13.2 | 4 | 47 | 12.318 | 9 | 3 | 15.276 |
| 4 | 1 | 12.217 | 4 | 48 | 12.199 | 9 | 4 | 14.613 |
| 4 | 2 | 12.256 | 4 | 49 | 12.248 | 9 | 5 | 14.724 |
| 4 | 3 | 12.381 | 4 | 50 | 12.205 | 9 | 6 | 15.171 |
| 4 | 4 | 12.292 | 4 | 51 | 12.455 | 9 | 7 | 14.381 |
| 4 | 5 | 12.303 | 4 | 52 | 12.101 | 9 | 8 | 14.297 |
| 4 | 6 | 12.449 | 4 | 53 | 12.335 | 9 | 9 | 14.720 |
| 4 | 7 | 12.494 | 4 | 54 | 12.263 | 10 | 1 | 12.21 |
| 4 | 8 | 12.665 | 5 | 1 | 10.5 | 10 | 2 | 11.73 |
| 4 | 9 | 12.516 | 5 | 2 | 10.5 | 10 | 3 | 13.57 |
| 4 | 10 | 12.618 | 5 | 3 | 12.4 | 10 | 4 | 11.56 |
| 4 | 11 | 12.444 | 5 | 4 | 12.3 | 10 | 5 | 12.75 |
| 4 | 12 | 12.434 | 5 | 5 | 11.1 | 10 | 6 | 12.57 |
| 4 | 13 | 12.610 | 5 | 6 | 11.3 | 10 | 7 | 13.51 |
| 4 | 14 | 12.625 | 5 | 7 | 11.8 | 10 | 8 | 12.89 |
| 4 | 15 | 12.786 | 5 | 8 | 11.5 | 10 | 9 | 13.34 |
| 4 | 16 | 12.236 | 5 | 9 | 11.5 | 11 | 1 | 12.41 |
| 4 | 17 | 12.492 | 5 | 10 | 11.9 | 11 | 2 | 12.26 |
| 4 | 18 | 12.805 | 5 | 11 | 12.2 | 11 | 3 | 11.89 |
| 4 | 19 | 13.060 | 5 | 12 | 11.4 | 11 | 4 | 12.26 |
| 4 | 20 | 12.078 | 5 | 13 | 10.0 | 11 | 5 | 13.43 |
| 4 | 21 | 12.564 | 5 | 14 | 12.5 | 11 | 6 | 11.92 |
| 4 | 22 | 12.188 | 5 | 15 | 12.2 | 11 | 7 | 13.35 |
| 4 | 23 | 12.362 | 5 | 16 | 13.0 | 11 | 8 | 12.98 |
| 4 | 24 | 12.251 | 5 | 17 | 11.0 | 11 | 9 | 12.78 |
| 4 | 25 | 12.248 | 6 | 1 | 12.18739 | 11 | 10 | 12.72 |
| 4 | 26 | 12.256 | 6 | 2 | 12.32071 | 11 | 11 | 12.63 |
| 4 | 27 | 12.101 | 7 | 1 | 11.1831 | 11 | 12 | 12.86 |
| 4 | 28 | 12.219 | 7 | 2 | 11.0640 | 12 | 1 |  |
| 4 | 29 | 12.675 | 7 | 3 | 10.9544 | 12 | 2 |  |
| 4 | 30 | 12.741 | 7 | 4 | 11.0208 | 12 | 3 |  |
| 4 | 31 | 12.918 | 7 | 5 | 10.8796 | 12 | 4 |  |
| 4 | 32 | 12.380 | 7 | 6 | 10.5227 |  |  |  |
| 4 | 33 | 12.306 | 7 | 7 | 11.2473 |  |  |  |

Fig. OR47 All Sm concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR48 All data reported for CUP-2 Eu concentration. Data precision as laboratory reported

| Lab # | Sample # | [Eu] (µg/gU) | Lab # | Sample # | [Eu] (µg/gU) | Lab # | Sample # | [Eu] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 8 | 4 | 34 | 1.005 | 7 | 8 | 0.9635 |
| 1 | 2 | 1 | 4 | 35 | 1.010 | 7 | 9 | 0.9321 |
| 1 | 3 | 2 | 4 | 36 | 0.991 | 8 | 1 | 1.02 |
| 3 | 1 | 1.0 | 4 | 37 | 1.015 | 8 | 2 | 1.07 |
| 3 | 2 | 1.2 | 4 | 38 | 0.993 | 8 | 3 | 1.04 |
| 3 | 3 | 1.0 | 4 | 39 | 0.997 | 8 | 4 | 1.03 |
| 3 | 4 | 1.0 | 4 | 40 | 0.997 | 8 | 5 | 1.04 |
| 3 | 5 | 1.0 | 4 | 41 | 1.001 | 8 | 6 | 1.00 |
| 3 | 6 | 1.0 | 4 | 42 | 1.015 | 8 | 7 | 1.03 |
| 3 | 7 | 1.0 | 4 | 43 | 1.042 | 8 | 8 | 1.06 |
| 3 | 8 | 1.0 | 4 | 44 | 1.040 | 8 | 9 | 1.06 |
| 3 | 9 | 1.1 | 4 | 45 | 1.000 | 9 | 1 | 1.317 |
| 3 | 10 | 1.0 | 4 | 46 | 0.996 | 9 | 2 | 1.125 |
| 3 | 11 | 1.1 | 4 | 47 | 0.990 | 9 | 3 | 1.335 |
| 4 | 1 | 1.002 | 4 | 48 | 0.986 | 9 | 4 | 1.283 |
| 4 | 2 | 0.995 | 4 | 49 | 0.991 | 9 | 5 | 1.305 |
| 4 | 3 | 1.010 | 4 | 50 | 0.976 | 9 | 6 | 1.313 |
| 4 | 4 | 1.000 | 4 | 51 | 1.004 | 9 | 7 | 1.301 |
| 4 | 5 | 0.996 | 4 | 52 | 0.987 | 9 | 8 | 1.279 |
| 4 | 6 | 1.034 | 4 | 53 | 1.010 | 9 | 9 | 1.269 |
| 4 | 7 | 1.040 | 4 | 54 | 0.999 | 10 | 1 | 1.01 |
| 4 | 8 | 1.028 | 5 | 1 | 0.88 | 10 | 2 | 0.97 |
| 4 | 9 | 1.017 | 5 | 2 | 0.86 | 10 | 3 | 1.03 |
| 4 | 10 | 1.036 | 5 | 3 | 1.02 | 10 | 4 | 0.97 |
| 4 | 11 | 1.008 | 5 | 4 | 0.99 | 10 | 5 | 1.04 |
| 4 | 12 | 1.009 | 5 | 5 | 0.92 | 10 | 6 | 1.01 |
| 4 | 13 | 1.039 | 5 | 6 | 0.92 | 10 | 7 | 1.15 |
| 4 | 14 | 1.026 | 5 | 7 | 0.98 | 10 | 8 | 1.06 |
| 4 | 15 | 1.063 | 5 | 8 | 0.97 | 10 | 9 | 1.07 |
| 4 | 16 | 0.983 | 5 | 9 | 0.99 | 11 | 1 | 1.00 |
| 4 | 17 | 1.008 | 5 | 10 | 1.01 | 11 | 2 | 1.01 |
| 4 | 18 | 1.043 | 5 | 11 | 1.04 | 11 | 3 | 0.97 |
| 4 | 19 | 1.038 | 5 | 12 | 0.94 | 11 | 4 | 1.03 |
| 4 | 20 | 1.018 | 5 | 13 | 0.81 | 11 | 5 | 1.11 |
| 4 | 21 | 1.000 | 5 | 14 | 1.00 | 11 | 6 | 0.98 |
| 4 | 22 | 0.993 | 5 | 15 | 1.04 | 11 | 7 | 1.12 |
| 4 | 23 | 1.006 | 5 | 16 | 1.07 | 11 | 8 | 1.07 |
| 4 | 24 | 0.991 | 5 | 17 | 0.93 | 11 | 9 | 1.09 |
| 4 | 25 | 1.002 | 6 | 1 | 1.025754 | 11 | 10 | 1.04 |
| 4 | 26 | 0.985 | 6 | 2 | 1.045532 | 11 | 11 | 1.05 |
| 4 | 27 | 0.985 | 7 | 1 | 0.9497 | 11 | 12 | 1.06 |
| 4 | 28 | 0.993 | 7 | 2 | 0.9491 | 12 | 1 |  |
| 4 | 29 | 1.027 | 7 | 3 | 0.9404 | 12 | 2 |  |
| 4 | 30 | 1.027 | 7 | 4 | 0.9563 | 12 | 3 | 1.13 |
| 4 | 31 | 1.030 | 7 | 5 | 0.9367 | 12 | 4 |  |
| 4 | 32 | 1.002 | 7 | 6 | 0.9044 |  |  |  |
| 4 | 33 | 1.012 | 7 | 7 | 0.9574 |  |  |  |

Fig. OR48 All Eu concentration data (a) reported for CUP-2 and (b) with the y axis set from -0.5 to 3. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR49 All data reported for CUP-2 Gd concentration. Data precision as laboratory reported

| Lab # | Sample # | [Gd] (µg/gU) | Lab # | Sample # | [Gd] (µg/gU) | Lab # | Sample # | [Gd] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 24 | 4 | 34 | 21.274 | 7 | 8 | 15.7964 |
| 1 | 2 | 22 | 4 | 35 | 22.842 | 7 | 9 | 15.2785 |
| 1 | 3 | 24 | 4 | 36 | 22.363 | 8 | 1 | 20.1 |
| 3 | 1 | 20.4 | 4 | 37 | 22.962 | 8 | 2 | 20.0 |
| 3 | 2 | 21.5 | 4 | 38 | 22.613 | 8 | 3 | 19.0 |
| 3 | 3 | 20.8 | 4 | 39 | 23.248 | 8 | 4 | 21.2 |
| 3 | 4 | 21.0 | 4 | 40 | 23.419 | 8 | 5 | 20.4 |
| 3 | 5 | 19.5 | 4 | 41 | 23.335 | 8 | 6 | 21.6 |
| 3 | 6 | 21.4 | 4 | 42 | 21.203 | 8 | 7 | 19.9 |
| 3 | 7 | 20.3 | 4 | 43 | 21.613 | 8 | 8 | 21.5 |
| 3 | 8 | 20.8 | 4 | 44 | 21.778 | 8 | 9 | 21.2 |
| 3 | 9 | 21.7 | 4 | 45 | 21.312 | 9 | 1 | 25.957 |
| 3 | 10 | 20.6 | 4 | 46 | 20.715 | 9 | 2 | 24.217 |
| 3 | 11 | 22.4 | 4 | 47 | 20.907 | 9 | 3 | 27.786 |
| 4 | 1 | 20.023 | 4 | 48 | 22.781 | 9 | 4 | 28.508 |
| 4 | 2 | 20.010 | 4 | 49 | 22.461 | 9 | 5 | 28.064 |
| 4 | 3 | 19.999 | 4 | 50 | 22.452 | 9 | 6 | 31.625 |
| 4 | 4 | 20.130 | 4 | 51 | 23.341 | 9 | 7 | 26.952 |
| 4 | 5 | 20.139 | 4 | 52 | 22.668 | 9 | 8 | 27.258 |
| 4 | 6 | 20.381 | 4 | 53 | 22.825 | 9 | 9 | 28.667 |
| 4 | 7 | 20.403 | 4 | 54 | 22.869 | 10 | 1 | 19.98 |
| 4 | 8 | 20.437 | 5 | 1 | 15.5 | 10 | 2 | 19.29 |
| 4 | 9 | 20.391 | 5 | 2 | 15.5 | 10 | 3 | 20.35 |
| 4 | 10 | 20.455 | 5 | 3 | 18.3 | 10 | 4 | 18.65 |
| 4 | 11 | 20.480 | 5 | 4 | 18.1 | 10 | 5 | 20.76 |
| 4 | 12 | 20.311 | 5 | 5 | 16.5 | 10 | 6 | 20.07 |
| 4 | 13 | 20.809 | 5 | 6 | 16.8 | 10 | 7 | 21.35 |
| 4 | 14 | 20.653 | 5 | 7 | 17.8 | 10 | 8 | 20.65 |
| 4 | 15 | 20.891 | 5 | 8 | 17.3 | 10 | 9 | 21.36 |
| 4 | 16 | 20.597 | 5 | 9 | 17.1 | 11 | 1 | 19.96 |
| 4 | 17 | 21.332 | 5 | 10 | 17.7 | 11 | 2 | 19.73 |
| 4 | 18 | 21.815 | 5 | 11 | 18.0 | 11 | 3 | 19.25 |
| 4 | 19 | 21.767 | 5 | 12 | 16.9 | 11 | 4 | 20.48 |
| 4 | 20 | 21.117 | 5 | 13 | 14.9 | 11 | 5 | 22.09 |
| 4 | 21 | 21.078 | 5 | 14 | 18.1 | 11 | 6 | 19.66 |
| 4 | 22 | 20.850 | 5 | 15 | 17.8 | 11 | 7 | 22.06 |
| 4 | 23 | 22.890 | 5 | 16 | 19.3 | 11 | 8 | 21.15 |
| 4 | 24 | 22.835 | 5 | 17 | 16.2 | 11 | 9 | 21.19 |
| 4 | 25 | 22.793 | 6 | 1 | 17.84011 | 11 | 10 | 20.35 |
| 4 | 26 | 22.743 | 6 | 2 | 17.93019 | 11 | 11 | 20.48 |
| 4 | 27 | 22.977 | 7 | 1 | 15.5429 | 11 | 12 | 20.71 |
| 4 | 28 | 22.790 | 7 | 2 | 15.4493 | 12 | 1 |  |
| 4 | 29 | 21.151 | 7 | 3 | 15.3500 | 12 | 2 |  |
| 4 | 30 | 21.267 | 7 | 4 | 15.3879 | 12 | 3 | 21.20 |
| 4 | 31 | 22.027 | 7 | 5 | 15.1862 | 12 | 4 | 20.04 |
| 4 | 32 | 21.079 | 7 | 6 | 14.7889 |  |  |  |
| 4 | 33 | 21.040 | 7 | 7 | 15.7492 |  |  |  |

Fig. OR49 All Gd concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR50 All data reported for CUP-2 Tb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Tb] (µg/gU) | Lab # | Sample # | [Tb] (µg/gU) | Lab # | Sample # | [Tb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 10 | 4 | 34 | 4.118 | 7 | 8 | 4.2819 |
| 1 | 2 | 5 | 4 | 35 | 4.048 | 7 | 9 | 4.1573 |
| 1 | 3 | 5 | 4 | 36 | 4.010 | 8 | 1 |  |
| 3 | 1 | 4.0 | 4 | 37 | 4.004 | 8 | 2 |  |
| 3 | 2 | 4.3 | 4 | 38 | 3.965 | 8 | 3 |  |
| 3 | 3 | 4.3 | 4 | 39 | 4.088 | 8 | 4 |  |
| 3 | 4 | 4.1 | 4 | 40 | 4.015 | 8 | 5 |  |
| 3 | 5 | 3.9 | 4 | 41 | 4.017 | 8 | 6 |  |
| 3 | 6 | 4.2 | 4 | 42 | 3.868 | 8 | 7 |  |
| 3 | 7 | 3.9 | 4 | 43 | 3.903 | 8 | 8 |  |
| 3 | 8 | 4.3 | 4 | 44 | 3.926 | 8 | 9 |  |
| 3 | 9 | 4.1 | 4 | 45 | 4.078 | 9 | 1 | 5.434 |
| 3 | 10 | 4.1 | 4 | 46 | 4.060 | 9 | 2 | 4.626 |
| 3 | 11 | 4.3 | 4 | 47 | 3.999 | 9 | 3 | 5.270 |
| 4 | 1 | 3.930 | 4 | 48 | 3.968 | 9 | 4 | 5.015 |
| 4 | 2 | 3.952 | 4 | 49 | 3.924 | 9 | 5 | 5.136 |
| 4 | 3 | 3.950 | 4 | 50 | 3.962 | 9 | 6 | 5.174 |
| 4 | 4 | 3.956 | 4 | 51 | 4.029 | 9 | 7 | 5.046 |
| 4 | 5 | 4.006 | 4 | 52 | 3.965 | 9 | 8 | 4.911 |
| 4 | 6 | 4.089 | 4 | 53 | 3.945 | 9 | 9 | 5.076 |
| 4 | 7 | 4.077 | 4 | 54 | 3.944 | 10 | 1 | 4.03 |
| 4 | 8 | 4.073 | 5 | 1 | 3.40 | 10 | 2 | 3.88 |
| 4 | 9 | 4.037 | 5 | 2 | 3.30 | 10 | 3 | 4.03 |
| 4 | 10 | 4.049 | 5 | 3 | 4.10 | 10 | 4 | 3.77 |
| 4 | 11 | 3.925 | 5 | 4 | 4.00 | 10 | 5 | 4.15 |
| 4 | 12 | 3.906 | 5 | 5 | 3.60 | 10 | 6 | 4.09 |
| 4 | 13 | 3.961 | 5 | 6 | 3.60 | 10 | 7 | 4.33 |
| 4 | 14 | 4.030 | 5 | 7 | 3.80 | 10 | 8 | 4.07 |
| 4 | 15 | 4.058 | 5 | 8 | 3.80 | 10 | 9 | 4.20 |
| 4 | 16 | 3.779 | 5 | 9 | 3.70 | 11 | 1 | 3.77 |
| 4 | 17 | 3.828 | 5 | 10 | 3.90 | 11 | 2 | 3.77 |
| 4 | 18 | 3.874 | 5 | 11 | 3.90 | 11 | 3 | 3.68 |
| 4 | 19 | 3.865 | 5 | 12 | 3.60 | 11 | 4 | 3.85 |
| 4 | 20 | 4.038 | 5 | 13 | 3.20 | 11 | 5 | 4.17 |
| 4 | 21 | 4.088 | 5 | 14 | 4.00 | 11 | 6 | 3.76 |
| 4 | 22 | 3.999 | 5 | 15 | 3.90 | 11 | 7 | 4.09 |
| 4 | 23 | 4.025 | 5 | 16 | 4.20 | 11 | 8 | 3.91 |
| 4 | 24 | 3.980 | 5 | 17 | 3.57 | 11 | 9 | 3.90 |
| 4 | 25 | 3.997 | 6 | 1 | 3.945084 | 11 | 10 | 3.79 |
| 4 | 26 | 3.975 | 6 | 2 | 3.953462 | 11 | 11 | 3.84 |
| 4 | 27 | 3.976 | 7 | 1 | 4.2077 | 11 | 12 | 3.85 |
| 4 | 28 | 3.935 | 7 | 2 | 4.2011 | 12 | 1 |  |
| 4 | 29 | 3.834 | 7 | 3 | 4.2080 | 12 | 2 |  |
| 4 | 30 | 3.882 | 7 | 4 | 4.1926 | 12 | 3 |  |
| 4 | 31 | 3.922 | 7 | 5 | 4.1465 | 12 | 4 |  |
| 4 | 32 | 4.076 | 7 | 6 | 4.0074 |  |  |  |
| 4 | 33 | 4.069 | 7 | 7 | 4.2891 |  |  |  |

Fig. OR50 All Tb concentration data (a) reported for CUP-2 and (b) with the y axis set from 2 to 6. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR51 All data reported for CUP-2 Dy concentration. Data precision as laboratory reported

| Lab # | Sample # | [Dy] (µg/gU) | Lab # | Sample # | [Dy] (µg/gU) | Lab # | Sample # | [Dy] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 32 | 4 | 34 | 25.423 | 7 | 8 | 25.4744 |
| 1 | 2 | 28 | 4 | 35 | 24.869 | 7 | 9 | 24.8545 |
| 1 | 3 | 30 | 4 | 36 | 24.593 | 8 | 1 | 24.9 |
| 3 | 1 | 25.3 | 4 | 37 | 25.002 | 8 | 2 | 25.5 |
| 3 | 2 | 26.1 | 4 | 38 | 24.434 | 8 | 3 | 25.2 |
| 3 | 3 | 25.3 | 4 | 39 | 25.254 | 8 | 4 | 26.4 |
| 3 | 4 | 25.7 | 4 | 40 | 24.911 | 8 | 5 | 24.8 |
| 3 | 5 | 24.1 | 4 | 41 | 24.571 | 8 | 6 | 26.6 |
| 3 | 6 | 26.6 | 4 | 42 | 24.088 | 8 | 7 | 24.7 |
| 3 | 7 | 25.3 | 4 | 43 | 23.954 | 8 | 8 | 27.0 |
| 3 | 8 | 26.0 | 4 | 44 | 24.071 | 8 | 9 | 25.3 |
| 3 | 9 | 26.2 | 4 | 45 | 24.851 | 9 | 1 | 32.017 |
| 3 | 10 | 26.0 | 4 | 46 | 24.968 | 9 | 2 | 27.628 |
| 3 | 11 | 26.6 | 4 | 47 | 24.831 | 9 | 3 | 31.275 |
| 4 | 1 | 24.237 | 4 | 48 | 24.654 | 9 | 4 | 29.479 |
| 4 | 2 | 24.290 | 4 | 49 | 24.492 | 9 | 5 | 31.053 |
| 4 | 3 | 24.287 | 4 | 50 | 24.293 | 9 | 6 | 30.471 |
| 4 | 4 | 24.427 | 4 | 51 | 24.938 | 9 | 7 | 29.102 |
| 4 | 5 | 24.490 | 4 | 52 | 24.491 | 9 | 8 | 28.857 |
| 4 | 6 | 25.163 | 4 | 53 | 24.519 | 9 | 9 | 29.276 |
| 4 | 7 | 25.114 | 4 | 54 | 24.208 | 10 | 1 | 25.21 |
| 4 | 8 | 25.031 | 5 | 1 | 21.0 | 10 | 2 | 23.67 |
| 4 | 9 | 24.947 | 5 | 2 | 21.0 | 10 | 3 | 24.34 |
| 4 | 10 | 24.994 | 5 | 3 | 23.8 | 10 | 4 | 23.02 |
| 4 | 11 | 24.294 | 5 | 4 | 23.4 | 10 | 5 | 26.11 |
| 4 | 12 | 24.139 | 5 | 5 | 22.0 | 10 | 6 | 24.81 |
| 4 | 13 | 24.554 | 5 | 6 | 23.0 | 10 | 7 | 26.70 |
| 4 | 14 | 24.759 | 5 | 7 | 24.0 | 10 | 8 | 25.64 |
| 4 | 15 | 24.943 | 5 | 8 | 23.0 | 10 | 9 | 25.96 |
| 4 | 16 | 23.634 | 5 | 9 | 23.0 | 11 | 1 | 23.46 |
| 4 | 17 | 23.827 | 5 | 10 | 24.0 | 11 | 2 | 23.43 |
| 4 | 18 | 24.093 | 5 | 11 | 24.0 | 11 | 3 | 22.79 |
| 4 | 19 | 23.787 | 5 | 12 | 22.5 | 11 | 4 | 23.85 |
| 4 | 20 | 25.015 | 5 | 13 | 19.6 | 11 | 5 | 25.76 |
| 4 | 21 | 25.458 | 5 | 14 | 25.0 | 11 | 6 | 23.29 |
| 4 | 22 | 24.527 | 5 | 15 | 24.7 | 11 | 7 | 25.64 |
| 4 | 23 | 24.772 | 5 | 16 | 26.2 | 11 | 8 | 24.37 |
| 4 | 24 | 24.532 | 5 | 17 | 22.2 | 11 | 9 | 23.94 |
| 4 | 25 | 24.595 | 6 | 1 | 24.28616 | 11 | 10 | 23.52 |
| 4 | 26 | 24.786 | 6 | 2 | 24.43721 | 11 | 11 | 23.86 |
| 4 | 27 | 24.775 | 7 | 1 | 25.1193 | 11 | 12 | 24.08 |
| 4 | 28 | 24.362 | 7 | 2 | 25.0341 | 12 | 1 |  |
| 4 | 29 | 24.192 | 7 | 3 | 25.1280 | 12 | 2 |  |
| 4 | 30 | 24.128 | 7 | 4 | 25.1142 | 12 | 3 | 27.8 |
| 4 | 31 | 24.553 | 7 | 5 | 24.7369 | 12 | 4 | 26.3 |
| 4 | 32 | 25.299 | 7 | 6 | 24.1089 |  |  |  |
| 4 | 33 | 25.135 | 7 | 7 | 25.4779 |  |  |  |

Fig. OR51 All Dy concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR52 All data reported for CUP-2 Ho concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ho] (µg/gU) | Lab # | Sample # | [Ho] (µg/gU) | Lab # | Sample # | [Ho] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 12 | 4 | 34 | 4.388 | 7 | 8 | 4.6512 |
| 1 | 2 | 5 | 4 | 35 | 4.296 | 7 | 9 | 4.5369 |
| 1 | 3 | 6 | 4 | 36 | 4.314 | 8 | 1 | 4.79 |
| 3 | 1 | 4.3 | 4 | 37 | 4.319 | 8 | 2 | 4.48 |
| 3 | 2 | 4.6 | 4 | 38 | 4.229 | 8 | 3 | 4.38 |
| 3 | 3 | 4.7 | 4 | 39 | 4.343 | 8 | 4 | 4.82 |
| 3 | 4 | 4.6 | 4 | 40 | 4.288 | 8 | 5 | 4.59 |
| 3 | 5 | 4.3 | 4 | 41 | 4.259 | 8 | 6 | 5.12 |
| 3 | 6 | 4.6 | 4 | 42 | 4.153 | 8 | 7 | 4.53 |
| 3 | 7 | 4.4 | 4 | 43 | 4.149 | 8 | 8 | 5.35 |
| 3 | 8 | 4.7 | 4 | 44 | 4.196 | 8 | 9 | 4.85 |
| 3 | 9 | 4.8 | 4 | 45 | 4.409 | 9 | 1 | 5.928 |
| 3 | 10 | 4.8 | 4 | 46 | 4.359 | 9 | 2 | 5.102 |
| 3 | 11 | 4.8 | 4 | 47 | 4.295 | 9 | 3 | 5.944 |
| 4 | 1 | 4.307 | 4 | 48 | 4.295 | 9 | 4 | 5.446 |
| 4 | 2 | 4.293 | 4 | 49 | 4.258 | 9 | 5 | 5.799 |
| 4 | 3 | 4.326 | 4 | 50 | 4.309 | 9 | 6 | 5.709 |
| 4 | 4 | 4.348 | 4 | 51 | 4.336 | 9 | 7 | 5.403 |
| 4 | 5 | 4.363 | 4 | 52 | 4.211 | 9 | 8 | 5.337 |
| 4 | 6 | 4.455 | 4 | 53 | 4.209 | 9 | 9 | 5.707 |
| 4 | 7 | 4.466 | 4 | 54 | 4.198 | 10 | 1 | 4.45 |
| 4 | 8 | 4.431 | 5 | 1 | 3.70 | 10 | 2 | 4.34 |
| 4 | 9 | 4.431 | 5 | 2 | 3.60 | 10 | 3 | 4.31 |
| 4 | 10 | 4.421 | 5 | 3 | 4.40 | 10 | 4 | 4.04 |
| 4 | 11 | 4.320 | 5 | 4 | 4.40 | 10 | 5 | 4.57 |
| 4 | 12 | 4.271 | 5 | 5 | 4.00 | 10 | 6 | 4.45 |
| 4 | 13 | 4.345 | 5 | 6 | 4.00 | 10 | 7 | 4.90 |
| 4 | 14 | 4.380 | 5 | 7 | 4.20 | 10 | 8 | 4.52 |
| 4 | 15 | 4.416 | 5 | 8 | 4.30 | 10 | 9 | 4.70 |
| 4 | 16 | 4.102 | 5 | 9 | 4.20 | 11 | 1 | 4.15 |
| 4 | 17 | 4.134 | 5 | 10 | 4.40 | 11 | 2 | 4.13 |
| 4 | 18 | 4.155 | 5 | 11 | 4.50 | 11 | 3 | 4.03 |
| 4 | 19 | 4.192 | 5 | 12 | 4.00 | 11 | 4 | 4.25 |
| 4 | 20 | 4.424 | 5 | 13 | 3.48 | 11 | 5 | 4.55 |
| 4 | 21 | 4.442 | 5 | 14 | 4.40 | 11 | 6 | 4.11 |
| 4 | 22 | 4.293 | 5 | 15 | 4.40 | 11 | 7 | 4.59 |
| 4 | 23 | 4.344 | 5 | 16 | 4.60 | 11 | 8 | 4.37 |
| 4 | 24 | 4.273 | 5 | 17 | 3.90 | 11 | 9 | 4.34 |
| 4 | 25 | 4.301 | 6 | 1 | 4.306148 | 11 | 10 | 4.21 |
| 4 | 26 | 4.317 | 6 | 2 | 4.341467 | 11 | 11 | 4.34 |
| 4 | 27 | 4.281 | 7 | 1 | 4.5933 | 11 | 12 | 4.24 |
| 4 | 28 | 4.215 | 7 | 2 | 4.5918 | 12 | 1 |  |
| 4 | 29 | 4.228 | 7 | 3 | 4.5885 | 12 | 2 |  |
| 4 | 30 | 4.194 | 7 | 4 | 4.6069 | 12 | 3 | 4.96 |
| 4 | 31 | 4.228 | 7 | 5 | 4.5331 | 12 | 4 | 4.64 |
| 4 | 32 | 4.386 | 7 | 6 | 4.4102 |  |  |  |
| 4 | 33 | 4.392 | 7 | 7 | 4.6739 |  |  |  |

Fig. OR52 All Ho concentration data (a) reported for CUP-2 and (b) with the y axis set from 2 to 7. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR53 All data reported for CUP-2 Er concentration. Data precision as laboratory reported

| Lab # | Sample # | [Er] (µg/gU) | Lab # | Sample # | [Er] (µg/gU) | Lab # | Sample # | [Er] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 18 | 4 | 34 | 11.809 | 7 | 8 | 11.9847 |
| 1 | 2 | 12 | 4 | 35 | 11.564 | 7 | 9 | 11.6930 |
| 1 | 3 | 13 | 4 | 36 | 11.674 | 8 | 1 | 11.8 |
| 3 | 1 | 12.0 | 4 | 37 | 11.654 | 8 | 2 | 12.2 |
| 3 | 2 | 12.1 | 4 | 38 | 11.483 | 8 | 3 | 11.7 |
| 3 | 3 | 12.3 | 4 | 39 | 11.780 | 8 | 4 | 12.4 |
| 3 | 4 | 12.3 | 4 | 40 | 11.604 | 8 | 5 | 11.8 |
| 3 | 5 | 11.1 | 4 | 41 | 11.579 | 8 | 6 | 12.6 |
| 3 | 6 | 12.5 | 4 | 42 | 11.148 | 8 | 7 | 11.5 |
| 3 | 7 | 11.2 | 4 | 43 | 11.255 | 8 | 8 | 12.9 |
| 3 | 8 | 12.3 | 4 | 44 | 11.319 | 8 | 9 | 12.1 |
| 3 | 9 | 12.8 | 4 | 45 | 11.797 | 9 | 1 | 15.471 |
| 3 | 10 | 12.5 | 4 | 46 | 11.638 | 9 | 2 | 13.885 |
| 3 | 11 | 12.4 | 4 | 47 | 11.654 | 9 | 3 | 15.617 |
| 4 | 1 | 11.397 | 4 | 48 | 11.538 | 9 | 4 | 14.097 |
| 4 | 2 | 11.381 | 4 | 49 | 11.378 | 9 | 5 | 15.286 |
| 4 | 3 | 11.453 | 4 | 50 | 11.423 | 9 | 6 | 14.874 |
| 4 | 4 | 11.429 | 4 | 51 | 11.710 | 9 | 7 | 14.077 |
| 4 | 5 | 11.483 | 4 | 52 | 11.434 | 9 | 8 | 14.724 |
| 4 | 6 | 11.962 | 4 | 53 | 11.464 | 9 | 9 | 14.928 |
| 4 | 7 | 11.840 | 4 | 54 | 11.406 | 10 | 1 | 11.76 |
| 4 | 8 | 11.867 | 5 | 1 | 9.8 | 10 | 2 | 11.43 |
| 4 | 9 | 11.811 | 5 | 2 | 9.7 | 10 | 3 | 11.54 |
| 4 | 10 | 11.848 | 5 | 3 | 11.4 | 10 | 4 | 10.87 |
| 4 | 11 | 11.507 | 5 | 4 | 11.2 | 10 | 5 | 12.41 |
| 4 | 12 | 11.408 | 5 | 5 | 10.6 | 10 | 6 | 11.99 |
| 4 | 13 | 11.536 | 5 | 6 | 10.6 | 10 | 7 | 13.02 |
| 4 | 14 | 11.679 | 5 | 7 | 11.1 | 10 | 8 | 12.23 |
| 4 | 15 | 11.814 | 5 | 8 | 10.8 | 10 | 9 | 12.38 |
| 4 | 16 | 10.835 | 5 | 9 | 10.8 | 11 | 1 | 11.02 |
| 4 | 17 | 11.186 | 5 | 10 | 11.2 | 11 | 2 | 10.91 |
| 4 | 18 | 11.214 | 5 | 11 | 11.4 | 11 | 3 | 10.68 |
| 4 | 19 | 11.311 | 5 | 12 | 10.5 | 11 | 4 | 11.21 |
| 4 | 20 | 11.697 | 5 | 13 | 9.2 | 11 | 5 | 11.99 |
| 4 | 21 | 11.911 | 5 | 14 | 11.6 | 11 | 6 | 10.67 |
| 4 | 22 | 11.510 | 5 | 15 | 11.5 | 11 | 7 | 11.97 |
| 4 | 23 | 11.670 | 5 | 16 | 12.3 | 11 | 8 | 11.45 |
| 4 | 24 | 11.456 | 5 | 17 | 10.3 | 11 | 9 | 11.39 |
| 4 | 25 | 11.572 | 6 | 1 | 11.60992 | 11 | 10 | 11.16 |
| 4 | 26 | 11.590 | 6 | 2 | 11.58646 | 11 | 11 | 11.20 |
| 4 | 27 | 11.561 | 7 | 1 | 11.8059 | 11 | 12 | 11.33 |
| 4 | 28 | 11.549 | 7 | 2 | 11.8466 | 12 | 1 |  |
| 4 | 29 | 11.158 | 7 | 3 | 11.8859 | 12 | 2 |  |
| 4 | 30 | 11.293 | 7 | 4 | 11.8378 | 12 | 3 | 12.3 |
| 4 | 31 | 11.382 | 7 | 5 | 11.7005 | 12 | 4 | 12.6 |
| 4 | 32 | 11.806 | 7 | 6 | 11.3713 |  |  |  |
| 4 | 33 | 11.809 | 7 | 7 | 11.9499 |  |  |  |

Fig. OR53 All Er concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR54 All data reported for CUP-2 Tm concentration. Data precision as laboratory reported

| Lab # | Sample # | [Tm] (µg/gU) | Lab # | Sample # | [Tm] (µg/gU) | Lab # | Sample # | [Tm] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 8 | 4 | 34 | 1.498 | 7 | 8 | 1.6513 |
| 1 | 2 | 2 | 4 | 35 | 1.506 | 7 | 9 | 1.6217 |
| 1 | 3 | 2 | 4 | 36 | 1.491 | 8 | 1 | 1.47 |
| 3 | 1 | 1.6 | 4 | 37 | 1.483 | 8 | 2 | 1.53 |
| 3 | 2 | 1.6 | 4 | 38 | 1.466 | 8 | 3 | 1.45 |
| 3 | 3 | 1.7 | 4 | 39 | 1.508 | 8 | 4 | 1.47 |
| 3 | 4 | 1.7 | 4 | 40 | 1.475 | 8 | 5 | 1.46 |
| 3 | 5 | 1.5 | 4 | 41 | 1.454 | 8 | 6 | 1.48 |
| 3 | 6 | 1.5 | 4 | 42 | 1.429 | 8 | 7 | 1.45 |
| 3 | 7 | 1.6 | 4 | 43 | 1.445 | 8 | 8 | 1.70 |
| 3 | 8 | 1.6 | 4 | 44 | 1.453 | 8 | 9 | 1.53 |
| 3 | 9 | 1.7 | 4 | 45 | 1.511 | 9 | 1 | 2.092 |
| 3 | 10 | 1.6 | 4 | 46 | 1.475 | 9 | 2 | 1.788 |
| 3 | 11 | 1.7 | 4 | 47 | 1.485 | 9 | 3 | 2.025 |
| 4 | 1 | 1.472 | 4 | 48 | 1.467 | 9 | 4 | 1.916 |
| 4 | 2 | 1.472 | 4 | 49 | 1.468 | 9 | 5 | 2.002 |
| 4 | 3 | 1.482 | 4 | 50 | 1.458 | 9 | 6 | 2.011 |
| 4 | 4 | 1.483 | 4 | 51 | 1.470 | 9 | 7 | 1.897 |
| 4 | 5 | 1.484 | 4 | 52 | 1.441 | 9 | 8 | 1.895 |
| 4 | 6 | 1.525 | 4 | 53 | 1.444 | 9 | 9 | 1.930 |
| 4 | 7 | 1.529 | 4 | 54 | 1.437 | 10 | 1 | 1.54 |
| 4 | 8 | 1.534 | 5 | 1 | 1.27 | 10 | 2 | 1.55 |
| 4 | 9 | 1.513 | 5 | 2 | 1.27 | 10 | 3 | 1.52 |
| 4 | 10 | 1.506 | 5 | 3 | 1.46 | 10 | 4 | 1.45 |
| 4 | 11 | 1.497 | 5 | 4 | 1.46 | 10 | 5 | 1.59 |
| 4 | 12 | 1.475 | 5 | 5 | 1.37 | 10 | 6 | 1.56 |
| 4 | 13 | 1.495 | 5 | 6 | 1.39 | 10 | 7 | 1.69 |
| 4 | 14 | 1.513 | 5 | 7 | 1.44 | 10 | 8 | 1.61 |
| 4 | 15 | 1.524 | 5 | 8 | 1.47 | 10 | 9 | 1.63 |
| 4 | 16 | 1.405 | 5 | 9 | 1.47 | 11 | 1 | 1.43 |
| 4 | 17 | 1.416 | 5 | 10 | 1.51 | 11 | 2 | 1.43 |
| 4 | 18 | 1.441 | 5 | 11 | 1.56 | 11 | 3 | 1.39 |
| 4 | 19 | 1.430 | 5 | 12 | 1.39 | 11 | 4 | 1.42 |
| 4 | 20 | 1.503 | 5 | 13 | 1.18 | 11 | 5 | 1.56 |
| 4 | 21 | 1.489 | 5 | 14 | 1.54 | 11 | 6 | 1.39 |
| 4 | 22 | 1.452 | 5 | 15 | 1.52 | 11 | 7 | 1.59 |
| 4 | 23 | 1.473 | 5 | 16 | 1.62 | 11 | 8 | 1.51 |
| 4 | 24 | 1.457 | 5 | 17 | 1.36 | 11 | 9 | 1.49 |
| 4 | 25 | 1.475 | 6 | 1 | 1.501299 | 11 | 10 | 1.47 |
| 4 | 26 | 1.471 | 6 | 2 | 1.520514 | 11 | 11 | 1.48 |
| 4 | 27 | 1.456 | 7 | 1 | 1.6361 | 11 | 12 | 1.48 |
| 4 | 28 | 1.455 | 7 | 2 | 1.6369 | 12 | 1 |  |
| 4 | 29 | 1.438 | 7 | 3 | 1.6372 | 12 | 2 |  |
| 4 | 30 | 1.453 | 7 | 4 | 1.6294 | 12 | 3 |  |
| 4 | 31 | 1.466 | 7 | 5 | 1.6244 | 12 | 4 |  |
| 4 | 32 | 1.513 | 7 | 6 | 1.5640 |  |  |  |
| 4 | 33 | 1.483 | 7 | 7 | 1.6526 |  |  |  |

Fig. OR54 All Tm concentration data (a) reported for CUP-2 and (b) with the y axis set from 0 to 3. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR55 All data reported for CUP-2 Yb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Yb] (µg/gU) | Lab # | Sample # | [Yb] (µg/gU) | Lab # | Sample # | [Yb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 15 | 4 | 34 | 9.333 | 7 | 8 | 9.8351 |
| 1 | 2 | 11 | 4 | 35 | 9.312 | 7 | 9 | 9.6980 |
| 1 | 3 | 11 | 4 | 36 | 9.309 | 8 | 1 | 9.18 |
| 3 | 1 | 9.5 | 4 | 37 | 9.176 | 8 | 2 | 9.55 |
| 3 | 2 | 9.6 | 4 | 38 | 9.146 | 8 | 3 | 9.18 |
| 3 | 3 | 9.5 | 4 | 39 | 9.348 | 8 | 4 | 9.69 |
| 3 | 4 | 9.7 | 4 | 40 | 9.240 | 8 | 5 | 9.29 |
| 3 | 5 | 9.2 | 4 | 41 | 9.162 | 8 | 6 | 9.87 |
| 3 | 6 | 9.9 | 4 | 42 | 8.845 | 8 | 7 | 9.12 |
| 3 | 7 | 9.2 | 4 | 43 | 8.847 | 8 | 8 | 9.76 |
| 3 | 8 | 9.7 | 4 | 44 | 8.902 | 8 | 9 | 9.76 |
| 3 | 9 | 10.3 | 4 | 45 | 9.360 | 9 | 1 | 12.202 |
| 3 | 10 | 9.7 | 4 | 46 | 9.252 | 9 | 2 | 10.637 |
| 3 | 11 | 10.2 | 4 | 47 | 9.123 | 9 | 3 | 11.971 |
| 4 | 1 | 8.950 | 4 | 48 | 9.158 | 9 | 4 | 11.201 |
| 4 | 2 | 9.060 | 4 | 49 | 9.123 | 9 | 5 | 11.583 |
| 4 | 3 | 9.081 | 4 | 50 | 9.164 | 9 | 6 | 11.779 |
| 4 | 4 | 9.053 | 4 | 51 | 9.296 | 9 | 7 | 11.031 |
| 4 | 5 | 9.148 | 4 | 52 | 9.038 | 9 | 8 | 10.962 |
| 4 | 6 | 9.383 | 4 | 53 | 8.958 | 9 | 9 | 11.185 |
| 4 | 7 | 9.397 | 4 | 54 | 8.991 | 10 | 1 | 9.17 |
| 4 | 8 | 9.382 | 5 | 1 | 7.7 | 10 | 2 | 9.03 |
| 4 | 9 | 9.328 | 5 | 2 | 7.6 | 10 | 3 | 9.45 |
| 4 | 10 | 9.364 | 5 | 3 | 8.8 | 10 | 4 | 8.65 |
| 4 | 11 | 9.051 | 5 | 4 | 8.8 | 10 | 5 | 9.64 |
| 4 | 12 | 8.983 | 5 | 5 | 8.2 | 10 | 6 | 9.35 |
| 4 | 13 | 9.153 | 5 | 6 | 8.3 | 10 | 7 | 9.90 |
| 4 | 14 | 9.226 | 5 | 7 | 8.6 | 10 | 8 | 9.58 |
| 4 | 15 | 9.284 | 5 | 8 | 8.7 | 10 | 9 | 9.65 |
| 4 | 16 | 8.778 | 5 | 9 | 8.7 | 11 | 1 | 8.57 |
| 4 | 17 | 8.769 | 5 | 10 | 9.0 | 11 | 2 | 8.52 |
| 4 | 18 | 8.870 | 5 | 11 | 9.1 | 11 | 3 | 8.44 |
| 4 | 19 | 8.791 | 5 | 12 | 8.2 | 11 | 4 | 8.67 |
| 4 | 20 | 9.435 | 5 | 13 | 7.2 | 11 | 5 | 9.49 |
| 4 | 21 | 9.431 | 5 | 14 | 9.2 | 11 | 6 | 8.38 |
| 4 | 22 | 9.071 | 5 | 15 | 9.1 | 11 | 7 | 9.53 |
| 4 | 23 | 9.365 | 5 | 16 | 9.6 | 11 | 8 | 9.08 |
| 4 | 24 | 9.182 | 5 | 17 | 8.0 | 11 | 9 | 8.89 |
| 4 | 25 | 9.156 | 6 | 1 | 9.006631 | 11 | 10 | 8.91 |
| 4 | 26 | 9.191 | 6 | 2 | 9.122283 | 11 | 11 | 8.86 |
| 4 | 27 | 9.196 | 7 | 1 | 9.7161 | 11 | 12 | 8.92 |
| 4 | 28 | 8.985 | 7 | 2 | 9.7644 | 12 | 1 |  |
| 4 | 29 | 8.991 | 7 | 3 | 9.7580 | 12 | 2 |  |
| 4 | 30 | 8.834 | 7 | 4 | 9.7939 | 12 | 3 | 10.14 |
| 4 | 31 | 8.860 | 7 | 5 | 9.6592 | 12 | 4 | 9.70 |
| 4 | 32 | 9.339 | 7 | 6 | 9.3834 |  |  |  |
| 4 | 33 | 9.238 | 7 | 7 | 9.8954 |  |  |  |

Fig. OR55 All Yb concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR56 All data reported for CUP-2 Lu concentration. Data precision as laboratory reported

| Lab # | Sample # | [Lu] (µg/gU) | Lab # | Sample # | [Lu] (µg/gU) | Lab # | Sample # | [Lu] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 8 | 4 | 34 | 1.095 | 7 | 8 | 1.2627 |
| 1 | 2 | 3 | 4 | 35 | 1.108 | 7 | 9 | 1.2311 |
| 1 | 3 | 3 | 4 | 36 | 1.088 | 8 | 1 | 1.14 |
| 3 | 1 | 1.1 | 4 | 37 | 1.085 | 8 | 2 | 1.13 |
| 3 | 2 | 1.2 | 4 | 38 | 1.072 | 8 | 3 | 1.27 |
| 3 | 3 | 1.1 | 4 | 39 | 1.110 | 8 | 4 | 1.23 |
| 3 | 4 | 1.1 | 4 | 40 | 1.100 | 8 | 5 | 1.19 |
| 3 | 5 | 1.1 | 4 | 41 | 1.093 | 8 | 6 | 1.38 |
| 3 | 6 | 1.2 | 4 | 42 | 1.096 | 8 | 7 | 1.36 |
| 3 | 7 | 1.1 | 4 | 43 | 1.090 | 8 | 8 | 0.877 |
| 3 | 8 | 1.1 | 4 | 44 | 1.125 | 8 | 9 | 1.34 |
| 3 | 9 | 1.1 | 4 | 45 | 1.088 | 9 | 1 | 1.554 |
| 3 | 10 | 1.1 | 4 | 46 | 1.085 | 9 | 2 | 1.359 |
| 3 | 11 | 1.2 | 4 | 47 | 1.064 | 9 | 3 | 1.511 |
| 4 | 1 | 1.082 | 4 | 48 | 1.088 | 9 | 4 | 1.412 |
| 4 | 2 | 1.059 | 4 | 49 | 1.078 | 9 | 5 | 1.494 |
| 4 | 3 | 1.086 | 4 | 50 | 1.074 | 9 | 6 | 1.532 |
| 4 | 4 | 1.078 | 4 | 51 | 1.081 | 9 | 7 | 1.404 |
| 4 | 5 | 1.072 | 4 | 52 | 1.075 | 9 | 8 | 1.381 |
| 4 | 6 | 1.070 | 4 | 53 | 1.074 | 9 | 9 | 1.384 |
| 4 | 7 | 1.097 | 4 | 54 | 1.064 | 10 | 1 | 1.11 |
| 4 | 8 | 1.099 | 5 | 1 | 0.93 | 10 | 2 | 1.08 |
| 4 | 9 | 1.089 | 5 | 2 | 0.93 | 10 | 3 | 1.15 |
| 4 | 10 | 1.092 | 5 | 3 | 1.08 | 10 | 4 | 1.02 |
| 4 | 11 | 1.113 | 5 | 4 | 1.09 | 10 | 5 | 1.12 |
| 4 | 12 | 1.090 | 5 | 5 | 0.99 | 10 | 6 | 1.08 |
| 4 | 13 | 1.096 | 5 | 6 | 1.02 | 10 | 7 | 1.23 |
| 4 | 14 | 1.115 | 5 | 7 | 1.05 | 10 | 8 | 1.13 |
| 4 | 15 | 1.115 | 5 | 8 | 1.05 | 10 | 9 | 1.15 |
| 4 | 16 | 1.066 | 5 | 9 | 1.05 | 11 | 1 | 1.10 |
| 4 | 17 | 1.089 | 5 | 10 | 1.09 | 11 | 2 | 1.10 |
| 4 | 18 | 1.092 | 5 | 11 | 1.13 | 11 | 3 | 1.03 |
| 4 | 19 | 1.113 | 5 | 12 | 1.00 | 11 | 4 | 1.10 |
| 4 | 20 | 1.095 | 5 | 13 | 0.85 | 11 | 5 | 1.20 |
| 4 | 21 | 1.098 | 5 | 14 | 1.11 | 11 | 6 | 1.05 |
| 4 | 22 | 1.085 | 5 | 15 | 1.09 | 11 | 7 | 1.21 |
| 4 | 23 | 1.097 | 5 | 16 | 1.20 | 11 | 8 | 1.20 |
| 4 | 24 | 1.079 | 5 | 17 | 0.99 | 11 | 9 | 1.19 |
| 4 | 25 | 1.078 | 6 | 1 | 1.080590 | 11 | 10 | 1.13 |
| 4 | 26 | 1.078 | 6 | 2 | 1.098200 | 11 | 11 | 1.16 |
| 4 | 27 | 1.088 | 7 | 1 | 1.2395 | 11 | 12 | 1.16 |
| 4 | 28 | 1.086 | 7 | 2 | 1.2447 | 12 | 1 |  |
| 4 | 29 | 1.104 | 7 | 3 | 1.2491 | 12 | 2 |  |
| 4 | 30 | 1.097 | 7 | 4 | 1.2444 | 12 | 3 | 1.30 |
| 4 | 31 | 1.131 | 7 | 5 | 1.2267 | 12 | 4 | 1.17 |
| 4 | 32 | 1.106 | 7 | 6 | 1.1900 |  |  |  |
| 4 | 33 | 1.091 | 7 | 7 | 1.2503 |  |  |  |

Fig. OR56 All Lu concentration data (a) reported for CUP-2 and (b) with the y axis set from -0.5 to 3. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR57 All data reported for CUP-2 Hf concentration. Data precision as laboratory reported

| Lab # | Sample # | [Hf] (µg/gU) | Lab # | Sample # | [Hf] (µg/gU) | Lab # | Sample # | [Hf] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 0.488 | 7 | 8 |  |
| 1 | 2 | 1 | 4 | 35 | 0.516 | 7 | 9 |  |
| 1 | 3 | 1 | 4 | 36 | 0.509 | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 | 0.495 | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 | 0.494 | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 | 0.520 | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 | 0.514 | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 | 0.511 | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 | 0.481 | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 | 0.478 | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 | 0.508 | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 | 0.490 | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 | 0.474 | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 0.478 | 9 | 3 |  |
| 4 | 1 | 0.565 | 4 | 48 | 0.491 | 9 | 4 |  |
| 4 | 2 | 0.537 | 4 | 49 | 0.504 | 9 | 5 |  |
| 4 | 3 | 0.552 | 4 | 50 | 0.508 | 9 | 6 |  |
| 4 | 4 | 0.557 | 4 | 51 | 0.613 | 9 | 7 |  |
| 4 | 5 | 0.568 | 4 | 52 | 0.491 | 9 | 8 |  |
| 4 | 6 | 0.519 | 4 | 53 | 0.491 | 9 | 9 |  |
| 4 | 7 | 0.512 | 4 | 54 | 0.494 | 10 | 1 | 0.46 |
| 4 | 8 | 0.514 | 5 | 1 | 0.44 | 10 | 2 | 0.47 |
| 4 | 9 | 0.495 | 5 | 2 | 0.45 | 10 | 3 | 0.45 |
| 4 | 10 | 0.508 | 5 | 3 | 0.46 | 10 | 4 | 0.39 |
| 4 | 11 | 0.517 | 5 | 4 | 0.44 | 10 | 5 | 0.47 |
| 4 | 12 | 0.501 | 5 | 5 | 0.47 | 10 | 6 | 0.41 |
| 4 | 13 | 0.520 | 5 | 6 | 0.44 | 10 | 7 | 0.47 |
| 4 | 14 | 0.555 | 5 | 7 | 0.46 | 10 | 8 | 0.46 |
| 4 | 15 | 0.517 | 5 | 8 | 0.48 | 10 | 9 | 0.45 |
| 4 | 16 | 0.470 | 5 | 9 | 0.50 | 11 | 1 | 0.32 |
| 4 | 17 | 0.490 | 5 | 10 | 0.51 | 11 | 2 | 0.33 |
| 4 | 18 | 0.458 | 5 | 11 | 0.51 | 11 | 3 | 0.32 |
| 4 | 19 | 0.479 | 5 | 12 | 0.49 | 11 | 4 | 0.32 |
| 4 | 20 | 0.480 | 5 | 13 | 0.44 | 11 | 5 | 0.31 |
| 4 | 21 | 0.481 | 5 | 14 | 0.46 | 11 | 6 | 0.32 |
| 4 | 22 | 0.476 | 5 | 15 | 0.50 | 11 | 7 | 0.31 |
| 4 | 23 | 0.512 | 5 | 16 | 0.50 | 11 | 8 | 0.31 |
| 4 | 24 | 0.491 | 5 | 17 | 0.41 | 11 | 9 | 0.35 |
| 4 | 25 | 0.482 | 6 | 1 | 0.508954 | 11 | 10 | 0.33 |
| 4 | 26 | 0.494 | 6 | 2 | 0.503617 | 11 | 11 | 0.38 |
| 4 | 27 | 0.487 | 7 | 1 |  | 11 | 12 | 0.40 |
| 4 | 28 | 0.488 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 0.482 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 0.490 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 0.513 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 0.490 | 7 | 6 |  |  |  |  |
| 4 | 33 | 0.494 | 7 | 7 |  |  |  |  |

Fig. OR57 All Hf concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR58 All data reported for CUP-2 Ta concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ta] (µg/gU) | Lab # | Sample # | [Ta] (µg/gU) | Lab # | Sample # | [Ta] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 4 | 4 | 34 | 0.080 | 7 | 8 |  |
| 1 | 2 | 0.05 | 4 | 35 | 0.086 | 7 | 9 |  |
| 1 | 3 | 0.04 | 4 | 36 | 0.086 | 8 | 1 | 0.121 |
| 3 | 1 | 0.03 | 4 | 37 | 0.084 | 8 | 2 | 0.118 |
| 3 | 2 |  | 4 | 38 | 0.082 | 8 | 3 | 0.103 |
| 3 | 3 |  | 4 | 39 | 0.085 | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 | 0.085 | 8 | 5 | 0.177 |
| 3 | 5 | 0.01 | 4 | 41 | 0.086 | 8 | 6 |  |
| 3 | 6 | 0.03 | 4 | 42 | 0.084 | 8 | 7 | 0.181 |
| 3 | 7 | 0.05 | 4 | 43 | 0.082 | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 | 0.084 | 8 | 9 |  |
| 3 | 9 | 0.03 | 4 | 45 | 0.081 | 9 | 1 |  |
| 3 | 10 | 0.03 | 4 | 46 | 0.081 | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 0.079 | 9 | 3 |  |
| 4 | 1 | 0.093 | 4 | 48 | 0.081 | 9 | 4 |  |
| 4 | 2 | 0.088 | 4 | 49 | 0.081 | 9 | 5 |  |
| 4 | 3 | 0.088 | 4 | 50 | 0.079 | 9 | 6 |  |
| 4 | 4 | 0.087 | 4 | 51 | 0.082 | 9 | 7 |  |
| 4 | 5 | 0.087 | 4 | 52 | 0.080 | 9 | 8 |  |
| 4 | 6 | 0.080 | 4 | 53 | 0.078 | 9 | 9 |  |
| 4 | 7 | 0.082 | 4 | 54 | 0.082 | 10 | 1 |  |
| 4 | 8 | 0.081 | 5 | 1 |  | 10 | 2 |  |
| 4 | 9 | 0.079 | 5 | 2 |  | 10 | 3 |  |
| 4 | 10 | 0.085 | 5 | 3 |  | 10 | 4 | 0.05 |
| 4 | 11 | 0.084 | 5 | 4 |  | 10 | 5 |  |
| 4 | 12 | 0.078 | 5 | 5 |  | 10 | 6 |  |
| 4 | 13 | 0.086 | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 | 0.083 | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 | 0.083 | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 | 0.080 | 5 | 9 |  | 11 | 1 | 0.03 |
| 4 | 17 | 0.080 | 5 | 10 |  | 11 | 2 | 0.03 |
| 4 | 18 | 0.078 | 5 | 11 |  | 11 | 3 | 0.04 |
| 4 | 19 | 0.080 | 5 | 12 |  | 11 | 4 | 0.04 |
| 4 | 20 | 0.081 | 5 | 13 |  | 11 | 5 | 0.04 |
| 4 | 21 | 0.078 | 5 | 14 |  | 11 | 6 | 0.04 |
| 4 | 22 | 0.078 | 5 | 15 | 0.06 | 11 | 7 | 0.04 |
| 4 | 23 | 0.080 | 5 | 16 |  | 11 | 8 | 0.04 |
| 4 | 24 | 0.078 | 5 | 17 |  | 11 | 9 | 0.04 |
| 4 | 25 | 0.079 | 6 | 1 | 0.049956 | 11 | 10 | 0.04 |
| 4 | 26 | 0.076 | 6 | 2 | 0.043568 | 11 | 11 | 0.05 |
| 4 | 27 | 0.076 | 7 | 1 |  | 11 | 12 | 0.05 |
| 4 | 28 | 0.077 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 0.084 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 0.084 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 0.088 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 0.086 | 7 | 6 |  |  |  |  |
| 4 | 33 | 0.083 | 7 | 7 |  |  |  |  |

Fig. OR58 All Ta concentration data (a) reported for CUP-2 and (b) with the y axis set from -1.0 to 1.5. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR59 All data reported for CUP-2 W concentration. Data precision as laboratory reported

| Lab # | Sample # | [W] (µg/gU) | Lab # | Sample # | [W] (µg/gU) | Lab # | Sample # | [W] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 13 | 4 | 34 | 18.927 | 7 | 8 | 21.6361 |
| 1 | 2 | 20 | 4 | 35 | 18.513 | 7 | 9 | 21.2647 |
| 1 | 3 | 19 | 4 | 36 | 18.480 | 8 | 1 | 19.3 |
| 3 | 1 | 20.4 | 4 | 37 | 18.352 | 8 | 2 | 19.5 |
| 3 | 2 | 19.8 | 4 | 38 | 18.113 | 8 | 3 | 24.4 |
| 3 | 3 | 18.7 | 4 | 39 | 19.057 | 8 | 4 | 19.8 |
| 3 | 4 | 19.1 | 4 | 40 | 18.643 | 8 | 5 | 19.5 |
| 3 | 5 | 18.2 | 4 | 41 | 18.493 | 8 | 6 | 22.5 |
| 3 | 6 | 20.2 | 4 | 42 | 19.037 | 8 | 7 | 19.6 |
| 3 | 7 | 18.4 | 4 | 43 | 19.303 | 8 | 8 | 21.2 |
| 3 | 8 | 20.7 | 4 | 44 | 19.682 | 8 | 9 | 20.9 |
| 3 | 9 | 20.6 | 4 | 45 | 18.975 | 9 | 1 | 14.039 |
| 3 | 10 | 19.6 | 4 | 46 | 18.513 | 9 | 2 | 16.466 |
| 3 | 11 | 21.8 | 4 | 47 | 18.656 | 9 | 3 | 11.767 |
| 4 | 1 | 18.353 | 4 | 48 | 18.254 | 9 | 4 | 15.181 |
| 4 | 2 | 18.446 | 4 | 49 | 18.388 | 9 | 5 | 11.841 |
| 4 | 3 | 18.430 | 4 | 50 | 18.176 | 9 | 6 |  |
| 4 | 4 | 18.519 | 4 | 51 | 18.512 | 9 | 7 | 16.064 |
| 4 | 5 | 18.472 | 4 | 52 | 18.387 | 9 | 8 | 10.195 |
| 4 | 6 | 18.767 | 4 | 53 | 18.306 | 9 | 9 | 13.436 |
| 4 | 7 | 18.839 | 4 | 54 | 18.201 | 10 | 1 | 11.19 |
| 4 | 8 | 18.722 | 5 | 1 | 13.0 | 10 | 2 | 12.01 |
| 4 | 9 | 18.801 | 5 | 2 | 13.1 | 10 | 3 | 12.51 |
| 4 | 10 | 19.006 | 5 | 3 | 16.1 | 10 | 4 | 16.86 |
| 4 | 11 | 18.922 | 5 | 4 | 16.8 | 10 | 5 | 12.05 |
| 4 | 12 | 18.809 | 5 | 5 | 17.6 | 10 | 6 | 12.85 |
| 4 | 13 | 19.032 | 5 | 6 | 17.1 | 10 | 7 | 12.10 |
| 4 | 14 | 19.063 | 5 | 7 | 15.7 | 10 | 8 | 12.09 |
| 4 | 15 | 19.216 | 5 | 8 | 17.6 | 10 | 9 | 13.28 |
| 4 | 16 | 18.236 | 5 | 9 | 18.3 | 11 | 1 | 17.11 |
| 4 | 17 | 18.527 | 5 | 10 | 17.8 | 11 | 2 | 17.85 |
| 4 | 18 | 19.119 | 5 | 11 | 16.8 | 11 | 3 | 17.12 |
| 4 | 19 | 19.104 | 5 | 12 | 17.0 | 11 | 4 | 17.18 |
| 4 | 20 | 18.439 | 5 | 13 | 16.2 | 11 | 5 | 17.34 |
| 4 | 21 | 18.585 | 5 | 14 | 18.3 | 11 | 6 | 16.66 |
| 4 | 22 | 18.207 | 5 | 15 | 17.3 | 11 | 7 | 17.35 |
| 4 | 23 | 18.245 | 5 | 16 | 20.1 | 11 | 8 | 17.10 |
| 4 | 24 | 18.011 | 5 | 17 | 17.2 | 11 | 9 | 18.43 |
| 4 | 25 | 18.258 | 6 | 1 | 18.11268 | 11 | 10 | 16.81 |
| 4 | 26 | 18.185 | 6 | 2 | 18.65014 | 11 | 11 | 17.18 |
| 4 | 27 | 18.204 | 7 | 1 | 20.8042 | 11 | 12 | 16.26 |
| 4 | 28 | 18.122 | 7 | 2 | 19.9863 | 12 | 1 |  |
| 4 | 29 | 19.069 | 7 | 3 | 20.8797 | 12 | 2 |  |
| 4 | 30 | 18.994 | 7 | 4 | 21.6282 | 12 | 3 | 22.43 |
| 4 | 31 | 19.307 | 7 | 5 | 24.9815 | 12 | 4 | 15.70 |
| 4 | 32 | 18.666 | 7 | 6 | 20.6584 |  |  |  |
| 4 | 33 | 18.767 | 7 | 7 | 20.6220 |  |  |  |

Fig. OR59 All W concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR60 All data reported for CUP-2 Re concentration. Data precision as laboratory reported

| Lab # | Sample # | [Re] (µg/gU) | Lab # | Sample # | [Re] (µg/gU) | Lab # | Sample # | [Re] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 0.032 | 7 | 8 | 0.0460 |
| 1 | 2 |  | 4 | 35 | 0.030 | 7 | 9 | 0.0404 |
| 1 | 3 |  | 4 | 36 | 0.031 | 8 | 1 |  |
| 3 | 1 | 0.02 | 4 | 37 | 0.030 | 8 | 2 |  |
| 3 | 2 | 0.03 | 4 | 38 | 0.029 | 8 | 3 |  |
| 3 | 3 | 0.03 | 4 | 39 | 0.032 | 8 | 4 |  |
| 3 | 4 | 0.05 | 4 | 40 | 0.029 | 8 | 5 |  |
| 3 | 5 | 0.07 | 4 | 41 | 0.030 | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 | 0.029 | 8 | 7 |  |
| 3 | 7 | 0.03 | 4 | 43 | 0.030 | 8 | 8 |  |
| 3 | 8 | 0.01 | 4 | 44 | 0.033 | 8 | 9 |  |
| 3 | 9 | 0.06 | 4 | 45 | 0.029 | 9 | 1 | 0.080 |
| 3 | 10 | 0.02 | 4 | 46 | 0.028 | 9 | 2 | 0.071 |
| 3 | 11 | 0.03 | 4 | 47 | 0.029 | 9 | 3 | 0.077 |
| 4 | 1 | 0.030 | 4 | 48 | 0.030 | 9 | 4 | 0.077 |
| 4 | 2 | 0.031 | 4 | 49 | 0.030 | 9 | 5 | 0.078 |
| 4 | 3 | 0.028 | 4 | 50 | 0.029 | 9 | 6 | 0.078 |
| 4 | 4 | 0.032 | 4 | 51 | 0.030 | 9 | 7 | 0.084 |
| 4 | 5 | 0.032 | 4 | 52 | 0.028 | 9 | 8 | 0.078 |
| 4 | 6 | 0.032 | 4 | 53 | 0.029 | 9 | 9 | 0.081 |
| 4 | 7 | 0.030 | 4 | 54 | 0.032 | 10 | 1 | 0.03 |
| 4 | 8 | 0.031 | 5 | 1 | 0.04 | 10 | 2 | 0.03 |
| 4 | 9 | 0.031 | 5 | 2 | 0.04 | 10 | 3 | 0.04 |
| 4 | 10 | 0.030 | 5 | 3 | 0.04 | 10 | 4 | 0.03 |
| 4 | 11 | 0.032 | 5 | 4 | 0.04 | 10 | 5 | 0.04 |
| 4 | 12 | 0.031 | 5 | 5 | 0.04 | 10 | 6 | 0.05 |
| 4 | 13 | 0.033 | 5 | 6 | 0.04 | 10 | 7 | 0.04 |
| 4 | 14 | 0.031 | 5 | 7 | 0.04 | 10 | 8 | 0.03 |
| 4 | 15 | 0.035 | 5 | 8 | 0.04 | 10 | 9 | 0.04 |
| 4 | 16 | 0.031 | 5 | 9 | 0.04 | 11 | 1 | 0.04 |
| 4 | 17 | 0.031 | 5 | 10 | 0.04 | 11 | 2 | 0.04 |
| 4 | 18 | 0.029 | 5 | 11 | 0.04 | 11 | 3 | 0.04 |
| 4 | 19 | 0.032 | 5 | 12 | 0.04 | 11 | 4 | 0.04 |
| 4 | 20 | 0.029 | 5 | 13 | 0.04 | 11 | 5 | 0.04 |
| 4 | 21 | 0.031 | 5 | 14 |  | 11 | 6 | 0.04 |
| 4 | 22 | 0.029 | 5 | 15 | 0.01 | 11 | 7 | 0.04 |
| 4 | 23 | 0.031 | 5 | 16 |  | 11 | 8 | 0.04 |
| 4 | 24 | 0.031 | 5 | 17 | 0.02 | 11 | 9 | 0.04 |
| 4 | 25 | 0.030 | 6 | 1 | 0.037274 | 11 | 10 | 0.04 |
| 4 | 26 | 0.030 | 6 | 2 | 0.038067 | 11 | 11 | 0.04 |
| 4 | 27 | 0.030 | 7 | 1 | 0.0361 | 11 | 12 | 0.04 |
| 4 | 28 | 0.032 | 7 | 2 | 0.0455 | 12 | 1 |  |
| 4 | 29 | 0.030 | 7 | 3 | 0.0402 | 12 | 2 |  |
| 4 | 30 | 0.029 | 7 | 4 | 0.0418 | 12 | 3 |  |
| 4 | 31 | 0.030 | 7 | 5 | 0.0820 | 12 | 4 |  |
| 4 | 32 | 0.028 | 7 | 6 | 0.0395 |  |  |  |
| 4 | 33 | 0.029 | 7 | 7 | 0.0382 |  |  |  |

Fig. OR60 All Re concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR61 All data reported for CUP-2 Ir concentration. Data precision as laboratory reported

| Lab # | Sample # | [Ir] (µg/gU) | Lab # | Sample # | [Ir] (µg/gU) | Lab # | Sample # | [Ir] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 | 0.002 | 7 | 8 | 0.2216 |
| 1 | 2 |  | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 | 0.002 | 8 | 1 |  |
| 3 | 1 | 0.0001 | 4 | 37 | 0.003 | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 | 0.002 | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 | 0.002 | 8 | 4 |  |
| 3 | 4 | 0.0001 | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 | 0.002 | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 | 0.0014 | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 | 0.0018 | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 | 0.002 | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 | 0.002 | 9 | 4 | 1.725 |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 | 0.003 | 4 | 50 | 0.002 | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 | 0.003 | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 | 0.002 | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 | 0.01 |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 | 0.01 |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 |  |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 | 0.01 |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 | 0.01 |
| 4 | 12 | 0.002 | 5 | 5 |  | 10 | 6 | 0.05 |
| 4 | 13 | 0.002 | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 | 0.002 | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 | 0.002 | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 |  |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 |  |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 |  |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 |  |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 |  |
| 4 | 21 | 0.002 | 5 | 14 |  | 11 | 6 |  |
| 4 | 22 | 0.002 | 5 | 15 |  | 11 | 7 |  |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 |  |
| 4 | 24 | 0.002 | 5 | 17 |  | 11 | 9 |  |
| 4 | 25 | 0.002 | 6 | 1 |  | 11 | 10 |  |
| 4 | 26 |  | 6 | 2 |  | 11 | 11 |  |
| 4 | 27 | 0.002 | 7 | 1 | 0.1960 | 11 | 12 |  |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 0.002 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 0.002 | 7 | 4 | 0.1389 | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 0.002 | 7 | 6 |  |  |  |  |
| 4 | 33 | 0.002 | 7 | 7 | 0.1334 |  |  |  |

Fig. OR61 All Ir concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR62 All data reported for CUP-2 Pt concentration. Data precision as laboratory reported

| Lab # | Sample # | [Pt] (µg/gU) | Lab # | Sample # | [Pt] (µg/gU) | Lab # | Sample # | [Pt] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 |  | 4 | 34 |  | 7 | 8 |  |
| 1 | 2 |  | 4 | 35 |  | 7 | 9 |  |
| 1 | 3 |  | 4 | 36 |  | 8 | 1 |  |
| 3 | 1 |  | 4 | 37 |  | 8 | 2 |  |
| 3 | 2 |  | 4 | 38 |  | 8 | 3 |  |
| 3 | 3 |  | 4 | 39 |  | 8 | 4 |  |
| 3 | 4 |  | 4 | 40 |  | 8 | 5 |  |
| 3 | 5 |  | 4 | 41 |  | 8 | 6 |  |
| 3 | 6 |  | 4 | 42 |  | 8 | 7 |  |
| 3 | 7 |  | 4 | 43 |  | 8 | 8 |  |
| 3 | 8 |  | 4 | 44 |  | 8 | 9 |  |
| 3 | 9 |  | 4 | 45 |  | 9 | 1 |  |
| 3 | 10 |  | 4 | 46 |  | 9 | 2 |  |
| 3 | 11 |  | 4 | 47 |  | 9 | 3 |  |
| 4 | 1 |  | 4 | 48 |  | 9 | 4 |  |
| 4 | 2 |  | 4 | 49 |  | 9 | 5 |  |
| 4 | 3 |  | 4 | 50 |  | 9 | 6 |  |
| 4 | 4 |  | 4 | 51 |  | 9 | 7 |  |
| 4 | 5 |  | 4 | 52 |  | 9 | 8 |  |
| 4 | 6 |  | 4 | 53 |  | 9 | 9 |  |
| 4 | 7 |  | 4 | 54 |  | 10 | 1 |  |
| 4 | 8 |  | 5 | 1 |  | 10 | 2 |  |
| 4 | 9 |  | 5 | 2 |  | 10 | 3 |  |
| 4 | 10 |  | 5 | 3 |  | 10 | 4 |  |
| 4 | 11 |  | 5 | 4 |  | 10 | 5 |  |
| 4 | 12 |  | 5 | 5 |  | 10 | 6 |  |
| 4 | 13 |  | 5 | 6 |  | 10 | 7 |  |
| 4 | 14 |  | 5 | 7 |  | 10 | 8 |  |
| 4 | 15 |  | 5 | 8 |  | 10 | 9 |  |
| 4 | 16 |  | 5 | 9 |  | 11 | 1 | 0.004 |
| 4 | 17 |  | 5 | 10 |  | 11 | 2 | 0.005 |
| 4 | 18 |  | 5 | 11 |  | 11 | 3 | 0.004 |
| 4 | 19 |  | 5 | 12 |  | 11 | 4 | 0.004 |
| 4 | 20 |  | 5 | 13 |  | 11 | 5 | 0.005 |
| 4 | 21 |  | 5 | 14 |  | 11 | 6 | 0.005 |
| 4 | 22 |  | 5 | 15 |  | 11 | 7 | 0.006 |
| 4 | 23 |  | 5 | 16 |  | 11 | 8 | 0.006 |
| 4 | 24 |  | 5 | 17 |  | 11 | 9 | 0.006 |
| 4 | 25 |  | 6 | 1 |  | 11 | 10 | 0.005 |
| 4 | 26 |  | 6 | 2 |  | 11 | 11 | 0.006 |
| 4 | 27 |  | 7 | 1 |  | 11 | 12 | 0.006 |
| 4 | 28 |  | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 |  |  |  |  |
| 4 | 33 |  | 7 | 7 |  |  |  |  |

Fig. OR62 All Pt concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR63 All data reported for CUP-2 Tl concentration. Data precision as laboratory reported

| Lab # | Sample # | [Tl] (µg/gU) | Lab # | Sample # | [Tl] (µg/gU) | Lab # | Sample # | [Tl] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 5 | 4 | 34 | 5.107 | 7 | 8 | 5.3148 |
| 1 | 2 | 7 | 4 | 35 | 5.001 | 7 | 9 | 5.1078 |
| 1 | 3 | 7 | 4 | 36 | 4.959 | 8 | 1 | 4.21 |
| 3 | 1 | 4.2 | 4 | 37 | 4.914 | 8 | 2 | 4.31 |
| 3 | 2 | 4.9 | 4 | 38 | 4.891 | 8 | 3 | 4.15 |
| 3 | 3 | 4.6 | 4 | 39 | 4.940 | 8 | 4 | 3.92 |
| 3 | 4 | 4.6 | 4 | 40 | 4.959 | 8 | 5 | 3.55 |
| 3 | 5 | 4.3 | 4 | 41 | 4.858 | 8 | 6 | 4.43 |
| 3 | 6 | 4.8 | 4 | 42 | 4.821 | 8 | 7 | 5.76 |
| 3 | 7 | 4.6 | 4 | 43 | 4.861 | 8 | 8 | 15.9 |
| 3 | 8 | 4.9 | 4 | 44 | 4.801 | 8 | 9 | 10.3 |
| 3 | 9 | 4.7 | 4 | 45 | 5.016 | 9 | 1 | 6.514 |
| 3 | 10 | 4.9 | 4 | 46 | 4.935 | 9 | 2 | 5.635 |
| 3 | 11 | 5.0 | 4 | 47 | 4.894 | 9 | 3 | 6.416 |
| 4 | 1 | 4.585 | 4 | 48 | 4.850 | 9 | 4 | 6.456 |
| 4 | 2 | 4.538 | 4 | 49 | 4.840 | 9 | 5 | 6.488 |
| 4 | 3 | 4.609 | 4 | 50 | 4.887 | 9 | 6 | 6.826 |
| 4 | 4 | 4.612 | 4 | 51 | 4.902 | 9 | 7 | 6.471 |
| 4 | 5 | 4.604 | 4 | 52 | 4.809 | 9 | 8 | 6.339 |
| 4 | 6 | 4.793 | 4 | 53 | 4.808 | 9 | 9 | 6.353 |
| 4 | 7 | 4.794 | 4 | 54 | 4.847 | 10 | 1 | 4.37 |
| 4 | 8 | 4.791 | 5 | 1 | 3.70 | 10 | 2 | 4.64 |
| 4 | 9 | 4.740 | 5 | 2 | 3.70 | 10 | 3 | 4.53 |
| 4 | 10 | 4.796 | 5 | 3 | 4.10 | 10 | 4 | 4.10 |
| 4 | 11 | 4.630 | 5 | 4 | 4.10 | 10 | 5 | 4.50 |
| 4 | 12 | 4.586 | 5 | 5 | 4.20 | 10 | 6 | 4.38 |
| 4 | 13 | 4.681 | 5 | 6 | 4.20 | 10 | 7 | 4.50 |
| 4 | 14 | 4.700 | 5 | 7 | 4.30 | 10 | 8 | 4.49 |
| 4 | 15 | 4.751 | 5 | 8 | 4.50 | 10 | 9 | 4.50 |
| 4 | 16 | 4.750 | 5 | 9 | 4.40 | 11 | 1 | 4.23 |
| 4 | 17 | 4.756 | 5 | 10 | 4.50 | 11 | 2 | 4.35 |
| 4 | 18 | 4.858 | 5 | 11 | 4.50 | 11 | 3 | 4.30 |
| 4 | 19 | 4.719 | 5 | 12 | 4.30 | 11 | 4 | 4.45 |
| 4 | 20 | 4.962 | 5 | 13 | 3.76 | 11 | 5 | 4.73 |
| 4 | 21 | 4.997 | 5 | 14 | 4.80 | 11 | 6 | 4.20 |
| 4 | 22 | 4.922 | 5 | 15 | 4.70 | 11 | 7 | 4.38 |
| 4 | 23 | 4.890 | 5 | 16 | 5.00 | 11 | 8 | 4.28 |
| 4 | 24 | 4.852 | 5 | 17 | 4.20 | 11 | 9 | 4.24 |
| 4 | 25 | 4.903 | 6 | 1 | 5.625355 | 11 | 10 | 4.30 |
| 4 | 26 | 4.832 | 6 | 2 | 5.697531 | 11 | 11 | 4.29 |
| 4 | 27 | 4.847 | 7 | 1 | 5.1050 | 11 | 12 | 4.09 |
| 4 | 28 | 4.838 | 7 | 2 | 5.1556 | 12 | 1 |  |
| 4 | 29 | 4.836 | 7 | 3 | 5.2209 | 12 | 2 |  |
| 4 | 30 | 4.877 | 7 | 4 | 5.2154 | 12 | 3 |  |
| 4 | 31 | 4.881 | 7 | 5 | 5.1354 | 12 | 4 |  |
| 4 | 32 | 5.083 | 7 | 6 | 5.1765 |  |  |  |
| 4 | 33 | 5.025 | 7 | 7 | 5.2240 |  |  |  |

Fig. OR63 All Tl concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR64 All data reported for CUP-2 Pb concentration. Data precision as laboratory reported

| Lab # | Sample # | [Pb] (µg/gU) | Lab # | Sample # | [Pb] (µg/gU) | Lab # | Sample # | [Pb] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 120 | 4 | 34 | 108.512 | 7 | 8 | 120.2466 |
| 1 | 2 | 130 | 4 | 35 | 106.158 | 7 | 9 | 116.1523 |
| 1 | 3 | 140 | 4 | 36 | 104.927 | 8 | 1 | 120 |
| 3 | 1 | 113.1 | 4 | 37 | 104.610 | 8 | 2 | 121 |
| 3 | 2 | 119.9 | 4 | 38 | 103.974 | 8 | 3 | 121 |
| 3 | 3 | 122.6 | 4 | 39 | 106.952 | 8 | 4 | 126 |
| 3 | 4 | 119.9 | 4 | 40 | 105.306 | 8 | 5 | 120 |
| 3 | 5 | 109.4 | 4 | 41 | 104.562 | 8 | 6 | 130 |
| 3 | 6 | 117.0 | 4 | 42 | 105.590 | 8 | 7 | 121 |
| 3 | 7 | 121.6 | 4 | 43 | 104.164 | 8 | 8 | 122 |
| 3 | 8 | 118.7 | 4 | 44 | 104.126 | 8 | 9 | 122 |
| 3 | 9 | 119.5 | 4 | 45 | 106.052 | 9 | 1 | 145.253 |
| 3 | 10 | 116.1 | 4 | 46 | 106.779 | 9 | 2 | 126.259 |
| 3 | 11 | 120.7 | 4 | 47 | 104.905 | 9 | 3 | 144.295 |
| 4 | 1 | 103.073 | 4 | 48 | 103.226 | 9 | 4 | 143.822 |
| 4 | 2 | 103.737 | 4 | 49 | 102.764 | 9 | 5 | 150.305 |
| 4 | 3 | 107.399 | 4 | 50 | 104.333 | 9 | 6 | 149.444 |
| 4 | 4 | 102.057 | 4 | 51 | 105.343 | 9 | 7 | 141.287 |
| 4 | 5 | 106.773 | 4 | 52 | 103.646 | 9 | 8 | 139.942 |
| 4 | 6 | 104.634 | 4 | 53 | 103.424 | 9 | 9 | 138.245 |
| 4 | 7 | 103.173 | 4 | 54 | 102.045 | 10 | 1 | 374.36 |
| 4 | 8 | 103.885 | 5 | 1 | 310 | 10 | 2 | 367.61 |
| 4 | 9 | 101.911 | 5 | 2 | 310 | 10 | 3 | 401.93 |
| 4 | 10 | 100.778 | 5 | 3 | 340 | 10 | 4 | 356.60 |
| 4 | 11 | 110.419 | 5 | 4 | 360 | 10 | 5 | 393.54 |
| 4 | 12 | 109.965 | 5 | 5 | 330 | 10 | 6 | 395.17 |
| 4 | 13 | 111.006 | 5 | 6 | 360 | 10 | 7 | 403.30 |
| 4 | 14 | 112.180 | 5 | 7 | 350 | 10 | 8 | 388.82 |
| 4 | 15 | 113.488 | 5 | 8 | 340 | 10 | 9 | 400.28 |
| 4 | 16 | 103.401 | 5 | 9 | 340 | 11 | 1 | 348.70 |
| 4 | 17 | 104.909 | 5 | 10 | 350 | 11 | 2 | 357.47 |
| 4 | 18 | 105.178 | 5 | 11 | 370 | 11 | 3 | 344.85 |
| 4 | 19 | 103.963 | 5 | 12 | 340 | 11 | 4 | 351.86 |
| 4 | 20 | 106.595 | 5 | 13 | 299 | 11 | 5 | 365.58 |
| 4 | 21 | 109.255 | 5 | 14 | 380 | 11 | 6 | 346.91 |
| 4 | 22 | 105.492 | 5 | 15 | 367 | 11 | 7 | 359.30 |
| 4 | 23 | 105.723 | 5 | 16 | 390 | 11 | 8 | 356.59 |
| 4 | 24 | 104.194 | 5 | 17 | 330 | 11 | 9 | 355.76 |
| 4 | 25 | 104.427 | 6 | 1 | 362.8223 | 11 | 10 | 346.37 |
| 4 | 26 | 105.875 | 6 | 2 | 367.4218 | 11 | 11 | 345.52 |
| 4 | 27 | 104.811 | 7 | 1 | 121.6160 | 11 | 12 | 347.48 |
| 4 | 28 | 104.489 | 7 | 2 | 119.5674 | 12 | 1 |  |
| 4 | 29 | 105.468 | 7 | 3 | 117.0205 | 12 | 2 |  |
| 4 | 30 | 103.665 | 7 | 4 | 117.6524 | 12 | 3 | 363.0 |
| 4 | 31 | 105.549 | 7 | 5 | 115.3152 | 12 | 4 | 340.4 |
| 4 | 32 | 105.584 | 7 | 6 | 111.7915 |  |  |  |
| 4 | 33 | 107.875 | 7 | 7 | 121.9009 |  |  |  |

Fig. OR64 All Pb concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation. Note the means and uncertainties here are calculated from the entire data set and are not reported in the manuscript summary tables where total Pb and 208Pb are reported separately

Table OR65 All data reported for CUP-2 Bi concentration. Data precision as laboratory reported

| Lab # | Sample # | [Bi] (µg/gU) | Lab # | Sample # | [Bi] (µg/gU) | Lab # | Sample # | [Bi] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 2 | 4 | 34 | 1.931 | 7 | 8 |  |
| 1 | 2 | 2 | 4 | 35 | 1.903 | 7 | 9 |  |
| 1 | 3 | 2 | 4 | 36 | 1.902 | 8 | 1 |  |
| 3 | 1 | 2.0 | 4 | 37 | 1.882 | 8 | 2 |  |
| 3 | 2 | 2.0 | 4 | 38 | 1.885 | 8 | 3 |  |
| 3 | 3 | 2.0 | 4 | 39 | 1.911 | 8 | 4 |  |
| 3 | 4 | 2.0 | 4 | 40 | 1.883 | 8 | 5 |  |
| 3 | 5 | 1.8 | 4 | 41 | 1.846 | 8 | 6 |  |
| 3 | 6 | 1.9 | 4 | 42 | 1.782 | 8 | 7 |  |
| 3 | 7 | 1.9 | 4 | 43 | 1.792 | 8 | 8 |  |
| 3 | 8 | 2.0 | 4 | 44 | 1.749 | 8 | 9 |  |
| 3 | 9 | 2.1 | 4 | 45 | 1.901 | 9 | 1 | 2.614 |
| 3 | 10 | 2.0 | 4 | 46 | 1.884 | 9 | 2 | 2.133 |
| 3 | 11 | 2.0 | 4 | 47 | 1.838 | 9 | 3 | 2.476 |
| 4 | 1 | 1.870 | 4 | 48 | 1.837 | 9 | 4 | 2.651 |
| 4 | 2 | 1.875 | 4 | 49 | 1.853 | 9 | 5 | 2.441 |
| 4 | 3 | 1.906 | 4 | 50 | 1.823 | 9 | 6 | 2.605 |
| 4 | 4 | 1.937 | 4 | 51 | 2.144 | 9 | 7 | 2.625 |
| 4 | 5 | 1.923 | 4 | 52 | 1.820 | 9 | 8 | 2.459 |
| 4 | 6 | 1.985 | 4 | 53 | 1.817 | 9 | 9 | 2.418 |
| 4 | 7 | 1.977 | 4 | 54 | 1.811 | 10 | 1 | 1.94 |
| 4 | 8 | 2.037 | 5 | 1 |  | 10 | 2 | 1.90 |
| 4 | 9 | 1.942 | 5 | 2 |  | 10 | 3 | 1.93 |
| 4 | 10 | 1.968 | 5 | 3 |  | 10 | 4 | 1.86 |
| 4 | 11 | 1.898 | 5 | 4 |  | 10 | 5 | 2.11 |
| 4 | 12 | 1.884 | 5 | 5 |  | 10 | 6 | 1.98 |
| 4 | 13 | 1.922 | 5 | 6 |  | 10 | 7 | 2.09 |
| 4 | 14 | 1.985 | 5 | 7 |  | 10 | 8 | 2.00 |
| 4 | 15 | 1.945 | 5 | 8 |  | 10 | 9 | 2.07 |
| 4 | 16 | 1.761 | 5 | 9 |  | 11 | 1 | 1.53 |
| 4 | 17 | 1.783 | 5 | 10 |  | 11 | 2 | 1.60 |
| 4 | 18 | 1.826 | 5 | 11 |  | 11 | 3 | 1.55 |
| 4 | 19 | 1.761 | 5 | 12 |  | 11 | 4 | 1.58 |
| 4 | 20 | 1.928 | 5 | 13 |  | 11 | 5 | 1.61 |
| 4 | 21 | 1.905 | 5 | 14 |  | 11 | 6 | 1.54 |
| 4 | 22 | 1.896 | 5 | 15 |  | 11 | 7 | 1.65 |
| 4 | 23 | 1.894 | 5 | 16 |  | 11 | 8 | 1.60 |
| 4 | 24 | 1.865 | 5 | 17 |  | 11 | 9 | 1.64 |
| 4 | 25 | 1.864 | 6 | 1 | 1.908879 | 11 | 10 | 1.53 |
| 4 | 26 | 1.870 | 6 | 2 | 1.882895 | 11 | 11 | 1.55 |
| 4 | 27 | 1.859 | 7 | 1 |  | 11 | 12 | 1.50 |
| 4 | 28 | 1.837 | 7 | 2 |  | 12 | 1 |  |
| 4 | 29 | 1.838 | 7 | 3 |  | 12 | 2 |  |
| 4 | 30 | 1.818 | 7 | 4 |  | 12 | 3 |  |
| 4 | 31 | 1.851 | 7 | 5 |  | 12 | 4 |  |
| 4 | 32 | 1.947 | 7 | 6 |  |  |  |  |
| 4 | 33 | 1.964 | 7 | 7 |  |  |  |  |

Fig. OR65 All Bi concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation

Table OR66 All data reported for CUP-2 Th concentration. Data precision as laboratory reported

| Lab # | Sample # | [Th] (µg/gU) | Lab # | Sample # | [Th] (µg/gU) | Lab # | Sample # | [Th] (µg/gU) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1 | 2000 | 4 | 34 |  | 7 | 8 | 2739.1156 |
| 1 | 2 | 2500 | 4 | 35 |  | 7 | 9 | 2669.7566 |
| 1 | 3 | 2500 | 4 | 36 |  | 8 | 1 | 2410 |
| 3 | 1 | 2333.3 | 4 | 37 |  | 8 | 2 | 2400 |
| 3 | 2 | 2448.4 | 4 | 38 |  | 8 | 3 | 2410 |
| 3 | 3 | 2381.3 | 4 | 39 |  | 8 | 4 | 2430 |
| 3 | 4 | 2352.4 | 4 | 40 |  | 8 | 5 | 2390 |
| 3 | 5 | 2188.7 | 4 | 41 |  | 8 | 6 | 2410 |
| 3 | 6 | 2512.6 | 4 | 42 | 2128.089 | 8 | 7 | 2360 |
| 3 | 7 | 2204.8 | 4 | 43 | 2086.027 | 8 | 8 | 2190 |
| 3 | 8 | 2273.2 | 4 | 44 | 2098.801 | 8 | 9 | 2430 |
| 3 | 9 | 2387.0 | 4 | 45 | 2248.049 | 9 | 1 |  |
| 3 | 10 | 2376.6 | 4 | 46 | 2188.343 | 9 | 2 |  |
| 3 | 11 | 2270.0 | 4 | 47 | 2167.532 | 9 | 3 |  |
| 4 | 1 | 2155.397 | 4 | 48 | 2116.555 | 9 | 4 |  |
| 4 | 2 | 2155.925 | 4 | 49 | 2116.787 | 9 | 5 |  |
| 4 | 3 | 2179.505 | 4 | 50 | 2124.782 | 9 | 6 |  |
| 4 | 4 | 2195.153 | 4 | 51 | 2152.100 | 9 | 7 |  |
| 4 | 5 | 2172.906 | 4 | 52 | 2108.445 | 9 | 8 |  |
| 4 | 6 | 2258.102 | 4 | 53 | 2147.838 | 9 | 9 |  |
| 4 | 7 | 2248.331 | 4 | 54 | 2123.852 | 10 | 1 | 2144.92 |
| 4 | 8 | 2242.764 | 5 | 1 | 2100 | 10 | 2 | 2081.61 |
| 4 | 9 | 2216.074 | 5 | 2 | 2000 | 10 | 3 | 2164.31 |
| 4 | 10 | 2231.738 | 5 | 3 | 1970 | 10 | 4 | 1987.27 |
| 4 | 11 | 2189.404 | 5 | 4 | 1940 | 10 | 5 | 2105.80 |
| 4 | 12 | 2177.999 | 5 | 5 | 1900 | 10 | 6 | 2100.83 |
| 4 | 13 | 2195.567 | 5 | 6 | 1440 | 10 | 7 | 2230.27 |
| 4 | 14 | 2225.796 | 5 | 7 | 2100 | 10 | 8 | 2093.31 |
| 4 | 15 | 2254.262 | 5 | 8 | 1230 | 10 | 9 | 2127.18 |
| 4 | 16 | 2134.463 | 5 | 9 | 1060 | 11 | 1 | 1983.74 |
| 4 | 17 | 2161.106 | 5 | 10 | 2000 | 11 | 2 | 2121.60 |
| 4 | 18 | 2129.502 | 5 | 11 | 2100 | 11 | 3 | 2072.91 |
| 4 | 19 | 2091.616 | 5 | 12 | 1300 | 11 | 4 | 2066.40 |
| 4 | 20 | 2226.882 | 5 | 13 | 560 | 11 | 5 | 2293.44 |
| 4 | 21 | 2245.138 | 5 | 14 | 2230 | 11 | 6 | 2008.36 |
| 4 | 22 | 2175.830 | 5 | 15 | 2210 | 11 | 7 | 2137.78 |
| 4 | 23 | 2169.977 | 5 | 16 | 2340 | 11 | 8 | 2056.71 |
| 4 | 24 | 2143.194 | 5 | 17 | 1970 | 11 | 9 | 2021.71 |
| 4 | 25 | 2163.363 | 6 | 1 | 2133.853 | 11 | 10 | 1992.86 |
| 4 | 26 | 2187.648 | 6 | 2 | 2171.930 | 11 | 11 | 2032.17 |
| 4 | 27 | 2160.456 | 7 | 1 | 2741.3882 | 11 | 12 | 1867.16 |
| 4 | 28 | 2135.536 | 7 | 2 | 2664.8490 | 12 | 1 |  |
| 4 | 29 |  | 7 | 3 | 2653.7518 | 12 | 2 |  |
| 4 | 30 |  | 7 | 4 | 2663.1054 | 12 | 3 |  |
| 4 | 31 |  | 7 | 5 | 2614.8613 | 12 | 4 |  |
| 4 | 32 |  | 7 | 6 | 2606.8677 |  |  |  |
| 4 | 33 |  | 7 | 7 | 2595.2106 |  |  |  |

Fig. OR66. All Th concentration data reported for CUP-2. Also shown is the certificate recommended value if available, the mean before and after outlier rejection, the median and associated uncertainties of each average. The lines for the averages and uncertainties extend to different points on the x axis to enable easier differentiation